Swimming Pool/Spa Log

(Retain for 1 year)

|  |  |  | Pool Cleaning |  | Pump Room Maintenance |  |  |  | Chemicals or Water Added (in Pounds, Tablets or Gallons) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | # of Bathers | Water Temp (ºF)¹ | Bottom and Walls | Skimmer Baskets | Pump Basket Emptied | Filter Pressure | Flow Rate (GPM) | Back Washed | Sanitizer | Acid | Soda Ash | Algaecide | Super-chlorination | Water | Other |
| Sunday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tuesday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wednesday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Thursday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Friday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Saturday |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Name of Pool/Spa: _________________________      Located at: _________________________    Week of ________ to ________ 20___

|  | Daily Readings² pH |  |  | Disinfectant Residual |  |  |  |  |  | Weekly Readings² | Cyanuric Acid | Calcium Hardness | Alkalinity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | Opening | Mid-Session | Closing | Opening | Mid-session | Closing | Free Chlorine | Combined Chlorine³ | CPO Initials | Comments: |  |  |  |
| Sunday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tuesday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wednesday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Thursday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Friday |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Saturday |  |  |  |  |  |  |  |  |  |  |  |  |  |

¹ Must be 104ºF or less for Spas        ²For chemical parameters see Appendix A and for frequency see Appendix D of the State of Maine Rules Relating To Public Pools and Spas (10-144 CMR, Chapter 202)             ³ Combined Chlorine = Total Chlorine – Free Chlorine  (for pools must be ≤ 0.2 ppm, for spas ≤ 0.5 ppm)