| Herpes Simplex Virus Laboratory Submission Information Sheet |  |
| --- | --- |
| Reporting of suspect case to Maine CDC: | HSV is not a reportable condition |
| Required To Submit Laboratory Specimen: | N/A |
| Required Information: | Information on requisition must include: suspected organism, patient name, DOB, date of collection, specimen source or type, submitter name and contact information. Specimen must be labeled with patient name. IMPORTANT: ALL SPECIMENS MUST BE LABELED WITH PATIENT NAME AND BE ACCOMPANIED BY AN HETL REQUISITION Requisition form: PDF |
| Specimen Requirements: | Swab taken from a suspect lesions,cultured viral isolates and cerebral spinal fluid (CSF). |
| Collection Instructions: | Collect lesion material on polyester swab and place in sterile viral transport medium (VTM) CSF: DO NOT DILUTE minimum volume is 1.0ml (1.5ml preferred). Do not use wooden swabs or calcium alginate swabs. ONLY synthetic-tipped swabs (Polyester, Rayon, Dacron) with plastic shafts should be used. |
| Specimen Handling and Transport: | Swabs from suspect lesion(s) in VTM /CSF may be kept at refrigerated temperature until shipped. Viral isolates may be frozen at -70°C and shipped on sufficient dry ice to maintain specimens in a frozen state. Contact the Virology section prior to submission of viral isolates. |
| Turn Around Time: | PCR results are generally available within 24 hours after arrival. Culture results are generally available within 7 days after arrival. |
| MeCDC Epidemiologists only | Contact HETL for outbreak kits @ 287-1716 |
| Unacceptable Conditions: | Specimens received without a form and clinical details, with insufficient material to analyze, collected with wooden shaft or calcium alginate swabs. Unlabeled, poorly lableled specimens or leaking containers will not be tested. |
| Results Include(PCR): | Herpes Simplex Virus DNA NOT found Herpes Simplex Virus 1 detected; Herpes Simplex Virus 2 detected |
| Results Include(Culture): | No Herpes Simplex Virus isolated Herpes Simplex Virus isolated |
| Results: | All results will be reported only to submitter as stated on requisition via mail or fax. |
| Laboratory Testing Fee: | With prior authorization from MeCDC, specimens submitted during a possible outbreak will be tested at no cost to the submitter, or patient. PCR for CSF: $243.00, all other specimens are $98.00 Culture: $36.00 |
| Applicable CPT Codes: | 83891(nucleic acid extraction) 83900 (amplification) 87252 (culture) |
| Additional Information: | For HSV specific questions contact Maine HETL Virology at 207-287-1722 |