## Sheet1
BHE System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
Average
| Secondary | 0.09684
| Primary | 0.05043
| Sub-Transmission | 0.02361
| Transmission | 0.00767
Weighted Average Loss Factors by Class
(Based on 2010 Usage)
Medium Class |  | Total Class | SO Only
| % of Class @ Secondary Voltage | 86.5% | 89.4%
| % of Class @ Primary Voltage | 13.5% | 10.6%
|  | 100% | 100%
Medium Class Weighted Average Loss Factor |  | 0.090575 | 0.091921
Large Class |  | Total Class | SO Only
| % of Class @ Secondary | 0% | 0%
| % of Class @ Primary | 35.8% | 14.6%
| % of Class @ Sub-Transmission | 56.6% | 84.1%
| % of Class @ Transmission | 7.6% | 1.3%
|  | 100% | 100%
Large Class Weighted Average Loss Factor |  | 0.032 | 0.027318
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)