02		DEPARTMENT OF PROFESSIONAL AND FINANCIAL REGULATION

318		ELECTRICIANS’ EXAMINING BOARD

### Chapter 125:	SCOPE OF PRACTICE

SUMMARY: This chapter sets forth the scope of practice for the various licenses issued by the Board.

1.	DIRECT SUPERVISION

For the purposes of this Chapter, direct supervision means that the master, journeyman or limited electrician shall be on site at all times.

2.	APPRENTICE ELECTRICIAN

An Apprentice Electrician shall register with the Apprenticeship Council of Maine, Department of Labor in order to work and to learn the trade of an electrician. An apprentice electrician must work under the direct supervision of a master, journeyman or limited electrician at all times while assisting in electrical installations.

3.	HELPER ELECTRICIAN

A Helper Electrician shall be in the employment of a master electrician, limited electrician, or electrical company and must work under the direct supervision of a master, journeyman or limited electrician at all times while assisting in electrical installations.

4.	JOURNEYMAN-IN-TRAINING ELECTRICIAN

A Journeyman-In-Training Electrician shall be in the employment of a master electrician, limited electrician, or electrical company and work under the supervision of a master, journeyman or limited electrician at all times while making electrical installations.

5.	JOURNEYMAN ELECTRICIAN

A Journeyman Electrician shall be in the employment of a master electrician, limited electrician, or electrical company while making electrical installations.

6.	LIMITED ELECTRICIAN

A.	Limited to Water Pumps

A Limited Electrician in Water Pumps is restricted to electrical work on water pumps between the branch circuits and power supplies.

B.	Limited to Outdoor Signs, Including Sign Lighting

A Limited Electrician in Outdoor Signs, including Sign Lighting, is restricted to electrical work on outdoor signs, including sign lighting, which does not include branch circuit wiring.

C.	Limited to Gasoline Dispensing

A Limited Electrician in Gasoline Dispensing is restricted to electrical work on gasoline dispensers between the branch circuit and the power supply.

D.	Limited to Traffic Signals, Including Outdoor Lighting of Traffic Signals

A Limited Electrician in Traffic Signals, including Outdoor Lighting of Traffic Signals, is restricted to electrical work on traffic signals, including outdoor lighting of traffic signals.

E.	Limited to House Wiring

A Limited Electrician in House Wiring is restricted to electrical work on one-family and two-family dwellings, including modular and mobile homes.

F.	Limited to Refrigeration

A Limited Electrician in Refrigeration is restricted to electrical work on refrigeration to all associated wire from the load side of distribution.

G.	Limited to Low Energy

A Limited Electrician in Low Energy is restricted to electrical work on:

1.	low energy electronics as supplied by Class I, II and III limited energy systems and the dedicated branch circuit wiring; and

2.	all fire alarm systems and the dedicated branch circuit wiring.

H.	Limited Crane Technician

A Limited Crane Technician is restricted to electrical work on cranes and hoists, including the installation of electrical equipment and wiring used in connection with cranes, monorail hoists, hoists and runways.

7.	MASTER ELECTRICIAN

A Master Electrician may install electrical wires, conduits, apparatus, fixtures and other electrical equipment without limitation.

STATUTORY AUTHORITY: 32 M.R.S.A. §§ 1153 and 1153-A

EFFECTIVE DATE:

September 1, 2008 – filing 2008-362

AMENDED:

August 20, 2014 – filing 2014-194