16		DEPARTMENT OF PUBLIC SAFETY

219		OFFICE OF STATE FIRE MARSHAL

Chapter 10:	STATIONARY COMBUSTION ENGINES AND GAS TURBINES

SUMMARY: This rule applies to the installation and operation of stationary combustion engines and gas turbines in and within 15 feet of a structure, such as a building, a travel trailer, a mobile home or mobile laboratory. This standard also applies to portable engines used instead of, or to supplement stationary engines.

1.	This agency incorporates by reference the National Fire Protection Association Standard # 37, Stationary Combustion Engines and Gas Turbines, 2006 edition. All rights reserved by the National Fire Protection Association. Copies of NFPA Standards are available through the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269.

STATUTORY AUTHORITY: 25 M.R.S.A. §2452

EFFECTIVE DATE:

October 4, 1972 (filed September 27, 1978)

EFFECTIVE DATE (ELECTRONIC CONVERSION):

May 15, 1996

REPEALED AND REPLACED:

August 7, 2001 - (formerly Ch. 18)

AMENDED:

September 1, 2003 - filing 2003-295

CORRECTION:

September 23, 2003

AMENDED:

March 17, 2009 – filing 2009-108, NFPA #37 updated to 2006 edition