16		DEPARTMENT OF PUBLIC SAFETY

219		OFFICE OF THE STATE FIRE MARSHAL

Chapter 25:	RULES FOR THE DISPLAY OF FIREWORKS

SUMMARY: This chapter establishes the rules and regulations for the manufacture, transportation, storage and display of fireworks, pyrotechnic articles, and model rocketry; and incorporates by reference National Fire Protection Association Codes, with some exceptions and amendments.

1.	This rule incorporates by reference the National Fire Protection Association Code # 1123, Code for Fireworks Display, 2006 edition.

1.	The following sections of NFPA Code #1123, Code for Fireworks Display, 2006 edition, shall not be incorporated:

Section 5.1.4.6, which reads as follows: “Dwellings, buildings, and structures shall be permitted to be located within the display site with the approval of the AHJ and the owner of the dwelling, building, or structure, provided that the dwelling, building, or structure is unoccupied during the display, or if the structure provides protection for the occupants through noncombustible or fire-resistant construction.”

Table 5.1.3.1, which reads as follows: “Distances for Outdoor Aerial Shell Display Sites:  Minimum Separation Distances from Mortars to Spectators for Land or Water Displays.”

Section 5.2.1.3.2, which reads as follows: “The mortars or tubes shall be angled so that any dud shells or components  fall at a point approximately equal to the offset of the mortars or tubes from the otherwise required discharge point, but in the opposite direction.”

Section 5.3.1, which reads as follows: “Tents shall not be located within the discharge site during the display.”

Section 5.3.2, which reads as follows: “Where tents are permitted in the fallout area by the operator and AHJ, such tents shall not be occupied during the display.”

- The following sections of NFPA Code  #1123, Code for Fireworks Display, 2006 edition, shall be amended to read as follows:

Section 4.1.7.3 (1), which reads: “Licensed operators or designated agents of licensed companies.” is being amended to read: “Licensed fireworks technician.”

Section 4.1.7.3 (2), which reads: “Displays under the direct control of a licensed professional fireworks display company” is being amended to read: Displays under the direct control of a licensed professional fireworks technician.

2.	This rule incorporates by reference the National Fire Protection Association Code # 1124, Code for the Manufacture, Transportation, and Storage of Fireworks and Pyrotechnic Articles, 2006 edition.

3.	This rule incorporates by reference National Fire Protection Association Code # 1122, Code for Model Rocketry, 2008 edition.

All rights reserved by the National Fire Protection Association. Copies of NFPA Standards and Codes are available through the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269.

STATUTORY AUTHORITY: 8 M.R.S.A. Section 236

EFFECTIVE DATE:

1951

READOPTED:

July 31 1979

EFFECTIVE DATE (ELECTRONIC CONVERSION):

May 15, 1996

REPEALED AND REPLACED:

November 9, 1996

CORRECTION:

May 15, 1997

RENUMBERED:

August 7, 2001 - formerly Ch. 34

REPEALED AND REPLACED:

September 1, 2003 - filing 2003-304

AMENDED:

April 23, 2006 – filing 2006-157

March 17, 2009 – filing 2009-114, NFPA #1122 upgraded to 2008 edition, NFPA #1123 upgraded to 2006 edition