- STATE OF MAINE REQUEST FOR PROPOSALS

- RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY

| RFP NUMBER AND TITLE: | RFP #202403075 Bangor and Gardiner Range Cleaning |
| --- | --- |
| RFP ISSUED BY: | Department of Defense, Veterans & Emergency Management |
| SUBMITTED QUESTIONS DUE DATE: | 05/21/2024 |
| QUESTION & ANSWER SUMMARY ISSUED: | 05/22/2024 |
| PROPOSAL DUE DATE: | 06/03/2024 no later than 11:59 p.m. local time |
| PROPOSALS DUE TO: | Proposals@maine.gov |

Provided below are submitted written questions received and the Department’s answer.

| 1 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Would we be able to personally take a look at this site? I didn’t see a mandatory/non-mandatory site walk on the RFQ (just the virtual bidders conference), but we prefer to walk it prior to submitting a bid. |
|  | Answer |  |
|  | At this time we are only holding a virtual bidder’s conference. |  |

| 2 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  | Page 7 | A.1.a.vi - Wipe down accessible surfaces for lead dust and residue. To include top of hopper and other locations access for servicing. Questions: 1. Please provide more detail regarding which areas to be wiped down 2. Please provide clarification and detail regarding what “accessible surfaces” and “other locations” are to be wiped down |
|  | Answer |  |
|  | Top of the hopper and other locations accessed for servicing. According to the Operations Manual GranTex must be occasionally added to maintain proper depth. The rear reservoir “access surfaces” area must be cleaned after removing and replacing the granules to minimize employee exposure to lead. “Other locations” include any residue from the removal and replacement process. If dust and residue is generated during the process, then it must be cleaned up. Spreading lead residue is unacceptable. Cleaning is expected to meet EPA lead Renovation, Repair and Painting program exterior renovations standards. Visual clearance is acceptable. Wipe testing is not required. |  |