**STATE OF MAINE REQUEST FOR PROPOSALS**

**RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY**

|  |  |
| --- | --- |
| **RFP NUMBER AND TITLE:** | RFP#202411208 - MEARNG Remote Monitoring: Fire Panels, Boiler & Elevator Alarms |
| **RFP ISSUED BY:** | Defense, Veterans & Emergency Management – Military Bureau |
| **SUBMITTED QUESTIONS DUE DATE:** | January 22, 2025 |
| **QUESTION & ANSWER SUMMARY ISSUED:** | January 23, 2025 |
| **PROPOSAL DUE DATE:** | January 30, 2025, no later than 11:59 p.m., local time |
| **PROPOSALS DUE TO:** | Proposals@maine.gov |

**Provided below are submitted written questions received and the Department’s answer.**

|  |  |  |
| --- | --- | --- |
| **1** | **RFP Section & Page Number** | **Question** |
| Section 2 Page 8 | Clarification of Existing Equipment |
| **Answer** |
| Add **F. Existing Equipment**1. The CMS needs to be able to provide the service using the current wiring state wide. The phone lines for this equipment are still a majority of copper wiring. They do have “fiber transformer connections” but the CMS’s equipment needs to be able to read the existing configuration.
	1. This has been an issue in the past with the Skowhegan Armory and the Lewiston AFRC Kitchen.
2. Low Boiler Temp Alarms are for the facilities that do not have facility wide building controls.
	1. This pertains to Building #37 at Camp Keyes, Belfast Armory, Waterville WMD/CS’s 4 boilers and Waterville Armory.
 |