## STATE OF MAINE REQUEST FOR PROPOSALS

## RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY #3

| RFP NUMBER AND TITLE: | Maine Department of Health and Human Services Office Space – Biddeford |
| --- | --- |
| RFP ISSUED BY: | Department of Administrative and Financial Services, Bureau of General Services |
| SUBMITTED QUESTIONS DUE DATE: | March 9, 2020, no later than 11:59 p.m., local time |
| QUESTION & ANSWER SUMMARY ISSUED: | March 16, 2020 |
| PROPOSAL DUE DATE: | April 6, 2020 no later than 11:59 p.m., local time |
| PROPOSALS DUE TO: | bgsleases.dafs@maine.gov |
| Unless specifically addressed below, all other provisions and clauses of the RFP remain unchanged. |

Provided below are submitted written questions received and the Department’s answers

| Question # | Question | Answer |
| --- | --- | --- |
| 1 | Pg. 6 / II.B.6 Is there a particular service sizing for the E.V. wiring? Are there a specific number of chargers expected? Do the chargers require Ethernet? | Specifics to the needs of the Electronic Vehicle wiring system would be determined by the provider of the Electronic Vehicle charging stations. The Department expects at least one (1) Electronic Vehicle charging station at this time. Refer to the answer to question 1.c. of this document. |
| 2 | Pg.6 / II.B.6 Are ADA spaces required based on ADA standards derived from the building square footage and proposed use, or additional amounts required per a State-specific standard? | ADA parking spaces must comply with ADA compliance; the Department anticipates the need for ten (10) ADA parking spaces. |
| 3 | Pg. 5 / II.A.3 How will compliance with the Executive Order be scored? Is a narrative format considered responsive? | Refer to Part V of the RFP. Yes. |
| 4 | Do Executive Orders 2012-004 and 2017-003 apply to this RFP? | No. |
| 5 | Are locations in Saco, Dayton, and Arundel considered responsive? | No, based on the number of Clients being serviced in the Biddeford area, the Department requires the new office space to be located in Biddeford. |
| 6 | Pg. 8 / II.D.6 Is the provisioning of the Honeywell system included in the Landlord’s scope? Should a bid carry an allowance for said Honeywell system, with overages charged to the State? | The security system for the facility will be an extension of the Honeywell Enterprise Building Integrator system, monitored by the State’s Building Control Center. As part of the system, the landlord is required to supply and install storeroom door lever set hardware and door closers for all doors identified as having card access (TBD). Additionally, the landlord is required to purchase and install Emergency Call Stations (ECS) and the conduit running to those stations in the parking areas, at locations designated by the Department. The ECS must consist of two (2) ETP-500E phone units AND two (2) ETP-MTE 96” tall towers with a blue finish, white reflective “Emergency” lettering and 120VAC OR two (2) ETP-MTE 72” tall towers with a blue finish, white reflective “Emergency” lettering and 120VAC. No. The Department will bid separately for a turn-key security/access system using one of the States pre-qualified vendors. |
| 7 | Pg. 9 / II.E.2 Does the “Telco” room include server room requirements, or is it limited to solely switching? Is there a specified rack layout requirement? Does it require dedicated HVAC? Are there specific dimensional requirements? | Telco, or IDF closets, are mainly Cisco switches, patch panels, and security panels. The servers reside at the States data centers. Rack layout depends on the size of the office space the IDF is providing services to, and if it handles E-911 equipment. This is dependent on the availability of “house” HVAC, the size of the IDF, and the amount of equipment to be installed. Size is closely tied to the size of the office space the IDF is providing services to, and if it handles E-911 equipment. |
| 8 | Pg. 5 / II.B.1.f. How is “expandability” determined for the building? Solely on finished space, or are additional storage areas (e.g. full basements) included? Is there any specific timetable on when such expansion may be necessary or sought? | The Department has no expectation for expansion at this time. However, Bidder must address Part II.B.1.f. and Part II.B.3.a. related to the potential for future expansion. |
| 9 | State of Maine Exhibit E / Pg. 3 This states insulation required in “all walls.” Does this standard apply to all interior walls without limit? Or only in certain areas (e.g. conference rooms, interview rooms, etc.)? | a. Yes. b. N/A |
| 10 | Part V.F.1.e. State of Maine Exhibit E / Pg. 4 - Division 4 describes masonry. Is this a required finish, or is the information provided solely in the event a submission includes masonry walls? | Masonry is not a required finish. |