EXHIBIT C

Covenants of Lessor

Environmental and Operational Maintenance Requirements

Section A Environmental Requirements: The Lessor is to provide and maintain the Leased Premises environment as described below:

(a) Clean and wash all interior and exterior cleanable/washable surfaces and 		repaint all painted surfaces in neutral colors agreeable to the Department once 		every five years (except where painting is visibly in disrepair in which case it 		may be required on a more frequent basis);

(b) Provide heating, ventilation and air conditioning systems constructed in 		accordance with the BOCA Code (Chapter on Mechanical Equipment and 			Systems) and ASHRAE air ventilation standards in effect on the date of this 		Office Lease.  Systems shall be capable of providing 72° ± 2°F in heating 			mode and 76°F ± 2°F in cooling mode.  Temperature controls and zoning of 		systems air distribution shall be provided such that the maximum variation in 		temperature in the occupied spaces does not exceed 4°F.

	Provide and maintain equipment to meet the minimum positive ventilation 		rates with outdoor air in accordance with ASHRAE Standards.  Under no 			circumstances shall any type of treated re-circulated air be a substitute for the 		outdoor air requirements of these tables.

	No smoking is permitted within the Leased Premises by any person; if there is 		a shared HVAC system by the Department and other tenant (s), no smoking is 		permitted in any part of the premises sharing the HVAC system.

(c) Provide a safe environment relative to the following:

(i) Air Quality Standards:

(a) Lessor warrants that the premises occupied by Department’s 		employees comply with statutory requirements for indoor air 		quality as set forth in 5 M.R.S.A. § 1742 (24), as may be 			amended from time to time, at the time of initial occupancy 		based upon the employee count, space uses and distribution 		identified in Exhibit H herein.

(b) In the event that the referenced statutory requirements for 		indoor air quality are not met at any time during the term of this 		Office Lease, Lessor agrees to undertake corrective action 			within 30 days of notice of deficiency by the Department or the 		Maine Bureau of Labor Standards.  The notice shall contain 		documentation of the deficiency, including objective analyses 		of the indoor air quality.

(c) Lessor and Department agree to meet as requested by either 		party and review concerns or complaints regarding indoor air 		quality issues.  In the event of any issue (s) not being resolved 		to the mutual satisfaction of either party within 30 days of such 		meeting, an independent qualified and licensed professional 		shall be retained to prepare an objective analysis of air quality, 		mechanical systems and operations/maintenance procedures.  		Should the analysis support the complaint of the Department, 		the cost of the report and corrective actions shall be borne by 		the Lessor.  Should the report fail to support any need for 			corrective action or be the result of changes in occupancy count 		or space uses by the Department from the time of initial 			occupancy, the cost of the independent consultant shall be borne 		by the Department.

(d) Failure by the Lessor to correct identified deficiencies in 		meeting statutory requirements for indoor air quality standards 		upon completion of the procedures outlined is a material 			violation of the terms of the lease and the Department shall have 		the right to terminate the lease in accordance with Section 17.

(ii) Hazardous Materials:

(a) Lessor warrants that, to the best of its knowledge and belief, 		the premises are free of present or potential contamination 			which may impact the health or safety of the occupants; 			examples might be asbestos, lead or mold.

(b) The Lessor further warrants that all custodial, maintenance 		or other activities on the premises which are, or will be, 			conducted in compliance with applicable hazardous materials 		statutes and regulations including, but not limited to, as set forth 		in Title 38 M.R.S.A. § 1301 et seq. as may be amended from 		time to time.

(iii) Asbestos:

(a) Lessor shall undertake and provide to the Department the 		results of an asbestos inspection survey of the Leased Premises 		to be leased and all common and building support areas, which 		may affect Department occupants or its clients.  The inspection 		will identify all accessible asbestos in these areas of the 			building and shall be performed by a person certified in 			accordance with state law and satisfactory to the Department.  		The results of the inspection shall be made a part of this Office 		Lease.

(b) In the event that asbestos containing materials are identified 		which are in the status of "“significantly damaged” or 			“damaged” (as described in 40 CFR 763) these materials shall 		be abated in a manner satisfactory to Department, including 		provision for acceptable air monitoring using Phase Contrast 		Microscopy.

(c) In the event that asbestos containing materials are identified, 		but which are not damaged, Lessor shall install an operations 		and maintenance program satisfactory to Department which is 		designed to periodically re-inspect asbestos containing materials 		and to take corrective action as specified in  (iii) (b) above when 		appropriate.  Results of such re-inspections and all air quality 		monitoring shall be provided to Department within 14 days of 		completion.

(d)	Provide an environment that is free of architectural barriers and complies with all Federal and State laws which protect people with disabilities including, but not limited to, the Americans With Disabilities Act of 1990 (ADA) as may be amended from time to time, and The Maine Human Rights Act, M.R.S.A., Title 5 § 4551 et Seq. (MHRA) as may be amended from time to time.

(e) Furnish all electrical power distribution, outlets and lighting in compliance with the most current-National Electrical Code standards.  Fluorescent lighting fixtures throughout the premises shall be capable of providing illumination levels in accordance with ANSI/IES Standards for Office Lighting in effect on the date of this Office Lease.  Lighting for exteriors and other applications shall conform to the recommended levels in the current IES Lighting Handbook in effect on the date of this Office Lease;

(f) Replace light bulbs/tubes when necessary;

(g) Make reasonable efforts to provide for rapid ice and snow removal from steps, walkways, doorways, sidewalks and parking lots, including sanding as needed, to be accomplished prior to normal working hours, or during working hours, if ice accumulates or if more than a 3” build-up of snow occurs; remove piled snow completely within 24 hours; sweep and remove winter sand by May 15 (if provided in base rent);

(h) Cooperate with the Department to meet the requirements for waste reduction and recycling pursuant to 38 M.R.S.A. Sec. 2137 et seq. as may be amended from time to time.  The Lessor shall provide an appropriate area on-site for temporary storage of recyclable materials.  The Lessor shall also provide a site for an appropriate container for non-recyclable materials, i.e. pad for dumpster.

(i) Must adhere to State law that requires that radon testing in homes other than your own be done by persons registered with the Radiation Control Program;

Section B Operational Maintenance: The Lessor is to provide the following Operation Maintenance;

  - HVAC Repair: Operation, maintenance, and repair of the heating, ventilation, and air conditioning equipment and systems in compliance with Air Quality Standards specified in the lease (including air quality) including adjustment or balancing of the system as requested by the Department, replacement of filters quarterly, and cleaning of drip pans as necessary to avoid spore build-up.  Operation and maintenance of remote control equipment.  Testing of air quality as necessary.

  - Plumbing: Maintenance and repairs as required for plumbing systems, including hot water heaters, bathroom fixtures, and kitchen plumbing fixtures, including same day maintenance and repairs when possible.

  - Electrical Repair (including bulb replacement): Maintenance of and repairs to electrical system, including wiring, panels, submeters, outlets, switches, and lamping and ballasts, including same day maintenance and repairs when possible;

  - Annually test fire alarms in accordance with NFPA-72, National Fire Alarm Code.  Semi-annually test emergency lighting units.  Replace all emergency lighting battery packs as recommended by manufacturer.

  - Interior Building Maintenance: Maintenance of and repairs to doors, walls, partitions, window interiors, carpets, ceiling tiles, and other miscellaneous repairs to the inside of the Building.

  - Exterior Building Maintenance: Maintenance of and repairs to exterior walls, windows, and to interior items caused by leaks in these areas.

  - Roof: Regular inspection and maintenance of roof, including cleaning of roof drains, gutters, and scuppers on a regular basis.  Control of ice build-up on roof.  Flashings and other roof accessories should be observed for signs of deterioration.  If interior leaks are detected, the cause should be determined and a solution implemented as quickly as possible to prevent damage to interior finishes. All dampened insulation and ceiling tiles must be replaced within three (3) business days.  Inspect annually seams, especially at curbs, parapets, and other places prone to leaks; investigate any ponding, etc.  All work on the roof conducted so as to maintain roof warranty.

  - Parking Lot Maintenance: Maintenance of and repairs to walks and parking lot.

  - Exterior Lighting Maintenance: Maintenance of and repairs to exterior lighting fixtures and bulbs, including same day maintenance and repairs when possible.

  - Grounds: Maintain shrubbery, trees, ground coverings, and fencing on premises.  Routinely inspect for decaying plants and cleanliness of areas.  Annually mulch grounds, collect leaves, and replace foliage if necessary.  During summer months, mow/trim grass as necessary to maintain manicured appearance.

  - Miscellaneous Maintenance Services and Supplies: Various services and items, including hardware, pest control, ant traps, plumbing, electrical, HVAC and buildings maintenance supplies that are too minor (but common to facility management) to include specific categories.