## STATE OF MAINE REQUEST FOR PROPOSALS

## RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY

| RFP NUMBER AND TITLE: | New Multipurpose Building at Industrial Drive |
| --- | --- |
| SUBMITTED QUESTIONS DUE DATE: |  |
| QUESTION & ANSWER SUMMARY ISSUED: | 2/14/19 and 3/4/2019 |
| PROPOSAL DUE DATE: | 3/12/2019 |
| RFP ISSUED BY: | Bureau of Real Estate Management |
| PROPOSALS DUE TO: | John Blais, 77 SHS, Augusta, ME 04333 and BGSArchitect@maine.gov |
| Unless specifically addressed below, all other provisions and clauses of the RFP remain unchanged. |

Provided below are submitted written questions received and the Department’s answers

| Question # | Question | Answer |
| --- | --- | --- |
| 1 | Is there a formal RFI submission process or will email suffice? | Email will suffice |
| 2 | Post award/selection, will the D/B team be provided with the WBRC Bridging Document CAD Files? | Yes |
| 3 | Is there a site walk prior to the submission date? | No, but site visits are not discouraged. |
| 4 | What is the State’s timeline for selection? | Interviews will be scheduled in March, selection by late to early April. |
| 5 | Has any geotechnical work been completed onsite? If so, can those logs/reports be shared? | None that I’m aware of. |
| 6 | The plans mention storm water systems but no design is given. Can you provide this information. | Attached are the permit drawings that include information on the grassed underdrained soil filter. I believe the intent for the design build team will be to confirm and develop this permit-level design for the approved stormwater treatment system. |
| 7 | Spot grades are shown, but contour lines are necessary to get an accurate figure on cuts and fills of the site | Typically, existing contours and finish spot grades should be sufficient to determine cut/fill numbers. |
| 8 | The narrative calls for sectional overhead doors with rapid response pneumatic openers. Is your intent to have high speed doors. | Yes, also integrated with building security systems. |
| 9 | Past projects have required companies to confirm their interest via email. We would like to confirm that there is no requirement to state our interest in the project via email prior to the submission date of March 1, and that the only deliverable is a design-build proposal submission. | No such requirement; two deliverables on March 1st, written proposal and cost proposal in separate envelop. |
| 10 | Financial viability asks to provide balance sheets and income statements for each of the past three tax years. Typically, we don’t provide financial statements until after we have been selected for a project. Will a letter from our bonding agency with our current bonding capacity be sufficient, or are balance sheets required at this point in the process? | Please provide financial statements and ability to bond. |
| 11 | Current drawings and RFP indicate “clear span” for the most part. Was that the intent for all bays or just the vehicle bays for the obvious reasons? | All Bays |
| 12 | Does this site already have a traffic movement permit that we would have to modify? Do the uses described above push us into a traffic movement permit? Especially with the surplus auctions that occur 6 times a year with 200-300 people. I believe these auctions currently occur at the DOT facility on Leighton Road. | The site does not already have a traffic movement permit, but we will need to make sure all permits required are acquired prior to start of work. The bridging documents did not indicate any traffic movement permit requirement. Therefore permitting cost for traffic movement will not be considered in initial cost until further investigation (traffic study) in the design. |