Tech Services Major Equipment Inventory

March 2007

| Item | No. | Notes |
| --- | --- | --- |
| Bailers | 24 | Various PVC and stainless steel |
| Battery Charger | 4 |  |
| Borehole Camera | 1 | Purchased by Uncontrolled Sites |
| Brunton Compass | 2 |  |
| Chemets DO Kit | 4 | 2: 0-1ppm, 2: 1-12ppm |
| Chemets Fe Kit | 2 |  |
| Chemets Mn Kit | 2 |  |
| Composite Sampler | 1 | From Augusta Tissue site |
| Coolers | 20 | Various sizes |
| Cordless Drill | 1 |  |
| Deep Cycle Battery | 7 |  |
| Digital Camera | 5 | Two damaged |
| Flow Cell | 3 | 2 large, 1 small "flow block" |
| Folding Garden Cart | 1 |  |
| Foxboro TVA1000 PID/FID | 1 |  |
| Fultz Controller Box | 4 |  |
| Fultz Pump | 3 | 2 - small, 1 - large |
| Generator | 3 | 2 Honda, 1 Craftsman |
| Geoprobe Bladder Pump Actuator | 1 |  |
| Geoprobe Discrete Water Sampler | 2 |  |
| Geoprobe Hand Slide Hammer | 2 |  |
| Geoprobe Jack | 2 |  |
| Geoprobe Mechanical Bladder Pump | 2 |  |
| Geoprobe Parts Kit (stocked) | 1 |  |
| GeoPump Peristaltic Pump | 6 |  |
| Ground Penetrating Radar | 1 | Purchased by Uncontrolled Sites |
| Grundfos Controller Box | 4 | 3 - 115V, 1 - 220V |
| Grundfos EZ Reel Pump (200 ft.) | 1 |  |
| Grundfos Rediflo 2 Pump | 6 | 5 - small, 1 - large |
| Hach Arsenic Kit | 1 |  |
| Hach Fe-Mn Kit | 1 |  |
| Hach Fe-pH Kit | 1 |  |
| Hach Turbidity meter | 2 |  |
| Hach Water Ecology Test Kit | 1 |  |
| Hanna Combo Pen | 4 | 3 - low range cond., 1 - high range cond. |
| Hioki Current Logger & Reader | 1 |  |
| Hnu PID | 1 | No longer used |
| Jig Saw | 1 |  |
| Kango Drill | 1 |  |
| Laptop Computer | 5 | 2-IBM (field use), 1-Dell (office use), 2-HP (office use) |
| MasterFlex Peristaltic Pump | 1 |  |
| Measuring Tapes | 9 | 100, 200, 300 foot lengths |
| Measuring wheel | 1 |  |
| Metal Detector | 1 |  |
| MSA PID | 1 | From Portland office 2006 |
| MSA Solaris 4-Gas Monitor | 2 | One general use, one kept by Solid Waste Unit |
| Oil/Water Interface Probe | 4 | 2 - Keck, 2 - GeoTech |
| PDA | 1 | Dedicated to Telog data transfer |
| Pneumatic Slug Test Apparatus | 1 |  |
| Pore Water Sampler | 15 | Various sizes - some Tech. Serv., some Unc. Sites |
| Power Inverter | 3 |  |
| ProActive Pump | 2 |  |
| ProActive Pump Controller | 1 |  |
| Probe Trailer | 1 |  |
| Purge Pump | 10 |  |
| Shovels | 10 | Various |
| Soil Bucket Auger | 2 |  |
| Soil Screw Auger | 2 |  |
| Soldering Iron & Kit | 1 |  |
| Solinst Levellogger | 6 |  |
| Sonic Water Level Indicator | 1 |  |
| Steam Cleaner | 1 |  |
| Survey Level | 1 |  |
| Tap & Die Set | 1 |  |
| Telog 10 psi | 5 |  |
| Telog 20 psi | 22 |  |
| Telog 30 psi | 4 |  |
| Telog 50 psi | 3 |  |
| Telog DTU | 2 | One in Bangor |
| Thermo 580B PID | 5 | One loaned to Portland indeffinitely |
| Thermo Conductivity meter | 3 |  |
| Thermo Conductivity pen | 6 |  |
| Thermo Conductivity probe | 3 |  |
| Thermo DO meter | 3 |  |
| Thermo DO probe | 4 |  |
| Thermo Eh probe | 4 |  |
| Thermo pH meter | 7 |  |
| Thermo pH pen | 3 |  |
| Thermo pH probe | 4 |  |
| Tool Box (stocked) | 5 |  |
| Traffic Cones | 11 |  |
| Trailer Hitch Cargo Rack | 1 |  |
| Transit Rod | 2 | 1 Fiberglass, 1 Wood |
| Tripod | 1 | Dedicated to well packer systems |
| Tripod for Survey Level | 1 |  |
| USB Memory Stick | 4 | One assigned to Cheryl |
| Volt-meter | 2 |  |
| Water Level meter | 20 |  |
| Well Packers (individual) | 7 | 4-large, 2-medium, 1 small |

SMRO Inventory

| Item | Quantity |
| --- | --- |
| 100 foot Solonist Water Level Meter | 4 |
| 500 foot Solonist Water Level Meter | 1 |
| 100 foot Keck Interface Probe | 1 |
| Thermo Environmental OVM model 580B PID | 1 |
| MSA Passport PID | 1 |
| SKC Air Sample Pump | 1 |
| Set of 3 Air Flow Meters | 1 |
| Grundfus Water Pump and Motor | 1 |
| Water Level Data Loggers | 2 |
| Geopump - Paristaltic Pump | 1 |
| Low Flow Cell | 1 |
| Dissolved Oxygen Meter | 1 |
| Turbidity Meter | 1 |
| pH Meter | 2 |
| dissolved Oxygen Meter | 1 |
| Lumex Mercury Analyzer | 1 |

PIDs assigned to EMRO

| Model | Qty |
| --- | --- |
| Thermo Environmental OVM model 580B PID | 2 |
| Lumex Mercury Analyzer | 1 |

Items Specific to RCRA Unit

| Item | Quantity |
| --- | --- |
| Lumex RA 915+ Portable Zeeman Mercury Analyzer | 1 |
| Lumex RP-91C Attachment [solids pyrolysis unit] | 1 |
| Lumex RP-91 Attachment [aqueous analysis unit] | 1 |
| MSA PASSPORT II ORGANIC VAPOR MONITOR | 1 |