### Organics

| Test | Method1 | Sample Size | Type Container | Preservative2 | Hold Time | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| GRO (water) | ME 4.2.17 | 2-40 ml | G, TLS3 | cool, 4 C, HCl pH<2 | 14 Days | trip blank may be needed |
| GRO (soil) | ME 4.2.17 | 2-40 ml or 60 ml | G, TLS3 | MeOH & cool, 4 C -or- freeze samples w/o MeOH | 14 Days | see GRO in Soil SOP |
| DRO (water) | ME 4.1.25 | 1L | Amber G,TLS3 | cool, 4 C; HCl or sodium bisulfate | 7 Days extraction | minimize plumbing grease contamination |
| DRO (soil) | ME 4.1.25 | 200g | G,TLS3 | cool, 4 C | 14 Days extraction |  |
| SVOC (water) | 3510C or 3520C/ 8270D | 1L | Amber G,TLS3 | cool, 4 C | 7 Days extraction | 2 extra bottles needed for MS/MSD; minimize phthalate contamination |
| SVOC (soil) | 3540C or 3541/ 8270D | 200g | Amber G,TLS3 | cool, 4 C | 14 Days extraction |  |
| PCB in water | 3510C or 3520C/ 8082 | 1L | Amber G,TLS3 | cool, 4 C | 7 Days extraction | 2 extra bottles needed for MS/MSD |
| PCB in soil | 8082 | 200g | Amber G,TLS3 | cool, 4 C | 14 Days extraction | 3550B extraction may be used with caution |
| Pesticides in water | 3510C or 3520C/ 8081A | 1L | Amber G,TLS3 | cool, 4 C | 7 Days extraction | 2 extra 1L bottles needed for MS/MSD |
| Pesticides in soil | 3540C or 3541/ 8081A | 200g | Amber G,TLS3 | cool, 4 C | 14 Days extraction | 3550B extraction may be used with caution |
| Herbicides in water | 8151A | 1L | Amber G, TLS3 | cool, 4 C | 7 Days extraction | 2 extra bottles needed for MS/MSD |
| Herbicides in soil | 8151A | 200g | Amber G, TLS3 | cool, 4 C | 14 Days extraction |  |
| Volatiles (water) | 5030/ 8260B 524.2 [DW] | 2-40 ml vials | G, TLS3 | cool 4 C, HCl pH<2 | 7 Days 14 Days | trip blank; de-chlorinate if needed; 2 extra vials needed for MS/MSD |
| Volatiles (soil) | 5035/ 8260B | 3 samples | encore sampler | cool, 4 C | 48 hours | 2 extra samples needed for MS/MSD |
| or | 5035/ 8260B | 3-40 ml vials, 5g in each vial | G, TLS3 | cool, 4 C; sodium bisulfate soln. in 2 vials and methanol in 1 vial | 14 days | 2 extra vials needed for MS/MSD; acetone may be generated as an artifact |
| or | 8260B | 3-40 ml vials | G, TLS3 | freeze | 14 days | 2 extra 1L vials needed for MS/MSD; EPA Region 1 guidance 5g in each vial |

Metals

| Test | Method1 | Sample Size | Type Container | Preservative | Holding Time | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Dissolved metals | 6010C, 6020A or 7010 | 1 L | cube cont. | HNO3 to pH<2 | 6 Mos. | Filter on site |
| Total metals in water | 6010C, 6020A or 7010 200.7, 200.8, & 200.9 for drinking water | 1 L | cube cont. | HNO3 to pH<2 | 6 Mos. | For RCRA 8 1L includes mercury |
| Total metals in soil | 6010C, 6020A or 7010 | 200g | Whirlpack | none | 6 Mos. |  |
| Dissolved Mercury | 7470A 245.1 [DW] | 1 L | cube cont. | HNO3 to pH<2 | 28 Days | Filter on site |
| Total Mercury in water | 7470A | 1 L | cube cont. | Cool 4 C ; HNO3 to pH<2 | 28 Days |  |
| Total Mercury in soil | 7471B | 200g | Whirlpack | Cool 4 C | 28 days |  |

TCLP

| Test | SW 846 Method | Sample Size | Type Container | Preservative | Hold Time |
| --- | --- | --- | --- | --- | --- |
| TCLP-VOC | 1311/ 8260B | 4 oz | G, TLS3 | cool, 4 C | NA |
| TCLP-Metals | 1311/ 6010C or 7010/7470A | 4 oz | G | none | NA |
| TCLP – herbicides | 1311/8151A | 1 L | G, TLS3 | cool, 4 C | NA |

MISC.

| ## Test | Method1 | Sample Size | Container | Preservative | Hold Time | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Flash point | 1010, 1020A | 4 oz | G, TLS3 | cool, 4 C | NA |  |
| Maine Waste Oil Parameters 4 |  | 2 4 oz amber | G, TLS3 | none | NA |  |
| pH5 | 9040C, 9041A, 9045D | 4 oz | G | none | NA |  |
| Bacteria (water) | As approved by EPA for Drinking or Waste Water | 200 ml | Sterilized | Cool 4 C | 30 hours | Use gloves! |

Notes:

- SW 846 methods, except as noted

- For chlorinated water supplies, VOC and SVOC samples must be dechlorinated with sodium thiosulfate or ascorbic acid prior to acid preservation.

- TLS = Teflon lined cap

- Maine Waste Oil Parameters include PCBs, flash point, total Halogens, arsenic, cadmium, chromium, and lead

- For situations where the material is very light (e.g. fly ash, feathers, etc.) please provide more material than a 4-oz jar.