DEPARTMENT OF ENVIRONMENTAL PROTECTION		FOR DEP USE

Solid Waste Program	ATS ID

17 State House Station		DEP #S-

Augusta, Maine  04333-0017		Date Received

Telephone:  (207) 287-2651		Fees Paid 		 Ck#

APPLICATION FOR SEPTAGE STORAGE SITE APPROVAL

under the

HAZARDOUS WASTE, SEPTAGE, AND SOLID WASTE MANAGEMENT ACT

(38 MRSA § 1301 et seq.)

Please type or print clearly

APPLICANT INFORMATION:

Name of Applicant: 			THIS APPLICATION REQUIRES:

NO RULE VARIANCE REQUIRED

Address: 			 RULE VARIANCE REQUIRED

Telephone Number:

Local Contact (name):

Address of Contact:

Local Contact Telephone Number:

SITE LOCATION INFORMATION:

Road/Street, or Route Nearest Site:

City/Town/Plantation: 		 County:

Address: _________________________________________ 	GPS Location: _______________________

Directions: ________________________________________________________________________________

Name of Applicant:

By signing this application, the applicant certifies that he or she has within 30 days prior to filing:  (1) published the public notice form once in a newspaper circulated in the area where the project is proposed to be located; (2) sent a copy of the public notice form by certified mail to the chief municipal officer, chair of the municipal planning board of the municipality in which the project is located and all abutting landowners; (3) filed a complete copy of this application, including all supporting documents and amendments, with the appropriate town clerk, city clerk or, county commissioner of the municipality in which the project is located; (4) reviewed the instructions contained in this application form; and (5) reviewed the appropriate state laws that relate to the proposed project.

CERTIFICATION

I certify under penalty of law that I have personally examined the information submitted in this document and all attachments thereto and that, based on my inquiry of those individuals immediately responsible for obtaining the information, I believe the information is true, accurate, and complete.  I authorize the Department to enter the property that is the subject of this application, at reasonable hours, including buildings, structures or conveyances on the property, to determine the accuracy of any information provided herein.  I am aware there are significant penalties for submitting false information, including the possibility of fine and imprisonment.

Date:

Signature of Applicant or Authorized Agent

(If signature is other than applicant, attach letter of agent authorization.)

Print Name & Title

The qualified professional person responsible for preparing this application and/or attaching pertinent site and design information hereto, by signing below, certified that the information is complete and accurate to the best of his/her knowledge and belief:

Date					Signature of Professional		    Reg/Cert/Lic #

Maine Certified Soil Scientist			  Maine Reg. Professional Engineer

Maine Certified Geologist				  Other (Maine Reg. or Certified)

INSTRUCTIONS

Septage Land Application

1.	For assistance in filling out this application please contact the Division of Solid Waste Facilities Regulation, Bureau of Remediation and Waste Management at (207) 287-2651.

2.	Read and understand Department Regulations Chapter 420, "Septage Management Rules", and Chapter 2, "Rules Concerning the Processing of Applications".  Applications will be processed according to these rules; 38 M.R.S.A. 1301 et. seq., the "Maine Hazardous Waste, Septage and Solid Waste Management Act"; and other applicable laws and regulations.

3.	Fill out the application completely.  INCOMPLETE APPLICATIONS WILL BE RETURNED TO THE APPLICANT.

4.	The Department requires that applicants comply with the public notice requirements specified below.  If the required procedures are not followed, an approval issued may be invalid.

5.	Publish the PUBLIC NOTICE OF INTENT TO FILE FORM once in a newspaper circulated in the area where the project is located.  (A form for this is attached to this application as Appendix A.)  The notice should appear in the newspaper within 30 days prior to filing the application with the DEP.

6.	Send by certified mail, a copy of the PUBLIC NOTICE OF INTENT TO FILE FORM to all the owners of property abutting the project.  Their names and addresses can be obtained from town tax maps or local public officials.  Abutters must receive notice within 30 days prior to filing the application with the DEP.  If your project abuts a road or other public or private right of way, the person on the opposite side of the right of way must be notified.

7.	Send by certified mail, a copy of the PUBLIC NOTICE OF INTENT TO FILE FORM to the chief municipal officer and chairperson of the planning board in the municipality where the project is to be located.  Send one complete copy of the application and any amendments which are subsequently submitted to the Municipal Office of the town within which the project is located.  If the project is located in an unorganized area, send the PUBLIC NOTICE and application to the appropriate Office of the County Commissioners and the Maine Land Use Regulation Commission, 22 State House Station, Augusta, Maine 04333-0022.  The notice must be filed in the municipal office within 30 days prior to filing with the DEP.  The application must be filed in the municipal office at the time of filing with the DEP.

8.	The Department does not require that the applications be prepared by professionals except as required by the rules, or by law.  However, past experience has shown that professional assistance is helpful and in many cases this help can overcome site limitations through proper design and site management.

9.	If the application is signed by someone other than the applicant, or authorized agent, a statement must be provided explaining that this person has the permission to do so.

10.	If the applicant is a corporation, attach a Certificate of Good Standing from the Secretary of State of Maine (telephone 287-3676).

11.	Send the original and 2 copies of the application along with all attachments (ALL PLANS MUST BE FOLDED TO 8 1/2 X 11 INCHES) to: Maine Department of Environmental Protection, Bureau of Remediation and Waste Management, Division of Solid Waste Facilities Regulation, 17 State House Station, Augusta, Maine  04333-0017.

12.	Be sure to submit your application well in advance of the date on which you plan to start the project.  The DEP staff can provide the best estimate of the amount of time it will take to review the proposed project.

13.	Keep a copy of the completed application form for your files.  This copy will be helpful in speeding up communications with the DEP staff if any questions arise during the review of a project.

14.	Upon the approval by the Department of Environmental Protection, a permit will be issued and sent to the applicant.  The applicant should read through the permit issued in order to become familiar with any conditions placed on the project approved.  Failure to comply with conditions of approval may lead to the revocation of a permit.

15.	Fees.  The applicant must pay the applicable new or expanded fee, or amendment fee at the time of application submittal.  (Check payable to Treasurer, State of Maine) applications without the required payment will be returned as incomplete.

1.	DESCRIPTION OF PROJECT

Briefly describe the proposed project:

____________________________________________________________________________________	____________________________________________________________________________________	____________________________________________________________________________________

2.	TITLE, RIGHT, OR INTEREST

A.	Name(s) and address(es) of property owner(s):

____________________________________________________________________________________	____________________________________________________________________________________	____________________________________________________________________________________

B.	Attach a copy of the property deed.

C.	If the applicant is not the property owner, attach a copy of a lease agreement or contract between the 	applicant and the property owner(s).  The agreement or contract must contain the following information:

(1)	Map and lot number(s) of the property:

(2)	Authorization from property owner(s) for the applicant to use the site;

(3)	Certification by property owner(s) that the property owner(s) has read and understands the facility operating and closure requirements of Chapter 420, Septage Management Rules, and will allow the site to be closed, when required, in accordance with the requirements of Chapter 420;

(4)	The dated signature of the property owner(s);

(5)	The dated signature of the applicant; and

(6)	Duration of the agreement (initiation and termination dates).

3.	ABUTTING PROPERTY OWNERS

List the names and addresses of the owners of the property abutting the parcel of land upon which the proposed site is located:

| NAME | ADDRESS |
| --- | --- |

4.	VARIANCES

Is a variance to any provision of the Septage Management Rules being requested?  ___Yes     ___No

If yes, you must include the following:

A.	Identification of the specific provisions of the rule from which a variance is sought;

B.	The reasons why a variance is required, including environmental and technological justifications;

C.	Alternative operational procedures and site alterations proposed, and the reasons why the alternatives meet the intent of the Septage Management Rules; and

D.	Any other information which you feel is relevant to support the variance request.

5.	ESTIMATED SITE DEVELOPMENT SCHEDULE

A.	Estimated date for starting site development: ____________

B.	Estimated date for completing site development: ____________

6.	EXISTING SITE USE

What is the current use of the site: ___________________________________________________________

7.	PROJECT COSTS AND FINANCING

A.	Accurate and complete cost estimate for the entire project: $_____________________

B.	To verify the applicant's ability to finance the proposed project, attach copies of bank statements or other evidence that funds are available to fully complete and operate the facility, or a binding letter from a financial institution, government agency, or other sufficient funding source stating a commitment to provide a specified amount of funds and particular use of the funds.

8.	TECHNICAL ABILITY

A.	Include an explanation of the applicant's technical ability to develop and operate the proposed site:

___________________________________________________________________________________

___________________________________________________________________________________

B.	List all Notices of Violation issued by the Department to the applicant and/or site operator, and all 	Administrative Consent Agreements entered into with the Board:

___________________________________________________________________________________

___________________________________________________________________________________

9.	ENDANGERED SPECIES

A.	If the proposed site is not currently an existing, active, agricultural site, is the proposed site is within the 	critical or essential habitat of a threatened or endangered species?_________

(Applicants should check with the Maine Department of Inland Fisheries and Wildlife and the Maine State Planning Office).

B.	If yes, what are the suggested operational or management alternatives proposed to mitigate adverse 	effects to the threatened or endangered species, or the species' critical or essential habitat?

___________________________________________________________________________________

___________________________________________________________________________________

10.	TOPOGRAPHIC MAP

Attach a copy of the most recent U.S. Geological Survey topographic map with the proposed storage site clearly delineated, and the total parcel of land upon which the proposed site is located clearly delineated.

11.	TAX MAPS

Attach copies of all appropriate municipal tax maps with the proposed storage site clearly delineated, the total parcel of land upon which the proposed site is located clearly delineated, and, on the appropriate lots, the names of owners of property which abut the parcel of land upon which the proposed site is located.

12.	SITE MAPS

Maps of the proposed storage site must be submitted.  The maps must be at a scale of one inch equal to a maximum of 100 feet.  The area shown on the maps must extend at least 300 feet beyond the boundary of the proposed site.

A.	For the proposed septage storage site, the maps must include:

(1)	A signed and stamped soils map, prepared by a Maine Certified Soil Scientist, which identifies the soil types at the storage facility location;

(2)	Direction and percent slope at each test pit and boring;

(3)	Perennial water, intermittent streams, drainage ditches, drainage depressions and waterways;

(4)	Roads;

(5)	Property lines; and

(6)	Restrictive fences and gate

B.	For the area up to 300 feet beyond the proposed septage storage site, the map(s) must include:

(1)	Critical or essential habitat of a threatened or endangered species;

(2)	Surface waters;

(3)	Roads;

(4)	Houses and other structures;

(5)	Public and private wells; and

(6)	Property lines.

13.	SAND AND GRAVEL AQUIFER

A copy of the most recent Significant Sand and Gravel Aquifer map of the proposed area must be attached with the proposed storage site clearly delineated.  (NOTE: Maps may be obtained from the Maine Geological Survey).

14.	FLOODPLAINS

If any portion of the proposed site is within 300 feet of a 100-year flood zone, attach a copy of the most recent Federal Emergency Management Agency (FEMA) flood zone map, or other suitable flood map, with the proposed storage site clearly delineated (NOTE: FEMA maps are generally available at the municipal office).

15.	BUFFER ZONES

Provide a summary of the distance and direction from the nearest boundary of the proposed site to the following features:

| Type of Feature:(Name if applicable) | Compass direction to feature | Distance to feature (in feet) |
| --- | --- | --- |
| Public well: |  |  |
| Private well: |  |  |
| Property line: |  |  |
| Dwelling: |  |  |
| Perennial waterbody: |  |  |
| Intermittent stream: |  |  |
| Ditch/Constructed waterway: |  |  |
| Public road: |  |  |

16.	TRAFFIC

A.	What will be the average daily vehicle flow to and from the site? ____________

B.	What will be the average hourly vehicle flow to and from the site? ____________

C.	One of the following must be submitted as evidence of adequate sight distances from the site entrance 	and exit:

(1)	An existing D.O.T. or town permanent site entrance permit;

(2)	A copy of a completed application for a D.O.T. or town permanent site entrance permit; or

(3)	A written evaluation of sight distance adequacy based on the standards contained in Chapter 420, 			section 4(F).

17.	SITE PREPARATION

Describe any site clearing or other preparation which will be necessary to develop the site:

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

18.	OPERATING PLAN

Attach the site operating plan, which must include the following:

A.	Operator(s) name(s);

B.	Name, address, and phone number for individual(s) to contact for entry to the site;

C.	Hours of operation;

D.	Names of individuals and companies who will use the site;

E.	Pathogen Reduction and Vector Attraction Reduction methods to be used;

F.	Description of how septage will be screened;

G.	Location of licensed solid waste facility for screenings disposal;

H.	Instructions for storage facility use, to include:  discharging septage, volume measuring, spill clean-up record-keeping, and security;

I.	Methods to be used for on-site dust control;

J.	Testing protocol,  to include sampling and analysis methods and responsibilities; and

K.	Record-keeping and reporting protocol.

19.	STORAGE FACILITIES

For concrete structures to be poured in place, the construction information must be developed, stamped and signed by a Maine Registered Professional Engineer.  For pre-fabricated storage facilities, all information developed by the manufacturer relating to the storage facility must be provided.  The following design and construction information must be submitted:

A.	Type of materials to be used for facility construction;

B.	If the storage facility consists of tanks previously used for petroleum storage, a statement signed by a 	certified inspector must be submitted which certifies that the tank has been properly cleaned of all fuel 	residues and is suitable for septage storage;

C.	A description of tank coating or other requirements necessary to prevent corrosion;

D.	Volume of storage facility;

E.	Area for discharging septage into storage facility;

F.	System for leak detection;

G.	System for containing spills from vehicles discharging to facility, for containing leaks if facility ruptures 	or fails, and for leachate collection;

H.	Access control;

I.	System for screening septage;

J.	Alkaline stabilization system;

K.	Erosion and sediment control plan;

L.	Filling;

M.	Grading; and

N.	Seeding.

Form A

THIS FORM IS FOR USE IN NOTIFYING ABUTTING OWNERS, THE MUNICIPALITY AND

PUBLISHING THE NOTICE IN THE NEWSPAPER.

PUBLIC NOTICE OF INTENT TO FILE

Please take notice that

(name, address and telephone number of applicant)

is intending to file an application with the Maine Department of Environmental Protection (DEP) on

_________________________________ pursuant to the provisions of 38 M.R.S.A., Section 1301 et. seq.

(submittal date)

and 06-096 CMR Chapter 420.

The application is for

(summary of project)

at

(project location)

owned by _____________________ and operated by _______________________________________________

(landowner)					(site operator if different)

According to Department regulations, interested parties must be publicly notified, written comments invited, and if justified, an opportunity for public hearing given.  A written request for a public hearing, or that the Board of Environmental Protection assume jurisdiction of the application, must be received by the Department no later than 20 days after the application is accepted by the Department as complete for processing.

The application and supporting documentation are available for review at the Bureau of Remediation and Waste Management (BRWM) at the appropriate DEP regional office during normal working hours.  A copy of the application and supporting documentation may also be seen at the municipal office in _______________________________, Maine.

(town)

Send all correspondence to:  Attn: Residuals Utilization Unit, BRWM, Maine Department of Environmental Protection, 17 State House Station, Augusta, Maine 04333-0017 (207-287-2651 or 1-800-452-1942).