## Excel Instructions
Instructions for Excel Spreadsheet Users
This document (the overall workbook and each individual inspection worksheet) is password protected so that formulas and functions in certain cells cannot be changed outside of the DEP. If you find errors in this workbook, need something clarified or have a suggestion on how to improve the form, please contact the DEP at 207-287-7688 and ask to speak with someone in the Underground Tanks Registration Unit. Thank you!
If you would like to modify this form to include your business logo or make a similar change, please contact someone in the Underground Tanks Registration Unit at the telephone number above.
SPECIAL INSTRUCTIONS
1 | General instructions covering the 2023 AST Annual Inspection Form are located in the 2023 AST Inspector Reference Handbook, a separate document. The special instructions contained in this page are designed to be used in conjunction with, and to enhance the instructions of, the Handbook. These instructions will also provide a guide to functions that are specific to this Microsoft Excel workbook.
2 | This workbook contains all six pages of the AST Annual Inspection form (Page 1: Summary through Page 6: Temporarily Out-of-Service Tanks) plus one instructions page and this page. The automated processes described below will only work if the data is entered into the blocks using Microsoft Excel (or another compatible computer spreadsheet program). If the pages are printed out without filling in any data, each block must be manually printed or typed in. Each page is accessed by clicking on the color-coded tabs at the bottom of the workbook. Examples: = Form Instructions (the next page) = Page 1: Summary/Signature page = Pages 2-7: Inspection Checklist worksheets
3 | Information can only be entered into cells (blocks) that are NOT shaded.
4 | On all pages, blocks that are shaded light blue or dark gray cannot be filled in by the user. These shaded blocks are automatically filled in by the Excel program based on other entrees made in the form. For example: A CTI inspects a facility with only one tank and finds that the tank's electronic line leak detector does not alarm or shut of the turbine when a 3 gph leak is simulated. The CTI then places an "X" in appropriate FAIL block. The Excel program will then automatically place an "X" in the light-blue "LLD" FAIL box below and also place an "X" in the "Line Leak Detectors" FAIL box for that tank on the Summary Page.
5 | Please use only the letter "X" when filling in any PASS, FAIL or N/A check-box. It does not matter if the "x" is capitalized or a small letter.
SUMMARY PAGE ONLY
6 | Much of the information that a user enters on Page 1, Summary Page is automatically copied into appropriate cells (blocks) in the separate worksheet checklists. For example, the facility registration number and inspection date are copied and place on the top of each subsequent inspection page. The tank/chamber number, volume and product contained in a tank are copied and pasted into pages where the information is needed.
7 | Each PASS block on the Summary page must be manually filled in (of course, this is only if the appropriate section in the inspection page warrants a PASS on the summary page!)
WORKSHEET CHECKLISTS
8 | An "X" that is placed in any "FAIL" box in an individual inspection page (pages 2 through 7) will automatically update the appropriate overall "FAIL" boxes in the Summary Page (page 1).
9 | "Pass" blocks must be manually filled-in, where appropriate, on each page; there is NO automatic copying of any "Pass" to the Summary Page (page 1)
10 | Comment section will automatically wrap text. Do not use the <Alt> <Enter> key to start a new line; using just the <Enter> key will close the editing session in the "Comments" block and move you to the next open fill-in block.
11 | If you run out of room when writing comments on any page's "Comments" block, continue your remarks in the "Comments" block on Page 2, General Information; start each comment with the inspection item number to which the comment refers.

## Form Instructions
General Instructions
Please note: State law and Department of Environmental Protection (Department) regulations require submittal of an inspection certifying all procedures and equipment are in compliance. The Department does not accept failing annual inspections (exception: failures only due to failing cathodic protection results). A facility that fails to submit a passing annual inspection may be prohibited from receiving deliveries and dispensing product in accordance with Maine law Oil Storage Facilities Groundwater Protection, 38 M.R.S.§565(A).(2015) Items that are failing must be repaired or corrected within thirty (30) days or the owner must notify the Department.
1. | Leak detection equipment and procedures, vapor control devices must be checked or tested annually for proper operation. Cathodically protected tanks and piping must be checked annually to insure they are adequately protected from corrosion. | Can this page be deleted? (Have info transferred to "Form Instructions" page
2. | All work associated with testing of equipment and checking of procedures must be performed under direct, onsite supervision of a Maine certified underground storage tank installer or a Maine certified underground storage tank inspector.
3. | Mail completed inspection forms within thirty (30) days after the inspection is completed to:
Attn: AST Annual Inspections Maine Department of Environmental Protection 17 State House Station Augusta, Maine 04333-0017
Physical address for UPS or FedEx: 28 Tyson Drive
4. | Detailed instructions on how to fill out this form are provided in the Department's “Aboveground Storage Tank Inspector Reference Handbook”, available online at: http://www.maine.gov/dep/waste/abovegroundtanks/undergroundpiping.html
5. | Copies of the AST Annual Inspection Report form, the Inspector Reference Handbook and a list of Frequently Asked Questions (FAQ’s) are also available by calling the Underground Tanks Unit at (207) 287-7688.

## 1-Summary
Maine Department of Environmental Protection
Aboveground Storage Tank with Underground Piping
Annual Inspection Summary
Facility Name |  |  |  | Owner | [5 empty] | Reg. #
Location |  |  |  | Operator | [5 empty] | Phone
Tank - Chamber #
Volume
Product
Pump Type
|  | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A
Interstitial Monitoring
Line Leak Detectors
Anti-Siphon Valves
Emerg. Elec. Disconnect
Dispenser Area
Stage I Vapor Recovery
Temp. Out-of-Service
Any FAIL in the columns above means a FAIL for that tank. |  | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A
By my signature below, I certify that I inspected this facility on this date and found deficiencies that require corrective action(s) before this inspecton can be complete and passing.
Name & CTI No. (please print) |  |  |  |  | Date |  |  | Signature
By my signature below, I certify that I inspected this facility on this date and any deficiencies discovered during the inspection have been corrected.
Name & CTI No. (please print) |  |  |  |  | Date |  |  | Signature
The facility owner must submit a passing AST Inspection report to MeDEP within thirty (30) days after the inspection is completed to: | [5 empty] | AST Annual Inspection, Maine Department of Environmental Protection, 17 SHS, Augusta, ME 04333-0017
!!! KEEP A COPY OF THIS FORM FOR YOUR RECORDS !!! Revision Date: Jan 2021
[5 empty] | 1 |  |  |  | Revision Date: |  |  | 2023-11-01

## 2-Generator
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | 0 | 0 | 0 | 0 | 0 |  |  | AI Date:
Emergency Generator
This section is for facilities that have a stand alone emergency backup generator that powers a fuel system
Item | [5 empty] | Yes | No
1 | Does the facility have an emergency generator that will power dispensers?
2 | What is the fuel capacity of the generator? | [5 empty] | Gallons
Propane
Diesel
Regular Unleaded
3 | What fuel does the generator use?
Comments: (Indicate all repairs made to bring facility into compliance)
Use this area for additional comments that won't fit on any other pages. Include the Inspection Item #.
|  |  |  | 2 |  |  | Revision Date: |  | 2023-11-01

## 3-IntrstlMon
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | [10 empty] | AI Date:
Interstitial Monitoring
4 |  | Make and Model:
The majority of underground piping associated with aboveground motor fuel tanks is now required to have electronic monitoring.
Item |  | Tank # | 0 |  | 0 |  |  | 0 |  |  | 0
|  | Volume | 0 |  | 0 |  |  | 0 |  |  | 0
|  | Product | 0 |  | 0 |  |  | 0 |  |  | 0
Interstitial Monitoring System |  |  | Yes | No | Yes |  | No | Yes |  | No | Yes |  | No
5 | Transition Sump
| Electronic |  | Pass | Fail | Pass |  | Fail | Pass |  | Fail | Pass |  | Fail
6 | Monitoring console is fully operational?
7 | Sensors are properly placed?
8 | Sensors are functioning properly?
All Systems |  |  | Pass | Fail | Pass |  | Fail | Pass |  | Fail | Pass |  | Fail
9 | Are sumps in liquid tight condition?
10 | No oil in sumps?
11 | No water in sumps?
|  |  | Pass | Fail | Pass |  | Fail | Pass |  | Fail | Pass |  | Fail
PASS or FAIL?
As of ******** new AST installations require an electronic anti-siphon valve.
Comments: (Indicate all repairs made to bring facility into compliance)
[6 empty] | 3 |  |  | Revision Date: |  |  | 2023-11-01

## 4-LLD & Antisiphon
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | [8 empty] | AI Date:
Automatic Line Leak Detector (LLD)
Line leak detectors are required on pressurized product lines supplied by a pump remote from the dispenser.
Item |  | Tank # | 0 |  | 0 |  | 0 |  |  | 0
|  | Volume | 0 |  | 0 |  | 0 |  |  | 0
|  | Product | 0 |  | 0 |  | 0 |  |  | 0
| Pump Type |  | 0 |  | 0 |  | 0 |  |  | 0
12 | Make and Model (or N/A)
13 | Mechanical (M) or Electronic (E) LLD?
|  |  | Pass | Fail | Pass | Fail | Pass | Fail |  | Pass | Fail
14 | LLD listed for use with type of piping present (rigid or flexible)?
Mechanical LLD’s only
15 | Slow flow when 3 gph leak @ 10 PSI is simulated?
Electronic LLD’s only
16 | One 0.1 gph or 0.2 gph test passed within last 30 days?
17 | System alarms and/or shuts off turbine when a 3 gph @ 10 PSI is simulated?
PASS or FAIL?
Anti-Siphon Valves
Item |  | Tank # | 0 |  | 0 |  | 0 |  |  | 0
|  | Product | 0 |  | 0 |  | 0 |  |  | 0
18 |  | Mechanical (M) or Electric (E)
|  |  | Pass | Fail | Pass | Fail | Pass | Fail |  | Pass | Fail
19 | Anti-siphon valve properly located?
20 | Electric anti-siphon valve operational?
|  |  | Pass | Fail | Pass | Fail | Pass | Fail |  | Pass | Fail
PASS or FAIL?
Comments: (Indicate all repairs made to bring facility into compliance)
|  |  |  | 4 |  |  | Revision Date: |  |  | 2023-11-01

## 5-Dispenser Area
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | [16 empty] | AI Date:
Emergency Electrical Disconnect
21 | Emergency Electrical Disconnect properly labeled and accessible? |  |  |  | Pass |  |  | Fail
Required only if tank or piping was installed after April 28, 2004
22 | Big Red Button immediately accessible to attendant? |  |  |  | Pass |  |  | Fail |  |  |  | N/A
Dispenser Area
Item |  | Dispenser #
| All Systems |  | P |  | F | P | F |  | P | F |  |  | P | F | P |  | F |  | P | F | P | F
23 | No weeps / leaks in dispenser?
Crash Valves |  |  | P |  | F | P | F |  | P | F |  |  | P | F | P |  | F |  | P | F | P | F
24 | Crash valves at correct height?
25 | Crash valves secured?
26 | Crash valves operational?
Dispenser Sumps |  |  | P |  | F | P | F |  | P | F |  |  | P | F | P |  | F |  | P | F | P | F
27 | Are sumps in liquid tight condtion? | [9 empty] | Year:
28 | No oil in sumps?
29 | No water in sumps? | Tank # |  | 0 |  |  |  | 0 | [14 empty] | 0
Elec. Dispenser Sump Monitoring |  |  | P | 0 | F | P | F | 0 | P | F |  |  | P | F | P |  | F |  | P | F | P | F | 0
30 | Monitoring console is fully operational? | [9 empty] | Year:
31 | Sensors are properly placed?
32 | Sensors are functioning properly? |  |  | Pass |  |  |  | Pass | [14 empty] | 0
|  |  | P | 0 | F | P | F | 0 | P | F |  |  | P | F | P |  | F |  | P | F | P | F | 0
Pass or Fail? |  |  |  | 0
Notes: 1) If there are more than (&) Dispensers, please use additional "Dispenser area" forms. 2) Since dispensers are not associated with tanks, any FAIL on this page is only recorded in the first tank column on the Summary page. So, if all dispensers are a PASS, only "X" the one dispenser PASS box in the first colum of the summary page.
Comments: (Indicate all repairs made to bring facility into compliance)
[8 empty] | 5 | [9 empty] | Revision Date: |  |  | 2023-11-01

## 6-Vapor Recovery
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | [13 empty] | AI Date:
Class I Tanks (Gasoline tanks only)
33 | Gas throughput for last calendar year |  | Gallons: | [5 empty] | Year:
Stage I Vapor Recovery System
Item |  | Tank # |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  | Volume |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  | Product |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
34 | Two-Point (2), Manifold (M) or N/A
| Two-Point / Manifold |  |  | Pass | Fail |  | Pass | Fail |  | Pass | Fail |  | Pass |  | Fail
35 | Poppet cap and gasket in good condition?
36 | Poppet valve moves easily & closes tight?
37 | Access lid in good condition?
PASS or FAIL?
|  |  |  | Pass | Fail |  | Pass | Fail |  | Pass | Fail |  | Pass |  | Fail
38 | Fill cap and gasket in good condition?
39 | Drop tube?
40 | Ends within 6 inches of tank bottom?
PASS or FAIL?
Comments: (Indicate all repairs made to bring facility into compliance)
[6 empty] | 6 | [5 empty] | Revision Date: |  |  | 2023-11-01

## 7-OOS
Maine Department of Environmental Protection
AST Annual Inspection Report
Reg #: | [8 empty] | AI Date:
Temporarily Out-of-Service Tanks
Fill out this section for any tank that is neither receiving nor dispensing oil. Prior to returning to service, facilities must submit a complete, passing annual inspection and a Department approved piping tightness test.
Item |  | Tank # | 0 |  | 0 |  | 0 |  |  | 0
|  | Volume | 0 |  | 0 |  | 0 |  |  | 0
|  | Product | 0 |  | 0 |  | 0 |  |  | 0
41 | Date taken out-of-service (Month/Date/Year
|  |  | Pass | Fail | Pass | Fail | Pass | Fail |  | Pass | Fail
42 | Less than 1’’ product, water, or residual?
43 | Vent lines open and functioning properly?
44 | Fill pipe locked?
45 | Product piping drained and capped? Pumps and manways secured?
|  |  | Pass | Fail | Pass | Fail | Pass | Fail |  | Pass | Fail
PASS or FAIL?
Comments: (Indicate all repairs made to bring facility into compliance)
|  |  | 7 |  |  |  | Revision Date: |  |  | 2023-11-01