BUREAU OF LAND & WATER QUALITY

MAINE DEPARTMENT OF ENVIRONMENTAL PROTECTION

MAINE WASTE DISCHARGE LICENSE APPLICATION

FOR SUBSURFACE WASTE WATER DISPOSAL SYSTEM

------------------------------------------------------------

DEPLW0313A2003

REVISED:  10/22/2003

GENERAL INSTRUCTIONS

Please read the entire application form before furnishing any information.  If you need assistance in filling out the form or have any questions, please contact your project manager.

Applicants are responsible for publishing public notice of their applications.  The notice must be published in a newspaper having a circulation in the area where the discharge occurs.  Detailed instructions may be found on page 7 of this form.

There is a license and processing fee required as part of your completed application.  The appropriate bill is attached.  Please submit the fee at the same time that you file your application.  Otherwise, the application can not be accepted for processing.

After completing the application, you must submit one copy, including attachments, to the town or city municipal office where the discharge is to occur with the request that it be placed on file for public review.  Mail the original application plus four copies to the attention of your project manager, Department of Environmental Protection, Bureau of Land & Water Quality, State House Station 17, Augusta, Maine 04333.  You should also retain a copy for your own records.

Failure to furnish all requested information will result in the application being returned to you.  This will delay the processing of your application.

------------------------------------------------------------

Your project manager is ______________________________

He/She can be reached at _____________________________

PAGE 1 OF 12

WAPPSUB	REVISED 10/17/94

SECTION I - APPLICANT AND FACILITY INFORMATION

For DEP use only

Total Fees Due			Application Number

(Please use a typewriter or print, using ink.  Applications completed in pencil will not be accepted.)

1.	Applicant Name___________________________________________

____________________________________________________________

2.	Applicant Contact________________________________________

(name)			(title)

3.	Applicant Mailing Address________________________________

(street & number)

____________________________________________________________

(town/city)	(state)		(zip code)	(telephone)

4.	Location of facility_____________________________________

(street & number)

____________________________________________________________

(town/city)	(state)		(zip code)	(telephone)

5.	Facility Contact________________________________________

(name)			(title)

6.	This application is for a ___ new license  ___ renewal

___ amendment	___ transfer of ownership

a.	If new license, submit application, appropriate fee, and Exhibits 1-14.

b.	If renewal or amendment, submit application, appropriate fee and Exhibits 2,3,6,7,8 & 15 only.

c.	If transfer of ownership only, submit application appropriate fee and Exhibits 1,2,3,4,5 & 6 only.

PAGE 2 0F 12

SECTION II - GENERAL INFORMATION

A pre-application meeting is recommended for all new applications or for proposed expansion of existing systems.  The purpose of the meeting is for discussion of the technical issues of the project, to identify any potential environmental concerns, and ensure surface water and ground water quality in the vicinity of the system is maintained and protected.  Areas of concern include soils, hydrogeological assessment, wetlands, streams, ground water, erosion and sedimentation control, stormwater management, odors, potential nuisances and adjoining land uses.

Design of a subsurface waste water disposal system may require more than one professional discipline to conduct the necessary studies, sampling, testing and calculations.  The appropriate professionals, including the Certified Soil Scientist, Certified Geologist, and Professional Engineer, must stamp and sign all documents, plans and calculations for which they are responsible.

PAGE 3 OF 12

SECTION III - INFORMATIONAL REQUIREMENTS

The following material will be considered as part of this application.  The application will not be accepted for processing until you have submitted all materials checked by an (X).

___	APPLICATION FEES - Submit the processing and license fees specified on the enclosed bill.

___	EXHIBIT #1 - PROOF OF RIGHT, TITLE & INTEREST - Submit evidence of ownership or interest in the property on which the treatment or disposal system will be located.  A deed is required for owner, lease agreement for renter, or purchase agreement for purchaser.  If any part of the facility is located on property owned or controlled by another person, submit a copy of all such deeded easements.

___	EXHIBIT #2 - EVIDENCE OF PUBLIC NOTICE - Complete the public notice requirements as directed on pages 7-9 of this application.

___	EXHIBIT #3 - ATTESTATION - Complete forms on pages 10 & 11 of this application.  For a municipality, the application must be signed by a principal executive officer or ranking elected official; for a corporation, by a responsible corporate officer; for a partnership or proprietorship, by a partner or the proprietor.

___	EXHIBIT #4 - CERTIFICATION OF GOOD STANDING - Submit this document issued from the Secretary of the State of Maine.  (Required for corporations submitting new applications or for transfer of ownership)

___	EXHIBIT #5 - TRANSFER OF OWNERSHIP - Complete the form on page 12 of this application.

___	EXHIBIT #6 - GEOGRAPHIC SITE MAPS - Submit a copy of a U. S. Geological Survey (USGS) or U.S. Coastal and Geodetic Survey map with a scale of 1:24,000 (7 1/2 minute series) illustrating the geographic site and delineation of the property.  Also submit a copy of a tax map from the Assesor's office in the town or city where the facility is located.  The tax map should identify the map and lot number of the property as well as the names of abutting property owners.  If possible, indicate updated property line dimensions, location of wells, dwellings, any significant land use changes and the location of the treatment and disposal facility.

PAGE 4 OF 12

___	EXHIBIT #7 - CONSTRUCTION SCHEDULE - Submit an estimated construction schedule for new facilities and proposed expansions of existing facilities.

___	EXHIBIT #8 - SOURCE DESCRIPTION - Provide information as to the source and nature of the waste water including but not limited to; industrial input to the system, population served, and design flows.

___	EXHIBIT #9 - SITE INFORMATION - All applicants must submit a Class B, High Intensity Soil Survey performed by a Certified Soil Scientist, identifying the soil types in the vicinity of the subsurface waste water disposal system and an assessment of the suitability of the soils for treatment and disposal of waste water.  A detailed topographic site plan shall be submitted including existing and finished grade contours, location of wetland areas, rock outcroppings, vegetative cover, streams, and any other natural or man made features that may affect development, operation or performance of the subsurface waste water disposal system.

___	EXHIBIT #10 - PRETREATMENT - Submit a description of the treatment process from influent to effluent, characteristics of influent and effluent, detention times, methods of odor control, equipment used in the treatment process and a schematic of the pretreatment process.

___	EXHIBIT #11 - STORAGE FACILITY - Submit a description of the method of storage of waste water before subsurface treatment.  If the storage facility involves a lagoon, then the applicant must demonstrate the facility is sited and designed to minimize leakage and will not violate surface water or ground water water quality standards.  Submit an assessment of ground water elevations and flow direction, performed by a certified Geologist, in the vicinity of the storage lagoon(s) and a summary of design criteria utilized to determine storage capacity for the facility.  The summary shall include, but not be limited to, precipitation and evapotranspiration rates, flow rates, leakage rates, liner selection, and a schematic of waste water flow through the system.

PAGE 5 of 12

___	EXHIBIT #12 - SUBSURFACE TREATMENT SYSTEM - Submit plans illustrating the design and layout of the treatment and distribution systems.  Submit an erosion and sediment control plan, a vegetative management plan and surface water control plan.  Submit information and calculations to support the proposed hydraulic/pollutant loading rate.

___	EXHIBIT #13 - OPERATIONAL/ENVIRONMENTAL MONITORING PLANS Submit plans for monitoring of ground water, surface waters, waste water, and operations.  Ground water plans shall include schedules and parameters to be monitored, monitoring well locations and a diagram of the monitoring well design.  Surface water and waste water plans shall include location of monitoring stations, monitoring parameters and schedules.  Operational monitoring shall include storage elevation, precipitation, volume, dates and areas irrigated.

___	EXHIBIT #14 - CONSENT AGREEMENTS, COURT ORDERS, ETC. Describe any orders which you are under by any Federal, State, or local authority to meet any implementation schedule for the construction, upgrading or operation of waste water treatment equipment or practices of any other environmental programs which may affect the discharge described in the application.  These may include, but are not limited to conditions, administrative or enforcement orders, enforcement compliance schedule letters, stipulations, court orders, and grant or loan conditions.

___	EXHIBIT #15 - LICENSE RENEWAL OR AMENDMENT - Submit an updated source description; identify type or treatment and distribution system; summarize past performance; demonstrate compliance with the effective waste discharge license; describe any proposed changes in the system or operation of the system; and if applicable, proposed changes in the effective waste discharge license.

PAGE 6 OF 12

EXHIBIT 2 - EVIDENCE OF PUBLIC NOTICE

Instructions for providing notices of the application.  For all applications, the first 3 items must be completed. If the application is for a new discharge, you must also complete item 4.

1.  Publication of Public Notice.  Applicants for waste discharge permits are required to publish a public notice that the application is being file with the Department of Environmental Protection.  The notice must be published within 30 day prior to the application being sent to the Department.  The notice should be published in the legal advertisement section of a daily or weekly newspaper having general circulation in the area where the discharge will occur.  If the public notice is not published at the proper time or if the application is returned because it is incomplete, you may be asked to have the notice published as second time.

Using the form on the next page, fill in the blanks with the appropriate information.  Strike out all of the items (CSO, multiple discharge sources, etc.) in the second paragraph that do not apply to your discharge.  The form may then be sent to the newspaper that is to publish the notice.  Additionally, include a copy of the form with the application filed with the Department.

2.  Notice to Abutters.  Applicants are also required to send a copy of the public notice by certified mail or Certificate of Mailing to all abutting property owners within 30 days prior to the application being filed with the Department.  For the purposes of public notice of this application, an “abutter” is any person who owns property that is both (1) adjoining and (2) within 1 mile of the delineated project boundary, including owners of property directly across a public or private right of way.  Additionally, include a copy of the form with the application filed with the Department.

3.  Notice to Municipal Office.  Applicants are required to send a copy of the public notice by certified mail to the town or city clerk of each municipality where the discharge is located within 30 days prior to the application being filed with the Department.  Applicant must also file a duplicate copy of the application with each municipality.

4.  Public Meeting.  Where the application is for a new discharge of greater than 25,000 gallons per day, you must hold a public meeting in accordance with Chapter 2, Section 8, of the Department’s rules.  Notice of the meeting must be sent to abutters and the clerk of the municipality(ies) where the discharge is located at least 10 days prior to the meeting.  Notice of the meeting must be published in the same newspaper used to publish the notice of filing.

After all required notices have been made, sign the statement on the Certification page of the application.

PAGE 7 OF 12

- CERTIFICATION

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Additionally, by signing below, I certify that

| (1) notice of this application has been made by publication in | name of newspaper |
| --- | --- |

newspaper circulated in the area where the project site is located on or about ________________ (a copy of the advertising form is included in this application); (2) notice has been sent by certified mail or Certificate of Mailing to owners of land abutting the discharge site (a copy of the list of abutters is included in this application); and (3) notice and a copy of this application have been provided to the clerk of the municipality(ies) where the discharge is located.  (4) Further, if this is a new discharge over 25, 000 gallons per day, a public meeting attended by approximately _____ members of the public was held on _______________.

The forgoing steps have been taken in accordance with the instructions attached to this application and the provisions of Chapters 2 and 522 of the Department’s rules.

By:

Signature:  _____________________________________________	Date:  ___________

- Printed Name:  __________________________________________

Title:  _________________________________________________

Assisting Parties.  If the applicant has been assisted in preparing this application, the person assisting must sign below.

Signature:  ___________________________________________  Date:  _________________

Printed Name:  _________________________________________ Telephone:  ____________

Affiliation:  __________________________________________________________________

Address:  ____________________________________________________________________

Town:  ____________________________________________ State:  ________ Zip:  _______

Professional Registration or Certification:  __________________________________________

See following pages for requirements on public notice, public meetings, pre-applications meetings and pre-submission meetings……

PAGE 8 OF 12

NOTICE OF INTENT TO FILE

MAINE WASTE DISCHARGE PERMIT APPLICATION

Please take note that, pursuant to 38 MRSA, Sections 413 and 414-A, ______________________ of

(name)

_________________ intends to file a wastewater discharge permit application with the Department of

(address)

Environmental Protection (DEP).  The application is for the discharge of ____________________ of

(volume)

_________________________________ to the _________________ in _________________, Maine.

(describe waste source)			    (receiving water)		         (municipality)

Include as applicable:

CSO:  Included in this application is the discharge from ________________ Combined Sewer

(number of points)

Overflows to ________________________________________________________.

(list all receiving water)

Multiple industrial point sources:  The application includes ______________________________

(describe all additional or secondary point sources)

associated with the primary activity described above.

Antidegradation:  The application proposes a new or increased discharge that may lower existing receiving water quality within its legal classification, and the application contains a statement regarding important social and economic benefits resulting from the activity causing the discharge, pursuant to 38 MRSA, Section 464.

Mixing Zone:  The application includes a request for establishment of a mixing zone in the

__________________, inside of which classifications standards and uses not need to be met,

(receiving water)

pursuant to 38 MRSA, Section 451.

The application will filed on or about ___________ and will be available for public inspection at DEP’s

(date)

Augusta office during normal business hours.  A copy may also be seen at the municipal offices in _______________________.

(municipality)

A request for a public hearing or request that the Board of Environmental Protection assume jurisdiction over this application must be received by the DEP, in writing, no later than 20 days after the application is found acceptable for processing, or 30 days from the date of this notice, whichever is longer.  Requests shall state the nature of the issue(s) to be raised.  Unless otherwise provided by law, a hearing is discretionary and may be held if the Commissioner or the Board finds significant public interest or there is conflicting technical information.

During the time specified above, persons wishing to receive copies of draft permits and supporting documents, when available, may request them from DEP.  Persons receiving a draft permit shall have 30 days in which to submit comments or to request a public hearing on the draft.

Public comment will be accepted until a final administrative action is taken to approve, approve with conditions or deny this application.  Written public comments or requests for information may be made to the Division of Water Resource Regulation, Department of Environmental Protection, State House Station #17, Augusta, Maine 04333.  Telephone (207) 287-3901.

PAGE 9 OF 12

EXHIBIT 3 - ATTESTATION

Complete the forms on pages 10 and 11 of this application.

____________________________________________________, hereby applies for a waste discharge license from the State of Maine Department of Environmental Protection under the provisions of Title 38, Chapter 3, Sections 413, 414, and 464 of the Maine Revised Statutes Annotated, as amended, to install and/or operate a subsurface waste water disposal system

located in the municipality of ___________________________.

Applicant agrees to submit all information and supplemental materials for approval by the DEP.  Such approval shall be obtained prior to the commencement of construction.  Applicant further agrees that the staff of the Department may inspect the facility at various stages of construction to ascertain that said facility is conforming to the plans and specifications so approved.

The information contained in this application and all attached exhibits are, to the best of my knowledge, true.  All materials submitted to substantiate this application shall be considered part of the application and identified by the applicant as exhibits.

I am familiar with, and understand the statutory requirements of MRSA Title 38, Chapter 3 which include the "Water Classification Program" and the "Protection and Improvement of Waters".

I hereby certify that a copy of this application has been forwarded to the municipal office of the city/town in which the system is to be located with the request that it be placed on file for public review.  I further certify that I have provided the public notice of this application, and I am providing evidence of such notice.

____________________________________________________________

(Applicant or Authorized Agent* of Applicant and Title)

____________________________________________________________

(Signature)	(Date)

*If authorized agent for applicant, attach a letter of authorization to this exhibit.

PAGE 10 OF 12

ASSISTING PARTIES

If the applicant has been assisted in preparing this application, the person assisting must sign below.

Name of person assisting____________________________________

Company name and title______________________________________

Telephone___________________________________________________

Address_____________________________________________________

(street & number)

____________________________________________________________

(city)	(county)	(state)	(zip code)

SIGNED______________________________________________________

(signature of person assisting)	(date)

PAGE 11 OF 12

EXHIBIT 5 - TRANSFER OF OWNERSHIP

If you are applying to transfer ownership of the facility regulated by a Maine Waste Discharge License, please complete the following.

NAME OF EXISTING LICENSE HOLDER_____________________________

ADDRESS_____________________________________________________

LICENSE NUMBER______________________________________________

TELEPHONE NUMBER____________________________________________

Please describe any changes in waste water volume, the nature of the waste water treated, or changes in the treatment system since issuance of the current license and any which are proposed for the future:

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

Please describe or provide evidence of the applicant's technical and financial capacity to comply with all the conditions of the current Waste Discharge License and applicable statutes and regulations:

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

PAGE 12 OF 12