BEFORE WET WEATHER EVENT

Plant Area: _______________________________________________ Sheet ID: _____________

Unit Process/Equipment: ___________________________________ Date: ________________

A. 	We have decided that we need to get ready for a wet weather event.

What do we do before the flow starts to climb?

1. 	What operating adjustments do we make?

2. 	What do we look at, what do we observe?

3. 	What do we measure, what do we record?

4. 	What maintenance do we perform?

5. 	Anything else?

DURING WET WEATHER EVENT

Plant Area:_______________________________________________ Sheet ID: _____________

Unit Process/Equipment: ___________________________________ Date: __________

B. 	The flow has just started to increase at this unit.

What do we do as the flow climbs, reaches it’s peak and begins coming back down?

1. 	What operating adjustments do we make?

2. 	What do we look at, what do we observe?

3. 	What do we measure, what do we record?

4. 	What maintenance do we perform?

5. 	Anything else?

# AFTER WET WEATHER EVENT

Plant Area: ____________________________________________ Sheet ID: _____________

Unit Process/Equipment: ________________________________ Date: ________________

C. 	The flow continues to drop and approaches normal.

What do we do to return this to normal service?

1. 	What operating adjustments do we make?

2. 	What do we look at, what do we observe?

3. 	What do we measure, what do we record?

4. 	What maintenance do we perform?

5. 	Anything else?