## DBP Rule Form Small
Disinfectants and Disinfection Byproducts Rule | [5 empty] | Chlorine or Chloramines Residual (all systems)
System Type - SW and GUI < 10,000 or GW doing DBP samples | [5 empty] | *Note: Same location and frequency as TCR.
System Name: | [5 empty] | Month | Year | # samples | Avg. Total Cl2 | Quarterly Avg.
January
PWSID#: | [5 empty] | February
March
Reporting period: | [5 empty] | April
May
Signature: ________________________________ Date: ____________ | [5 empty] | June
Disinfection Byproduct Precursor Removals (Conventional Filtration) | [5 empty] | July
*Only SW or GUI systems that use conventional filtration need to fill this section out. | [5 empty] | August
| TOC Removal Requirement Table (f) |  |  |  |  | September
|  | Source Water Alkalinity |  |  |  | October
| Source TOC | 0-60 mg/l | 60-120mg/l | >120 mg/l |  | November
| >2-4.0 mg/l | 35% | 25% | 15% |  | December
| >4.0-8.0 mg/l | 45% | 35% | 25% |  | Running Annual Average:
| >8 mg/l | 50% | 40% | 30% | [5 empty] | MRDL: 4.0 mg/L
[6 empty] | Was MRDL exceeded? |  |  | No | Yes
|  | ( b ) | ( c ) | ( d ) |  | ( f ) |  | TOC Ratio | Quarterly
Month | Sample | Finished TOC | Source TOC | % removal | Source Water | Req. TOC |  | Monthly | Average
| Date | mg/l | mg/l | (1-b/c)*100 | Alkalinity (mg/l) | Removal % |  | d/f | Ratio
January
February
March
April
May
June
July
August
September
October
November
December
Finished TOC average:
Type of monitoring: |  |  | Reduced | Routine
Were Removal Requirements attained? |  |  | No | Yes | Running Annual Average: |  |  |  |  | (must be >1.00)
Total Trihalomethane Monitoring TTHM (all systems) | [5 empty] | Haloacetic Acid Monitoring HAA5 (all systems)
Location: | [5 empty] | Location:
| Sample Date | ppb | System Size |  |  |  | Sample Date |  | ppb
1st Qtr |  |  | < 500 SW or GUI |  |  | 1st Qtr
2nd Qtr |  |  | 500-9,999 SW or GUI |  |  | 2nd Qtr
3rd Qtr |  |  | < 10,000 GW |  |  | 3rd Qtr
4th Qtr |  |  | > 10,000 GW |  |  | 4th Qtr
Running Annual Average: |  |  | MCL: 80 ppb |  |  | Running Annual Average: |  |  |  | MCL: 60 ppb
Type Of Monitoring: |  | Reduced | Increased | Routine |  | Was MCL Exceeded?: |  |  | No | Yes
Was MCL Exceeded?: |  | No | Yes
Bromate (Ozone Systems)
Month | ppb | Month | ppb | Does your system use Chlorine Dioxide? |  | Notes:
January |  | July
February |  | August |  |  | No
March |  | September |  |  | Yes
April |  | October |  | If yes, continue onto Chlorine Dioxide reporting sheet; MOR-007.
May |  | November
June |  | December
(MCL:10ppb) Annual Avg:
Was MCL Exceeded?: |  | No | Yes
Type of monitoring: |  | Reduced | Routine
If on reduced monitoring, annual average of monthly bromide in source water?
| DWP0136-B |  |  |  | Monthly Operating Report: MOR-006 Rev B
If Avg. of Qtrly Avgs is >=1.00, system is in compliance.
Form: MOR-006 Rev B

## DBP Rule Form Small GW
Disinfectants and Disinfection Byproducts Rule |  |  |  |  | Chlorine or Chloramines Residual (all systems)
System Type - SW and GUI < 10,000 or GW doing DBP sampling |  |  |  |  | *Note: Same location and frequency as TCR.
System Name: |  |  |  |  | Month | Year | # samples | Avg. Total Cl2 | Quarterly Avg.
January
PWSID#: |  |  |  |  | February
March
Reporting period: |  |  |  |  | April
May
June
Signature: ________________________________ Date: ____________ |  |  |  |  | July
August
September
| Please send completed form quarterly to: |  |  |  | October
November
December
Running Annual Average:
| Maine Drinking Water Program | [7 empty] | MRDL: 4.0 mg/L
| 11 State House Station |  |  |  | Was MRDL exceeded? |  |  | No | Yes
Augusta, ME 04333-0011
Notes:
Total Trihalomethane Monitoring TTHM (all systems) |  |  |  |  | Haloacetic Acid Monitoring HAA5 (all systems)
Location: |  |  |  |  | Location:
| Sample Date | ppb | System Size |  |  | Sample Date |  | ppb
1st Qtr |  |  | < 500 SW or GUI |  | 1st Qtr
2nd Qtr |  |  | 500-9,999 SW or GUI |  | 2nd Qtr
3rd Qtr |  |  | < 10,000 GW |  | 3rd Qtr
4th Qtr |  |  | > 10,000 GW |  | 4th Qtr
Running Annual Average: |  |  | MCL: 80 ppb |  | Running Annual Average: |  |  |  | MCL: 60 ppb
Type Of Monitoring: |  | Reduced | Increased | Routine | Was MCL Exceeded?: |  |  | No | Yes
Was MCL Exceeded?: |  | No | Yes
If Avg. of Qtrly Avgs is >=1.00, system is in compliance.
Form: MOR-006A Rev B