## Special DBP Rule
Disinfectants and Disinfection Byproducts Rule | [5 empty] | Chlorine or Chloramines Residual (all systems)
System Type - SW and GUI > 10,000 with more than 4 sample points that don't have conventional filtration | [5 empty] | *Note: Same location and frequency as TCR.
[6 empty] | Month | # samples | Avg. Total Cl2 | Quarterly Avg.
System Name: | [5 empty] | January
February
PWSID#: | [5 empty] | March
April
Reporting period: | [5 empty] | May
June
Signature: ________________________________Date:______________ | [5 empty] | July
August
September
October
November
December
Avg Of Quarterly Avgs:
MRDL: 4 mg/L
[6 empty] | Was MRDL exceeded? |  | No | Yes
Total Trihalomethane Monitoring TTHM (systems with more than 4 sampling points)
Location->
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg:
Location-> | [8 empty] | Qtr. Running Average
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | (MCL: 80 ppb)
Type of TTHM Monitoring: |  | Routine | Reduced | Was MCL Exceeded?: |  | No | Yes | Ann Run Avg:
Haloacetic Acid Monitoring HAA5 (sytems with more than 4 sampling points)
Location->
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg:
Location-> | [8 empty] | Qtr. Running Average
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | (MCL: 60 ppb)
Type of HAA5 Monitoring: |  | Routine | Reduced | Was MCL Exceeded?: |  | No | Yes | Ann Run Avg:
Bromate (Ozone Systems) | [5 empty] | (Bromate MCL:10ppb) |  | Type of Bromate Monitoring:
Month | ppb | Month | ppb | Month | ppb | Month | ppb | Routine | Reduced
January |  | April |  | July |  | October |  | Was Bromate MCL Exceeded?:
February |  | May |  | August |  | November |  | No | Yes
March |  | June |  | September |  | December |  | Ann. Avg:
| DWP0140 |  |  |  |  | Monthly Operating Report: MOR-009