## SWTR ALT FILT
Surface Water Treatment Rule | [5 empty] | System Information
System Type - SW and GUI that use alternative | [5 empty] | Treatment plant/pump station:
filtration systems
System Name: | [5 empty] | Notes:
PWSID#:
Reporting period:
Total Chlorine Residual in the distribution system
Signature: _______________________Date:__________
[6 empty] | a = |  | # of samples w/Cl2 residual
Free Chlorine Residual at entry point | [5 empty] | b = |  | # of samples where Cl2 is not meas. but HPC's are
[6 empty] | c = |  | # of samples with Cl2 not detected & HPC < 500
Date | Daily min. | Date | Daily min. | Date | Daily min. | d = |  | # of samples with Cl2 not detected & HPC > 500/mL
| mg/L |  | mg/L |  | mg/L | e = |  | # of samples where Cl2 is not meas. & HPC > 500/mL
1 |  | 12 |  | 23 |  |  | current month V =
2 |  | 13 |  | 24 |  |  | previous month V=
3 |  | 14 |  | 25 |  |  | Is V > 5% for 2 months? |  | No | Yes
4 |  | 15 |  | 26 |  | Filter Turbidity Data
5 |  | 16 |  | 27
6 |  | 17 |  | 28 |  | Highest turbidity measurement for the month:
7 |  | 18 |  | 29 |  | Total number of turbidity measurements for the month:
8 |  | 19 |  | 30 |  | Total number less than 1NTU for the month:
9 |  | 20 |  | 31 |  | Percent for the month meeting this limit:
10 |  | 21 |  |  |  | Is this less than 95%? |  |  | No | Yes
11 |  | 22 |  |  |  | Max. single day turbidity limit: |  |  |  | 5 NTU
Continuous monitoring? |  |  |  | No | Yes | Did any samples exceed this in the month?: |  |  | No | Yes
| If no, enter the # of free chlorine residual measurements for month: |  |  |  |  | If yes, list turbidity sample date and value:
[6 empty] | Date |  | Value | Date reported
Contact the DWP within 24 hours at 287-2070 (afterhours pager 557-4214) if your system fails to meet disinfection or turbidity requirements.
Inactivation of Giardia for systems using Chlorine | Date | Dis. Conc."C" (mg/L) | peak flow (gpm) | Disinfectant contact time "T" (min) | CTcalc (=CxT) | pH | Water Temp. (deg. C) | CT99.9 (calculated using equation or tables) | CTcalc/CT99.9 inactivation ratio | (CTcalc/CT99.9)*3= log inactivation
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| DWP0142-B |  |  |  |  | Monthly Operating Report: MOR-011 Rev B
If Avg. of Qtrly Avgs is >=1.00, system is in compliance.
(c+d+e)
(a+b)
x100
V=