REGISTRATION FORM FOR PUBLIC SWIMMING POOL AND SPA

- Owner/Operator of Pool:________________________________________________________________

- Establishment:________________________________________________________________________

- Location:  Street ________________________________Town or City:___________________________

- Owner Mailing Address:________________________________________________________________

Town  ___________________________________State  ______  ZIP Code _______________________
Telephone:  ________________________________  E-mail: ___________________________________

- Location of Pool/Spa: Indoor  [  ]  Outdoor  [  ]

- Capacity in Gallons :_________________

7.	Dimensions for In-Ground Pool: Length ______FT.  Width  _______FT.  Surface Area :______ FT²

Greatest Depth :________FT.	Minimum Depth :________FT.    Maximum Bottom Slope  __________ %

Dimensions for Above Ground Pool:  Round :  Depth  __________ FT    Diameter ____________ FT 
Greatest Depth :________FT.	Minimum Depth :________FT.    Maximum Bottom Slope  __________ %

Square or Rectangular:  Length _________FT.  Width  _________FT.  Surface Area :________ FT²

Greatest Depth :________FT.	Minimum Depth :________FT.    Maximum Bottom Slope  __________ %

- Dimensions for Spa:  Depth  _______________ FT    Diameter ________________  FT

- Recirculation Pump Capacity: __________ GPM

- Turnover Rate in Hours:   _____HRS.

- Type of Filter (Check One)

Sand Filter  [  ]   High Rate Sand Filter  [  ]

Diatomaceous Earth  [  ]   Cartridge Filter  [  ]

Other, specify:  _______________________________________________

Loading rate: Recirculation Rate  _________ GPM/SQ. FT.   Filter Area _____________ SQ.  Ft.

- Method of Filter Backwash Disposal:_____________________________________
If other than public sewer, provide an HHE-200 Form (Subsurface Wastewater Disposal System Application).

- Diameter of Recirculation Piping  _____________ (inches)

- Number of Skimmers:____________  (1 PER 500 SQ. FT. required.)

- Size of Gutter:_________  (REQUIRED IF POOL SURFACE AREA IS GREATER THAN 1600 SQ. FT.)

- Height of Board (if any) :________  Depth of water 12 feet beyond end of board :______________

REQUIRED: 8’-6” FOR 2’ BOARD HEIGHT OR LESS; 10’-0” FOR 1 M. BOARD HEIGHT OR LESS.

Purification Equipment:_________________________________________________________________

Amount of Chemicals Used per Day, in pounds:

Chlorine:__________	Alum:____________

Soda Ash: __________	Other:  _______________________

- Fresh Water Supply Source______________________________

- Average Bathing Load per day:___________________________

Number of Showers _____  Location :_____________________

Number of Toilets:_______	Urinals _____    Location:__________________

SIGNATURE:______________________________                   DATE:________ ___________

Page 2 of 2 				HHE –023 REVISED 06/2007

# Public Swimming Pool and Spa Registration Instructions

When submitting an application for review of a public swimming pool to the Division of Environmental Health, the applicant and/or designer must include the following for a complete application:

- A completed Department of Health and Human Services Swimming Pool Registration Form.

- Plan(s) of the pool showing depths, area, piping, and safety features, complying with the National Spa and Pool Institute’s Minimum Standards for Public Swimming Pools.  

If plans for existing in-ground pools are not available, complete the sample pool diagram page.  For above ground pools, omit the plan, but be sure to include the dimensions in the application form.

- Plans and/or manufacturer’s specifications for pumps and filtering equipment.

- A complete HHE-200 (Subsurface Wastewater Disposal System Application) if a separate building for showers and/or toilets are associated with the pool or spa OR if the pool backwash discharges to a subsurface system. For existing systems installed after 1974, check with your Town Office, or apply for a record search. Systems older than 1974 have no records, and a new design is necessary.

- A review fee of $15.00 is required. A check or money order made payable to the “Treasurer of State” needs to be submitted.

- A pre-operational inspection is required.  The Department must be notified at least 15 days in advance of placing the pool or spa in operation to allow for inspection and approval.

Upon receipt of all of the above, we will review your request. Please allow a minimum of 30 working days for the review.

If you have any comments or questions, please feel free to contact us.

| Plan Review Maine Center for Disease Control & Prevention Division of Environmental Health Subsurface Wastewater Unit 286 Water Street, 3rd Floor Augusta, ME 04333 (207) 287-5672 | Inspection & Operation Maine Center for Disease Control & Prevention Division of Environmental Health Health Inspection Program 286 Water Street, 3rd Floor Augusta, ME 04333 (207) 287-5671 |
| --- | --- |