Electrical (46.0302)

Residential Electrician Standards and Framework

Industry Organization Standard: National Association of Home Builders (NAHB)

Note: The NAHB standards have been developed and validated, and incorporate Level 1 standards for semi-skilled electricians and Level 2 standards for skilled electricians.

Framework, Duties and Tasks

- Workplace Safety Requirements

  - MSDS, OSHA, and manufacturers’ instructions

  - Inspect and Maintain Personal Protection Equipment

  - Use appropriate tools and equipment

  - Follow electrical, fall protection, and other Safety Requirements

  - Handle Hazardous Materials Threats

  - Respond to Other Worksite Emergencies

    - NEC Introduction and Definitions

- NEC 90 Apply basic provisions & purpose

- NEC 100 Apply definitions for residential electrician

- NEC 110 Apply basic requirements for installations

3.    Basic Concepts of Electricity (AC/DC)

  - Electricity & electron flow

  - Electrical measurement -- amp, ohm, watt, volt

  - Apply Ohm's Law

  - Interpret resistance values & coding

  - Series circuits

  - Parallel circuits

  - Combination circuits

4.   Meters & Wire Tables

- Voltmeters, ammeters, ohmmeters

- Use wire tables to determine conductor sizes, voltage drop

5.    AC Circuits

- Apply AC concepts -- resistance, VA, etc.

- Understand AC circuits with inductance

- Understand resistive-inductive AC circuits

- Understand resistive-inductive parallel circuits

6.    Three-Phase Power

- Understand three-phase circuits

7.    Transformers

- Understand single-phase transformers

8.    Temporary Power

- Establish NEC 527 Install temporary wiring/construction site wiring

9.    Blueprints

- Interpret & follow blueprints & specifications

- Interpret drawing symbols & electrical designs

- Interpret plans & specifications accurately

10.  Service Entrances

- Meet applicable NEC Requirements

- NEC 220 Select appropriate size service & panelboards

  - NEC 230 Install appropriate service conductors & equipment

  - NEC 215 Install feeders

  - NEC 408 Install panelboards and disconnects

  - NEC 240 Install overcurrent protection

  - NEC 220 Identify & install grounded conductors

  - NEC 250 Install service ground

- Perform Required Calculations for Installation

- NEC 220 Complete load calculations

- NEC 220 Complete wire sizing calculations

- NEC 220 Determine minimum number of branch circuits

- Assemble Required Tools & Materials

- Select appropriate types of cables & conductors

- Use appropriate connectors, tubing & conduit

- Install Grounding Conductors & Connections

- NEC 250 Lay out grounding system from plans

- NEC 250 & 200 Install grounding system & connections

- NEC 250 & 200 Install equipment grounding

11.   Install Raceway Systems

  - Prepare and layout system from plans

(NEC 342, 344, 348, 350, 352, 356, 358, 360, & 362)

    - Locate junction boxes, conduit, raceways

    - Measure, bend & cut to specifications

    - Determine number of conductors per raceway

12.   Rough-In & Run Conductors

- Select appropriate wiring methods & conductors

    - NEC 300 General wiring requirements

    - NEC 310 General requirements for conductors

- Install appropriate cables

- NEC 334 Nonmetallic-Sheathed Cable

- NEC 330 Metal Clad Cable

- Armored Cable

- NEC 338 Service Entrance Cable

- NEC 340 Underground Feeder & Branch Circuit Cable

- Select & install appropriate raceways

- NEC 358 Electrical Metallic Tubing (EMT

- NEC 344 Rigid Metal Conduit (RMC)

- NEC 352 Rigid Nonmetallic Conduit (RNC)

- NEC 348 Flexible Metal Conduit (FMC)

- NEC 350 Liquidtight Flexible Metal Conduit (LFMC)

- NEC 356 Liquidtight Flexible Nonmetallic Conduit (LFNC)

- NEC 314 Install boxes & enclosures

- Install Branch Circuits NEC 210

- Install lighting circuits Distinguish

- Install lighting & receptacle circuits

- Install luminaries (fixtures) & fan outlets

- Install kitchen small appliance branch circuits Explain

- Install kitchen oven & range outlets

- Install other special purpose circuits (disposals, dishwashers, etc.)

- NEC 404 Install Switch Control of Circuits (low/full voltage)

- Identify appropriate conductors

- Install Other Indoor Residential Circuits

- NEC 424 Install electric resistance-heating equipment

- NEC 410 Install track lighting & dimmer lighting circuits

- NEC 410 Install valance lighting

- NEC 210 Install laundry & utility room circuits

- NEC 410 Install lay-in fixtures/recessed fixtures

- NEC 210 Install receptacle, wet bar & bathroom circuits

- NEC 210 Install workshop circuits & receptacles

- Install Special-Purpose Outlets & Circuits

- NEC 210 Install dryer and cooking circuits

- NEC 422 Install water pump & water heater circuits

- NEC 210 Install ceiling fans, vents & hydromassage circuits

- NEC 440 Install HVAC outlets & circuits

- Install control circuits for gas & oil heating

- NEC 800 Install voice, data & communication circuits

- NEC 800 Install detector & alarm circuits (security & fire)

- Install low voltage circuits

- NEC 230 Install service entrance equipment

- Install standby power

- Other Residential Electrical Requirements

- NEC 225 Wiring separate buildings or structures

- NEC 680 Swimming pools, spas, fountains, hot tubs and other water sources

- Install outdoor branch lighting circuits

- Install garage lighting & door opener circuits

- NEC 250 Install grounding for second building

13.   Trim Out

  - Other Residential Electrical Requirements

  - NEC 410 Install luminaires (fixtures)

  - NEC 404, 406 & 210 Connect switches, receptacles & outlets

  - NEC 210 Install GFCIs, AFCIs

  - NEC 240 Install surge suppressors

  - NEC 422 Install & connect appliances

  - NEC 422 Install ceiling suspended (paddle) fans

  - NEC 440 Connect HVAC equipment wiring

  - NEC 800 Install data, voice & communication devices

14.   Perform Checks on Energized Systems

- Check current, voltage & continuity

- Panelboards

- Circuits (outlets & receptacles), luminaires & appliances

15.   Troubleshoot & Repair Electrical Systems

- Analyze non-functioning wiring & equipment

- Conduct appropriate tests

- Make repairs if required