Electrical Standards and Competencies

Electrician (46.0302)

Industry Standard: National Center for Construction Education & Research (NCCER) – Electrical, Levels 1 & 2, 9th edition (2017)

Note: MACTE has approved NCCER Core and Electrical Levels 1 and 2 as accepted standards.   The National Electrical Code standards are imbedded into the curriculum where it is pertinent.

Framework, Duties and Tasks

Electrical, Level 1

- Orientation To The Electrical Trade

    - Identify the various sectors and trade options in the electrical industry.

      - Describe the typical components in a residential wiring system.

      - Describe the typical components in a commercial wiring system.

      - Describe the typical components in an industrial wiring system.

      - List various career paths and opportunities in the electrical trade.

    - Understand the apprenticeship/training process for electricians.

      - List department of labor (DOL) requirements for apprenticeship.

      - Describe various types of training in the electrical field.

    - Understand the responsibilities of the employee and employer.

      - Identify employee responsibilities.

      - Identify employer responsibilities.

- Electrical Safety

    - Identify electrical hazards and their effects.

      - Understand the effects of electrical shock on the human body.

      - Verify that circuits are de-energized.

    - Use PPE to reduce the risk of injury.

      - Identify OSHA requirements for protective equipment.

      - Select and use protective equipment.

    - Identify the standards that relate to electrical safety.

      - Apply OSHA requirements in the workplace.

      - Understand the purpose of NFPA 70E.

    - Recognize the safety requirements for various hazards.

      - Identify the safety hazards associated with ladders, scaffolds, and lift equipment.

      - Avoid back injuries by practicing proper lifting techniques.

      - Demonstrate basic tool safety.

      - Identify confined space entry procedures.

      - Work safely with dangerous materials.

      - Select and use appropriate fall protection.

- Introduction To Electrical Circuits

    - Describe atomic structure as it relates to electricity.

      - Identify the components of an atom.

      - Compare the atomic structures of conductors and insulators.

      - Identify the role of magnetism in electrical devices.

      - Identify the basic components in a power distribution system.

    - Identify electrical units of measurement.

      - Define current.

      - Define voltage.

      - Define resistance.

      - Use Ohm’s law to solve for unknown circuit values.

    - Read schematic diagrams.

      - Identify the symbol for a resistor and determine its value based on color codes.

      - Distinguish between series and parallel circuits.

      - Identify the instruments used to measure circuit values.

      - Calculate electrical power.

- Electrical Theory

            - Calculate values in resistive circuits.

              - Identify resistances in circuits.

              - Identify resistances in parallel.

              - Simplify series-parallel circuits.

              - Apply Ohm’s law to various types of circuits.

    - Apply Kirchhoff’s law to various types of circuits.

      - Use Kirchhoff’s current law.

      - Use Kirchhoff’s voltage law.

- Introduction to the National Electrical Code

            - Explain the purpose and history of the NEC.

              - Trace the history of the NEC.

              - Identify the roles of other organizations.

    - Navigate the NEC.

      - Identify the chapters in the NEC.

      - Use the NEC to find specific installation requirements.

- Device Boxes

    - Size and install outlet boxes.

      - Identify boxes and their applications.

      - Size outlet boxes.

      - Install outlet boxes.

    - Size and install pull and junction boxes.

      - Size pull and junction boxes.

      - Install pull and junction boxes.

- Hand Bending

    - Select and use hand bending equipment.

      - Use geometry to make a bend.

      - Make 90̊ bends.

      - Make offset bends.

    - Cut, ream, and thread conduit.

      - Cut conduit using a hacksaw.

      - Cut conduit using a pipe cutter.

      - Ream conduit.

      - Thread conduit.

      - Cut and join PVC conduit.

- Raceways and Fittings

    - Select and install raceway systems.

      - Identify types of conduit and their applications.

      - Properly bond conduit for use as a ground path.

      - Install metal conduit fittings.

      - Make conduit-to-box connections.

      - Identify raceway supports.

      - Identify installation requirements for various construction methods.

    - Select fasteners and anchors for the installation of raceway systems.

      - Select and install tie wraps.

      - Select and install screws.

      - Select and install hammer-driven pins and studs.

      - Identify the safety requirements for stud-type guns.

      - Select and install masonry anchors.

      - Select and install hollow-wall anchors.

      - Select and install epoxy anchoring systems.

    - Select and install wireways and other specialty raceways.

      - Identify types of wireways and their components.

      - Install wireway supports.

      - Identify and install specialty raceways.

    - Select and install cable trays.

      - Identify cable tray types and fittings.

      - Install cable tray supports.

    - Handle and store raceways.

      - Handle raceways.

      - Store raceways.

- Conductors and Cables

    - Classify conductors by wire size, insulation, and application.

      - Identify wire sizes.

      - Determine conductor ampacities.

      - Identify conductor materials.

      - Identify conductor insulation.

      - Identify fixture wiring.

      - Identify cable types and applications.

      - Identify instrumentation control wiring.

    - Install conductors in a conduit system.

      - Install conductors using fish tape.

      - Install conductors using pulling equipment.

- Basic Electrical Construction Drawings

    - Identify types of construction drawings.

      - Identify the information found on site plans.

      - Identify the information found on floor plans.

      - Identify the information found on elevation drawings.

      - Identify the information found on sectional views.

      - Identify the information found on title blocks.

      - Interpret drafting lines.

    - Work with scale drawings.

      - Use an architect’s scale.

      - Use an engineer’s scale.

      - Use a metric scale.

    - Read electrical drawings.

      - Interpret electrical symbols.

      - Analyze a set of electrical drawings.

      - Identify fixtures in a lighting floor plan.

      - Read block and schematic diagrams.

      - Interpret written specifications.

11.     Residential Electrical Services

a. Size the electric service for a dwelling.

- Calculate the electric service load.

- Apply demand factors.

- Calculate appliance loads.

- Size the load center.

    - Identify the grounding requirements for a residential electrical system.

      - Size grounding electrodes.

      - Size the main bonding jumper.

      - Install the equipment grounding system.

    - Install service-entrance equipment.

      - Identify the service drop location.

      - Select the panelboard location.

    - Identify wiring methods for various types of residences.

      - Select and install cable systems.

      - Select and install raceways.

    - Lay out branch circuits and size outlet boxes.

      - Complete the branch circuit layout for power.

      - Complete the branch circuit layout for lighting.

      - Install outlet boxes.

    - Select and install various wiring devices.

      - Select and install receptacles.

      - Select and install switches.

      - Install devices near residential swimming pools, spas, and hot tubs.

12. Electrical Test Equipment

a. Identify various types of electrical test equipment.

- Identify the applications of a voltmeter.

- Identify the applications of an ohmmeter.

- Identify the applications of an ammeter.

- Identify the applications of a multimeter.

- Identify the applications of other meters.

    - Select a meter with the correct category rating for an application.

      - Identify electrical test equipment safety hazards.

Electrical, Level 2

- Alternating Current

    - Identify AC waveforms.

      - Define the terminology of sine waves.

      - Define AC phase relationships.

      - Identify nonsinusoidal waveforms.

    - Determine unknown values in AC circuits.

      - Find unknown values in purely resistive AC circuits.

      - Find unknown values in inductive AC circuits.

      - Find unknown values in capacitive AC circuits.

      - Find unknown values in combination circuits.

    - Make power calculations in AC circuits.

      - Calculate true power.

      - Calculate apparent power.

      - Calculate reactive power.

      - Calculate power factor.

      - Use the power triangle to determine unknown values.

    - Identify transformers and explain how they operate.

      - Identify the basic components in a transformer.

      - Identify transformer operating characteristics.

      - Calculate turns and voltage ratios.

      - Identify various types of transformers and their applications.

- Motors: Theory and Application

    - Identify direct current (DC) motors and describe their operating characteristics.

      - Understand how DC motors operate.

      - Identify types of DC motors.

    - Identify alternating current (AC) motors and describe their operating characteristics.

      - Understand how AC motors operate.

      - Identify three-phase induction motors.

      - Identify synchronous motors.

      - Identify single-phase induction motors.

    - Identify variable-speed drives and describe their operating characteristics.

      - Identify types of adjustable speed loads.

      - Identify types of motor speed control.

      - Identify braking methods.

    - Identify motor enclosures, frame designations, and operating characteristics.

      - Identify types of motor enclosures.

      - Identify NEMA frame designations.

      - Identify motor operating characteristics using nameplate data.

    - Identify the connections and terminal markings for AC motors.

      - Identify the terminals of wye-connected motors.

      - Identify the terminals of delta-connected motors.

    - Identify the NEC requirements for motors.

      - Identify NEC installation requirements.

      - Identify NEC motor protection requirements.

- Electric Lighting

    - Explain the relationship between human vision and light.

      - Identify how the human eye operates.

      - Identify the characteristics of light.

    - Identify and install lamps and ballasts.

      - Identify and install lamps.

      - Identify and install ballasts.

    - Select and install lighting fixtures for various applications.

      - Identify lighting fixtures and their applications.

      - Store and handle lamps and lighting fixtures.

      - Install lighting fixtures.

    - Select lighting controls for various applications.

      - Select occupancy sensors.

      - Select photosensors.

      - Use lighting timers.

      - Program energy management systems.

- Conduit Bending

    - Identify the NEC requirements for conduit bends.

      - Identify the minimum radius requirements for various types of conduit.

      - Calculate the number of bends per run.

    - Use equations to find bend distances.

      - Use right-angle mathematics to find bend distances.

      - Use the circumference of a circle to determine bend distances.

    - Use mechanical benders.

      - Chart a mechanical bender.

      - Make mechanical bends.

    - Use electric and hydraulic conduit benders.

      - Use electric conduit benders.

      - Use hydraulic conduit benders.

    - Install PVC conduit.

      - Join PVC conduit.

      - Bend PVC conduit.

- Pull and Junction Boxes

    - Identify boxes and fittings.

      - Select pull and junction boxes.

      - Select and install fittings.

    - Size pull and junction boxes.

      - Size pull and junction boxes for systems under 1,000V.

      - Size pull and junction boxes for systems over 1,000V.

    - Identify specialty enclosures.

      - Identify conduit bodies and other cast enclosures.

      - Select and install handholes.

- Conductor Installations

    - Install cable in conduit systems.

      - Plan the installation.

      - Identify a pulling location and set up the cable reels.

      - Prepare raceways for conductors.

      - Install a pull line.

      - Prepare the cable ends for pulling.

      - Select cable-pulling equipment.

    - Set up for high-force cable pulling.

      - Set up the feeding end.

      - Support conductors.

      - Pull cable in cable trays.

    - Identify cable limitations when pulling.

      - Calculate the allowable tension on pulling devices.

      - Calculate the allowable tension on conductors.

      - Calculate the sidewall loading.

- Cable Tray

    - Identify cable tray components.

      - Select cable tray fittings.

      - Identify cable tray supports.

    - Calculate the load on a cable tray.

      - Determine the load on supports.

      - Identify types of failure under load.

      - Identify installation requirements for cable tray.

    - Determine cable tray fill.

      - Determine the number of conductors allowed in cable tray operating at 2,000V or less.

      - Identify derating factors for cable tray conductors.

- Conductor Terminations and Splices

    - Strip and train conductors.

      - Strip small conductors.

      - Strip large conductors.

      - Bend cable and train conductors.

    - Make wire connections.

      - Install various types of connectors.

      - Make aluminum connections.

      - Install control and signal cables.

    - Reinsulate electrical connections.

      - Tape electrical connections.

      - Install heat-shrink insulators.

      - Use motor connection kits.

- Grounding and Bonding

    - Identify grounding requirements and applications.

      - Identify the purpose of grounding and bonding.

      - Identify the grounding requirements for various systems.

    - Identify service grounding methods.

      - Size and install a grounding electrode conductor.

      - Select other electrodes.

    - Size and select equipment grounding.

      - Size an equipment grounding conductor.

      - Ground an enclosure.

    - Bond service equipment.

      - Size the main bonding jumper.

      - Bond multiple service disconnects.

      - Bond enclosures and equipment.

    - Ground and bond separately derived systems.

      - Ground separately derived systems.

      - Install grounding at more than one building.

    - Test for effective grounds.

      - Measure earth resistance using the fall-of-potential method.

      - Complete a three-point test.

- Circuit Breakers and Fuses

    - Identify the function of overcurrent protective devices.

      - Identify types of overcurrent conditions.

      - Identify NEC requirements for overcurrent protective devices.

    - Size and select circuit breakers.

      - Identify circuit breaker components.

      - Identify circuit breaker types and ratings.

    - Size and select fuses.

      - Identify fuse types and markings.

      - Size fuses.

      - Coordinate the operation of overcurrent protective devices.

- Control Systems and Fundamental Concepts

    - Identify magnetic and mechanically held contactors.

      - Select lighting contactors.

      - Make forward and reverse motor contactor connections.

      - Select mechanically held contactors.

    - Select and troubleshoot relays.

      - Select control relays.

      - Select timers and timing relays.

      - Select solid-state relays.

      - Select overload relays.

      - Troubleshoot relays.

    - Install low-voltage remote control switching systems.

      - Identify remote control switching system components and operating characteristics.

      - Plan and install a remote control switching system.