Plumbing Standards and Competencies

Plumbing Technology/Plumber (46.0503)

Industry Standard(s): National Center for Construction Education & Research (NCCER) – Plumbing, Level 1, 4th edition (2012)

Note: MACTE has approved NCCER Core and Plumbing Level 1 and the International Association of Plumbing and Mechanical Officials Uniform Plumbing Code as accepted standards.

Framework, Duties and Tasks:

- Introduction to the Plumbing Profession

  - Describe the history of the plumbing profession.

  - Identify the responsibilities of a person working in the plumbing industry.

  - State the personal characteristics of a professional.

  - Identify the stages of progress within the plumbing profession and its positive impact on society.

  - Identify how green technology is incorporated into plumbing.

- Plumbing Safety

- Describe the common unsafe acts and unsafe conditions that cause accidents.

- Describe how to handle unsafe acts and unsafe conditions.

- Explain how the cost of accidents and illnesses affects everyone on site.

- Demonstrate the use and care of appropriate personal protective equipment.

- Identify job-site hazardous work specific to plumbers.

- Explain how to work safely in and around a trench.

- Explain how to work safely in and around confined spaces.

- Demonstrate the proper use of ladders.

- Demonstrate how to maintain power tools safely.

- Describe and demonstrate the lockout/tagout process.

- Identify the benefits of a job safety analysis.

- Tools of the Plumbing Trade

- Identify the basic hand and power tools used in the plumbing trade.

- Demonstrate the proper use of plumbing tools.

- Demonstrate the ability to select the proper tool(s) for tasks.

- Demonstrate proper maintenance and storage for hand and power tools.

- Describe the safety requirements for using power and hand tools common to the plumbing trade.

- Introduction to Plumbing Math

- Add, subtract, multiply, and divide whole numbers.

- Add, subtract, multiply, and divide fractions.

- Add, subtract, multiply, and divide decimals.

- Convert decimals to percentages and percentages to decimals.

- Convert fractions to decimals and decimals to fractions.

- Explain what the metric system is and how it is important in the plumbing trade.

- Square various numbers and take square roots of numbers, with and without a calculator.

- Identify the parts of a fitting and use common pipe-measuring techniques.

- Use fitting dimension tables to determine fitting allowances and thread makeup.

- Calculate end-to-end measurements using fitting allowances and thread makeup.

- Identify the functions of a construction calculator.

- Introduction to Plumbing Drawings

- Identify various plumbing drawings and describe how the different views are used.

- Identify the basic symbols used in schematic drawings of pipe assemblies.

- Explain the types of drawings in a complete set of drawings and how they relate to each other.

- Interpret plumbing-related information from a set of drawings.

- Sketch an orthographic and isometric drawing.

- Use an architect’s scale to draw lines to scale and to measure lines drawn to scale.

- Discuss how code requirements apply to certain drawings.

- Plastic Pipe and Fittings

- Identify the various types of plastic pipe.

- Identify the material properties, storage, and handling requirements of plastic pipe.

- Identify the types of fittings and valves used with plastic pipe.

- Identify the techniques used in hanging and supporting plastic pipe.

- Properly measure, cut, and join plastic pipe.

- Identify the hazards and safety precautions associated with plastic pipe.

- Copper Tube and Fittings

- Identify the various types of copper tube.

- Identify the material properties, storage, and handling requirements of copper tube.

- Identify the types of fittings and valves used with copper tube.

- Identify the techniques used in hanging and supporting copper tube.

- Properly measure, cut, and join copper tube.

- Identify the hazards and safety precautions associated with copper tube.

- Cast-Iron Pipe and Fittings

- Identify the various types of cast-iron pipe.

- Identify the material properties, storage, and handling requirements of cast iron pipe.

- Identify the types of fittings and valves used with cast-iron pipe.

- Identify the techniques used in hanging and supporting cast-iron pipe.

- Properly measure, cut, and join cast-iron pipe.

- Identify the hazards and safety precautions associated with cast-iron pipe.

- Steel Pipe and Fittings

- Identify the types of steel pipe.

- Identify the material properties, storage, and handling requirements of steel pipe.

- Identify the types of fittings and valves used with steel pipe.

- Identify the techniques used in hanging and supporting steel pipe.

- Properly measure, cut, and join steel pipe.

- Identify the hazards and safety precautions associated with steel pipe.

- Introduction to Plumbing Fixtures

- Identify the basic types of materials used in the manufacture of plumbing fixtures.

- Identify common types of sinks, lavatories, and faucets.

- Identify common types of bathtubs and showers.

- Identify common types of toilets, urinals, and bidets.

- Identify and describe common types of drinking fountains and water coolers.

- Identify common types of appliances connected by a plumber.

- Introduction to Drain, Waste and Vent (DWV) Systems

- Explain how waste moves from a fixture through the drain system to the environment.

- Identify the major components of a drainage system and describe their functions.

- Identify the different types of traps and their components, explain the importance of traps, and identify the ways that traps can lose their seals.

- Identify significant code and health issues, violations, and consequences related to DWV systems.

- Introduction to Water Distribution Systems

- Describe the process by which water is distributed in municipal, residential, and private water systems.

- Identify the major components of a water distribution system, and describe the function of each component.

- Explain the relationships between components of a water distribution system.