Once the location has been determined and the parking area is being designed, ensure that these items are present (to the maximum extent feasible.)

|  |  |  |
| --- | --- | --- |
| **Yes** | **No\*** | **Installation Checklist** |
|  |  | Is the accessible space 11 feet wide or more? |
|  |  | Is the accessible space 20 feet long? |
|  |  | Is the accessible Aisle 5 feet wide? |
|  |  | Does the access aisle go directly to the charging station without obstructions? |
|  |  | Is the charging station at the same level as the parking space? |
|  |  | Is there a clear space at the Charging Station?  |
|  |  | Is the Clear Floor or Ground Space at chargers a minimum of 30 inches by 48 inches? More when ground space is confined on 3 sides.  |
|  |  | Is the clear Floor or Ground Space 1:48 OR 2% slope in both directions? |
|  |  | Are the operable parts no more than 48 inches above the ground space? |
|  |  | Are operable parts no more than 10 inches from the ground space?  |
|  |  | Is the connector easily operable with one hand and with no more than 5lbs force to operate?  |
|  |  | Do charging cables block or obstruct the accessible route when stored or connect to vehicles?  |
|  |  | Has signage been installed for the accessible space(s)? |
|  |  | Is the sign no less than 60 inches from the ground?  |

\*If there is a technical reason why the charger can not meet full compliance, document that as Technically Infeasible and what the deficiency was that was not met.