| MDEP Registration #: | Permit Number: |
| --- | --- |
| MDEP Registration Date: | Date Issued: |
| App. Rcd. By MDEP | App. Rcd. By OSFM: |
|  | Fee Rcd. By OSFM Amount Date Check # |
| Action by MDEP Complete Incomplete Action By/Date: | Action by OSFM: Approved Do Not Issue Action By/Date: |

Application for Permit by Rule & Certification of Compliance for

Aboveground Storage of Diesel Fuel

On a Significant Sand and Gravel Aquifer

for Aggregate Mining Operations

Office of the State Fire Marshal	     Maine Department of

Maine Department of Public Safety	     Environmental

Protection

52 State House Station		     17 State House Station

Augusta, Maine 04333-0052                        Augusta, Maine 04333-0017

207-626-3880                                               207 287-7688

| Name of Facility: |
| --- |
| Physical Address of Facility: | Latitude (decimal) | Longitude (decimal) |
|  | Tax Map Number: | Tax Map Lot Number: |
| City/Town: | Zip Code | County |
| Contact Person: | Telephone: | Email or other: |
| Tank Listing: UL 142 with Secondary Containment UL 2080 |
| Number of Tanks and Chambers: Volume (gal) Product Tank #1 One Chamber Tank Tank #2 One Chamber Tank or Tank #1 Two Chamber Tank Chamber 1 Chamber 2 Total Capacity of all Tanks and Chambers Total Capacity of all Tanks and Chambers MUST NOT Exceed 1,100 gal. Aggregate |
| Name of Owner: OSFM PERMIT WILL BE ISSUED IN THIS NAME |
| Owner Mailing Address: |
| City/Town: | State: | Zip Code |
| Contact Person: | Telephone: | Email or other: |
| Name of Operator: |
| Operator Mailing Address: |
| City/Town: | State: | Zip Code |
| Contact Person: | Telephone: | Email or other: |
| By signing this application, I certify that the facility described will be installed, operated, and maintained according to the rules, codes, and standards applicable to above ground oil and other combustible liquid storage facilities, including but not limited to, Chapter 34 of the OSFM regulations and Chapters 378 and 692 of MDEP regulations. I certify that no alterations, modifications, or other changes will be made to this facility without prior, written approval of the Office of the State Fire Marshal and submission of an amended notice to the MDEP. I certify that as the owner of the facility, I have sufficient title, right, or interest in the property identified above to install and operate this facility. I authorize staff of the Office of the State Fire Marshal and staff of the Maine Department of Environmental Protection to access and inspect the facility described in this application during normal business hours. I acknowledge and understand that this notice is not valid until information required above is provided, and that providing false information on this application shall be grounds for denial of the permit by rule and may be punishable by fines, imprisonment, or both pursuant to 38 MRSA §349 3 and/or 17-A MRSA §453. ______________________________ _________________________________ ______________ Owner Name Typed or Printed Legibly Owner’s Signature Date |