## Summary
Executive Summary - Dirigo Atlantic Floating Offshore Wind Port
Current Status/Baseline & Problem to be Addressed | Change to Baseline/Alternatives | Type of Impacts | Population Affected by Impacts | Economic Benefit | Summary of Results | Tab in BCA
While there are more than 60 oil and gas ports around the country, there are no existing floating offshore wind ports. Without the port infrastructure to assemble and deploy floating offshore wind turbines the Biden Administration and Maine cannot meet their wind energy goal. The port infrastructure is essential to deploying wind energy. | This project will build a purpose built port and Jones Act-compliant, U.S.-flagged semi-submersible barge that will be able to assemble and deploy floating offshore wind turbines to the Maine Wind Energy Area (WEA) in the Gulf of Maine. | This project will reduce the travel time and operational costs associated with the tugboats required to deploy the wind turbines. It will also decrease the emissions from the tugboats due to the reduced distance between the Sears Island port to the WEA rather than the NJ port which is about 5 times the distance to the WEA. Finally, the project will ultimately allow for wind energy to be utilized throughout Maine which will drastically reduce emissions created by the displacement of fossil fuel energy. | The port will create between 300-400 good paying consistent jobs for Mainers. This project is located near Areas of Persistent Poverty and Historically Disadvantaged Communities that will be positively impacted by job creation. And Maine and the nation will benefit from the deployment of wind energy to displace energy created by fossil fuels. | The 300-400 new high paying port jobs will have a positive impact on the economy. The opening of the Maine WEA which will have a significant economic impact on the nation in supplanting fossil fuel energy with renewable energy. | The BCR is 11.39/1 based on the advantage to deploying wind turbines from Sears Island. The alternative analysis BCR is 38.42/1 based on the Maine WEA not being developed due to it being too expensive to deploy from locations further away or ports that can handle floating offshore wind energy not being constructed. | See Benefit Cost Ratio worksheet for summary.

## Initial Capital Cost
Dirigo Atlantic floating Offshore Wind Port
Capital Investment
Year | Calendar Year | Capital Cost | 3% NPV
1 | 2025
2 | 2026 | 90000000 | 84833631.822
3 | 2027 | 160000000 | 146422665.4965
4 | 2028 | 255000000 | 226564197.2185
5 | 2029 | 255000000 | 219965240.018
6 | 2030
7 | 2031
8 | 2032
9 | 2033
10 | 2034
11 | 2035
12 | 2036
13 | 2037
14 | 2038
15 | 2039
16 | 2040
17 | 2041
18 | 2042
19 | 2043
20 | 2044
21 | 2045
22 | 2046
23 | 2047
24 | 2049
25 | 2050
26 | 2051
27 | 2052
28 | 2053
29 | 2054
30 | 2055
677785734.555

## Tugboat Emissions
Dirigo Atlantic Floating Offshore Wind Port
No Build - Emissions Tugboat Trips from Salem County, New Jersey to the WEA
Year | Calendar Year | Tugboats to WEA 100% load (each turbine requires 3 tugboats) | Tugboats back from WEA 75% load (each turbine requires 3 tugboats) | Turbines Installed per Year | Tugboat Hours from Salem County, New Jersey to WEA at 3 knots; 520 NM from Salem County, New Jersey to WEA | Tugboat Hours from the WEA to Salem County, New Jersey at 12 knots; 520 NM from the WEA to Salem County, New Jersey | Metric Tons of PM 2.5 emitted at 100% load = 173 grams/hour = .000173 MT/hour | Metric Tons of PM 2.5 emitted at 75% load = 97 grams/hour = .000097 MT/hour | BCA Value Provided per MT | Total value of PM2.5 emitted at 100% load | Total value of PM2.5 emitted at 75% load | Total value of PM2.5 emitted | Metric Tons of CO2 emitted at 100% load = 1325 grams/hour = .001325 MT/hour | Metric Tons of CO2 emitted at 75% load = 1005 grams/hour = .001005 MT/hour | BCA Value Provided per MT of CO2 | Total value of CO2 emitted at 100% load | Total value of CO2 emitted at 75% load | Total value of CO2 emitted | CO2 Discounted at 2% per BCA guidance | Metric Tons of NOx emitted at 100% load = 14,124 grams/hour = .014124 MT/hour | Metric Tons of NOx emitted at 75% load = 9,450 grams/hour = .009450 MT/hour | NOx Value per BCA Guidance | Total value of NOx emitted at 100% load | Total value NOX emitted at 75% load | Total value of NOx emitted | PM2.5 and NOx Total | 3% NPV | Total Costs with CO2 Costs
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030 | 45 | 45 | 15 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1439734.545 | 200645.955 | 1640380.5 | 0.001325 | 0.001005 | 257 | 2650.9871 | 499.7815 | 3150.7686 | 2797.7923 | 0.014124 | 0.00945 | 22000 | 2419017.48 | 402286.5 | 2821303.98 | 4461684.48 | 3736590.5103 | 3739388.3026
7 | 2031 | 48 | 48 | 16 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1535716.848 | 214022.352 | 1749739.2 | 0.001325 | 0.001005 | 262 | 2882.7336 | 543.4718 | 3426.2054 | 2982.718 | 0.014124 | 0.00945 | 22000 | 2580285.312 | 429105.6 | 3009390.912 | 4759130.112 | 3869608.2954 | 3872591.0135
8 | 2032 | 51 | 51 | 17 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1631699.151 | 227398.749 | 1859097.9 | 0.001325 | 0.001005 | 265 | 3097.9759 | 584.0507 | 3682.0266 | 3142.5742 | 0.014124 | 0.00945 | 22000 | 2741553.144 | 455924.7 | 3197477.844 | 5056575.744 | 3991707.5863 | 3994850.1606
9 | 2033 | 54 | 54 | 18 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1727681.454 | 240775.146 | 1968456.6 | 0.001325 | 0.001005 | 270 | 3342.1005 | 630.0747 | 3972.1752 | 3323.7385 | 0.014124 | 0.00945 | 22000 | 2902820.976 | 482743.8 | 3385564.776 | 5354021.376 | 4103411.5679 | 4106735.3064
10 | 2034 | 57 | 57 | 19 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1823663.757 | 254151.543 | 2077815.3 | 0.001325 | 0.001005 | 274 | 3580.0361 | 674.9319 | 4254.9679 | 3490.5557 | 0.014124 | 0.00945 | 22000 | 3064088.808 | 509562.9 | 3573651.708 | 5651467.008 | 4205222.2109 | 4208712.7666
11 | 2035 | 60 | 60 | 20 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 1919646.06 | 267527.94 | 2187174 | 0.001325 | 0.001005 | 278 | 3823.473 | 720.8262 | 4544.2992 | 3654.8119 | 0.014124 | 0.00945 | 22000 | 3225356.64 | 536382 | 3761738.64 | 5948912.64 | 4297621.0638 | 4301275.8756
12 | 2036 | 63 | 63 | 21 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2015628.363 | 280904.337 | 2296532.7 | 0.001325 | 0.001005 | 282 | 4072.4113 | 767.7577 | 4840.169 | 3816.4403 | 0.014124 | 0.00945 | 22000 | 3386624.472 | 563201.1 | 3949825.572 | 6246358.272 | 4381070.0165 | 4384886.4567
13 | 2037 | 66 | 66 | 22 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2111610.666 | 294280.734 | 2405891.4 | 0.001325 | 0.001005 | 287 | 4341.9799 | 818.5785 | 5160.5585 | 3989.2796 | 0.014124 | 0.00945 | 22000 | 3547892.304 | 590020.2 | 4137912.504 | 6543803.904 | 4456012.0371 | 4460001.3166
14 | 2038 | 69 | 69 | 23 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2207592.969 | 307657.131 | 2515250.1 | 0.001325 | 0.001005 | 290 | 4586.7923 | 864.7322 | 5451.5244 | 4131.5742 | 0.014124 | 0.00945 | 22000 | 3709160.136 | 616839.3 | 4325999.436 | 6841249.536 | 4522871.8823 | 4527003.4565
15 | 2039 | 72 | 72 | 24 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2303575.272 | 321033.528 | 2624608.8 | 0.001325 | 0.001005 | 294 | 4852.2348 | 914.7751 | 5767.0099 | 4284.9733 | 0.014124 | 0.00945 | 22000 | 3870427.968 | 643658.4 | 4514086.368 | 7138695.168 | 4582056.7824 | 4586341.7557
16 | 2040 | 72 | 72 | 24 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2303575.272 | 321033.528 | 2624608.8 | 0.001325 | 0.001005 | 299 | 4934.7558 | 930.3325 | 5865.0883 | 4272.399 | 0.014124 | 0.00945 | 22000 | 3870427.968 | 643658.4 | 4514086.368 | 7138695.168 | 4448598.8179 | 4452871.2169
17 | 2041 | 75 | 75 | 25 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2399557.575 | 334409.925 | 2733967.5 | 0.001325 | 0.001005 | 303 | 5209.1381 | 982.0609 | 6191.199 | 4421.5225 | 0.014124 | 0.00945 | 22000 | 4031695.8 | 670477.5 | 4702173.3 | 7436140.8 | 4498987.4776 | 4503409.0002
18 | 2042 | 78 | 78 | 26 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2495539.878 | 347786.322 | 2843326.2 | 0.001325 | 0.001005 | 308 | 5506.9014 | 1038.1972 | 6545.0986 | 4582.6121 | 0.014124 | 0.00945 | 22000 | 4192963.632 | 697296.6 | 4890260.232 | 7733586.432 | 4542666.9677 | 4547249.5798
19 | 2043 | 81 | 81 | 27 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2591522.181 | 361162.719 | 2952684.9 | 0.001325 | 0.001005 | 312 | 5792.9742 | 1092.1295 | 6885.1037 | 4726.147 | 0.014124 | 0.00945 | 22000 | 4354231.464 | 724115.7 | 5078347.164 | 8031032.064 | 4579985.367 | 4584711.5139
20 | 2044 | 84 | 84 | 28 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2687504.484 | 374539.116 | 3062043.6 | 0.001325 | 0.001005 | 317 | 6103.8033 | 1150.729 | 7254.5323 | 4882.0923 | 0.014124 | 0.00945 | 22000 | 4515499.296 | 750934.8 | 5266434.096 | 8328477.696 | 4611276.1696 | 4616158.2618
21 | 2045 | 87 | 87 | 29 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2783486.787 | 387915.513 | 3171402.3 | 0.001325 | 0.001005 | 321 | 6401.5666 | 1206.8653 | 7608.4319 | 5019.8594 | 0.014124 | 0.00945 | 22000 | 4676767.128 | 777753.9 | 5454521.028 | 8625923.328 | 4636858.839 | 4641878.6984
22 | 2046 | 90 | 90 | 30 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2879469.09 | 401291.91 | 3280761 | 0.001325 | 0.001005 | 326 | 6725.4615 | 1267.9281 | 7993.3896 | 5170.4364 | 0.014124 | 0.00945 | 22000 | 4838034.96 | 804573 | 5642607.96 | 8923368.96 | 4657039.3428 | 4662209.7793
23 | 2047 | 90 | 90 | 30 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2879469.09 | 401291.91 | 3280761 | 0.001325 | 0.001005 | 331 | 6828.6128 | 1287.3748 | 8115.9876 | 5146.8016 | 0.014124 | 0.00945 | 22000 | 4838034.96 | 804573 | 5642607.96 | 8923368.96 | 4521397.4202 | 4526544.2218
24 | 2049 | 90 | 90 | 30 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2879469.09 | 401291.91 | 3280761 | 0.001325 | 0.001005 | 336 | 6931.764 | 1306.8216 | 8238.5856 | 5122.1057 | 0.014124 | 0.00945 | 22000 | 4838034.96 | 804573 | 5642607.96 | 8923368.96 | 4389706.2332 | 4394828.3389
25 | 2050 | 90 | 90 | 30 | 173 | 43 | 0.000173 | 9.7e-05 | 1069000 | 2879469.09 | 401291.91 | 3280761 | 0.001325 | 0.001005 | 340 | 7014.285 | 1322.379 | 8336.664 | 5081.4541 | 0.014124 | 0.00945 | 22000 | 4838034.96 | 804573 | 5642607.96 | 8923368.96 | 4261850.7119 | 4266932.1659
26 | 2051
27 | 2052
28 | 2053
29 | 2054
30 | 2055 | [10 empty] | 51836023.8 | [6 empty] | 84039.8881 | [5 empty] | 89153205.768 |  |  |  | 36729940.3448 | 21355755.4716 | 34623.3212
TOTAL | [26 empty] | 87294539.2997 | 87378579.1878
Tug Boat Nautical Mileage calculation into hours traveled. https://rechneronline.de/ship/#google_vignette
https://ww2.arb.ca.gov/sites/default/files/2020-12/hybridreport1010_remediated.pdf
Dirigo Atlantic Floating Offshore Wind Port
Build - Emissions Tug Boat Trips Sears Island, Maine
Year | Calendar Year | Tugboats to WEA 100% load (each turbine requires 3 tugboats) | Tugboats back from WEA 75% load (each turbine requires 3 tugboats) | Turbines Installed per Year | Tugboat Hours from Sears Island, Maine to WEA at 3 knots; 110 NM from Sears Island, Maine to WEA | Tugboat Hours from WEA to Sears Island, Maine at 12 knots; 110 NM from WEA to Sears Island, Maine | Metric Tons of PM 2.5 emitted at 100% load = 173 grams/hour = .000173 MT/hour | Metric Tons of PM 2.5 emitted at 75% load = 97 grams/hour = .000094 MT/hour | BCA Value Provided per MT | Total value of PM2.5 emitted at 100% load | Total value of PM2.5 emitted at 75% load | Total value of PM2.5 emitted | Metric Tons of CO2 emitted at 100% load = 1325 grams/hour = .001325 MT/hour | Metric Tons of CO2 emitted at 75% load = 402 grams/hour = .001005 MT/hour | BCA Value Provided per MT of Co2 | Total value of CO2 emitted at 100% load | Total value of CO2 emitted at 75% load | Total value of CO2 emitted | CO2 Discounted at 2% per BCA guidance | Metric Tons of NOx emitted at 100% load = 14,124 grams/hour = .014124 MT/hour | Metric Tons of NOx emitted at 75% load = 9,450 grams/hour = .009450 MT/hour | NOx Value per BCA Guidance | Total value of NOx emitted at 100% load | Total value NOX emitted at 75% load | Total value of NOx emitted | PM2.5 and NOx Total | 3% NPV | Total Costs with CO2 Costs
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030 | 45 | 45 | 15 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 299597.94 | 55994.22 | 355592.16 | 0.001325 | 0.001005 | 257 | 551.6505 | 139.4739 | 691.1244 | 613.6987 | 0.014124 | 0.00945 | 22000 | 503379.36 | 112266 | 615645.36 | 971237.52 | 813396.1325 | 814009.8312
7 | 2031 | 48 | 48 | 16 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 319571.136 | 59727.168 | 379298.304 | 0.001325 | 0.001005 | 262 | 599.8752 | 151.6666 | 751.5418 | 654.2623 | 0.014124 | 0.00945 | 22000 | 536937.984 | 119750.4 | 656688.384 | 1035986.688 | 842351.9819 | 843006.2442
8 | 2032 | 51 | 51 | 17 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 339544.332 | 63460.116 | 403004.448 | 0.001325 | 0.001005 | 265 | 644.6655 | 162.9909 | 807.6564 | 689.327 | 0.014124 | 0.00945 | 22000 | 570496.608 | 127234.8 | 697731.408 | 1100735.856 | 868931.0493 | 869620.3762
9 | 2033 | 54 | 54 | 18 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 359517.528 | 67193.064 | 426710.592 | 0.001325 | 0.001005 | 270 | 695.466 | 175.8348 | 871.3008 | 729.0655 | 0.014124 | 0.00945 | 22000 | 604055.232 | 134719.2 | 738774.432 | 1165485.024 | 893247.2237 | 893976.2892
10 | 2034 | 57 | 57 | 19 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 379490.724 | 70926.012 | 450416.736 | 0.001325 | 0.001005 | 274 | 744.9786 | 188.3531 | 933.3317 | 765.6571 | 0.014124 | 0.00945 | 22000 | 637613.856 | 142203.6 | 779817.456 | 1230234.192 | 915409.7762 | 916175.4332
11 | 2035 | 60 | 60 | 20 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 399463.92 | 74658.96 | 474122.88 | 0.001325 | 0.001005 | 278 | 795.636 | 201.1608 | 996.7968 | 801.6868 | 0.014124 | 0.00945 | 22000 | 671172.48 | 149688 | 820860.48 | 1294983.36 | 935523.5321 | 936325.2189
12 | 2036 | 63 | 63 | 21 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 419437.116 | 78391.908 | 497829.024 | 0.001325 | 0.001005 | 282 | 847.4382 | 214.258 | 1061.6962 | 837.1402 | 0.014124 | 0.00945 | 22000 | 704731.104 | 157172.4 | 861903.504 | 1359732.528 | 953689.0376 | 954526.1778
13 | 2037 | 66 | 66 | 22 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 439410.312 | 82124.856 | 521535.168 | 0.001325 | 0.001005 | 287 | 903.5334 | 228.4405 | 1131.9739 | 875.0527 | 0.014124 | 0.00945 | 22000 | 738289.728 | 164656.8 | 902946.528 | 1424481.696 | 970002.7197 | 970877.7723
14 | 2038 | 69 | 69 | 23 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 459383.508 | 85857.804 | 545241.312 | 0.001325 | 0.001005 | 290 | 954.477 | 241.3206 | 1195.7976 | 906.2651 | 0.014124 | 0.00945 | 22000 | 771848.352 | 172141.2 | 943989.552 | 1489230.864 | 984557.0412 | 985463.3063
15 | 2039 | 72 | 72 | 24 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 479356.704 | 89590.752 | 568947.456 | 0.001325 | 0.001005 | 294 | 1009.7136 | 255.2861 | 1264.9997 | 939.9134 | 0.014124 | 0.00945 | 22000 | 805406.976 | 179625.6 | 985032.576 | 1553980.032 | 997440.6496 | 998380.563
16 | 2040 | 72 | 72 | 24 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 479356.704 | 89590.752 | 568947.456 | 0.001325 | 0.001005 | 299 | 1026.8856 | 259.6277 | 1286.5133 | 937.1552 | 0.014124 | 0.00945 | 22000 | 805406.976 | 179625.6 | 985032.576 | 1553980.032 | 968388.9802 | 969326.1354
17 | 2041 | 75 | 75 | 25 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 499329.9 | 93323.7 | 592653.6 | 0.001325 | 0.001005 | 303 | 1083.9825 | 274.0635 | 1358.046 | 969.8656 | 0.014124 | 0.00945 | 22000 | 838965.6 | 187110 | 1026075.6 | 1618729.2 | 979357.7874 | 980327.653
18 | 2042 | 78 | 78 | 26 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 519303.096 | 97056.648 | 616359.744 | 0.001325 | 0.001005 | 308 | 1145.9448 | 289.7294 | 1435.6742 | 1005.2008 | 0.014124 | 0.00945 | 22000 | 872524.224 | 194594.4 | 1067118.624 | 1683478.368 | 988866.1154 | 989871.3162
19 | 2043 | 81 | 81 | 27 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 539276.292 | 100789.596 | 640065.888 | 0.001325 | 0.001005 | 312 | 1205.4744 | 304.7803 | 1510.2547 | 1036.6853 | 0.014124 | 0.00945 | 22000 | 906082.848 | 202078.8 | 1108161.648 | 1748227.536 | 996989.7355 | 998026.4208
20 | 2044 | 84 | 84 | 28 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 559249.488 | 104522.544 | 663772.032 | 0.001325 | 0.001005 | 317 | 1270.1556 | 321.1337 | 1591.2893 | 1070.8921 | 0.014124 | 0.00945 | 22000 | 939641.472 | 209563.2 | 1149204.672 | 1812976.704 | 1003801.2439 | 1004872.136
21 | 2045 | 87 | 87 | 29 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 579222.684 | 108255.492 | 687478.176 | 0.001325 | 0.001005 | 321 | 1332.1179 | 336.7996 | 1668.9175 | 1101.1114 | 0.014124 | 0.00945 | 22000 | 973200.096 | 217047.6 | 1190247.696 | 1877725.872 | 1009370.1828 | 1010471.2943
22 | 2046 | 90 | 90 | 30 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 599195.88 | 111988.44 | 711184.32 | 0.001325 | 0.001005 | 326 | 1399.518 | 353.8404 | 1753.3584 | 1134.1407 | 0.014124 | 0.00945 | 22000 | 1006758.72 | 224532 | 1231290.72 | 1942475.04 | 1013763.1565 | 1014897.2972
23 | 2047 | 90 | 90 | 30 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 599195.88 | 111988.44 | 711184.32 | 0.001325 | 0.001005 | 331 | 1420.983 | 359.2674 | 1780.2504 | 1128.9563 | 0.014124 | 0.00945 | 22000 | 1006758.72 | 224532 | 1231290.72 | 1942475.04 | 984236.0743 | 985365.0306
24 | 2049 | 90 | 90 | 30 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 599195.88 | 111988.44 | 711184.32 | 0.001325 | 0.001005 | 336 | 1442.448 | 364.6944 | 1807.1424 | 1123.5393 | 0.014124 | 0.00945 | 22000 | 1006758.72 | 224532 | 1231290.72 | 1942475.04 | 955569.0042 | 956692.5434
25 | 2050 | 90 | 90 | 30 | 36 | 12 | 0.000173 | 9.7e-05 | 1069000 | 599195.88 | 111988.44 | 711184.32 | 0.001325 | 0.001005 | 340 | 1459.62 | 369.036 | 1828.656 | 1114.6223 | 0.014124 | 0.00945 | 22000 | 1006758.72 | 224532 | 1231290.72 | 1942475.04 | 927736.8973 | 928851.5195
26 | 2051
27 | 2052
28 | 2053
29 | 2054
30 | 2055
TOTAL | [26 empty] | 19002628.321 | 19002628.321
[27 empty] | Total Savings | 68375950.8668

## Travel Time Tugboat
Dirigo Atlantic Floating Offshore Wind Port
No Build - Travel Time for Tugboat Trips from Salem County, New Jersey to the WEA
Year | Calendar Year | Tugboats (Each turbine requires 3 tugboats) | Turbines Installed per Year | Tugboat Hours from Salem County, New Jersey to WEA at 3 knots; 520 NM from Salem County, New Jersey to WEA | Tugboat Hours from Salem County, New Jersey to WEA at 12 knots; 520 NM from WEA to Salem County, New Jersey | Number of Seamen (non Captain) on Tugboat | Tugboat Captain | Average Salary of Tugboat Seamen | Average Salary of Tugboat Captain | Cost of Seamen going to WEA | Cost of Seamen going back to port | Cost of Captain going to WEA | Cost of Captain going back to port | Operator Costs in Salaries | Gallons Diesel Fuel Needed | Fuel Cost/Gallon | Total Fuel Costs | Total Opearting Costs | 3% NPV
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030 | 45 | 15 | 173 | 43 | 6 | 1 | 38 | 50 | 1774980 | 441180 | 389250 | 96750 | 2702160 | 45000 | 4.299 | 8705475 | 11407635 | 9553714.7185
7 | 2031 | 48 | 16 | 173 | 43 | 6 | 1 | 38 | 50 | 1893312 | 470592 | 415200 | 103200 | 2882304 | 45000 | 4.299 | 9285840 | 12168144 | 9893814.5952
8 | 2032 | 51 | 17 | 173 | 43 | 6 | 1 | 38 | 50 | 2011644 | 500004 | 441150 | 109650 | 3062448 | 45000 | 4.299 | 9866205 | 12928653 | 10205998.0654
9 | 2033 | 54 | 18 | 173 | 43 | 6 | 1 | 38 | 50 | 2129976 | 529416 | 467100 | 116100 | 3242592 | 45000 | 4.299 | 10446570 | 13689162 | 10491602.8086
10 | 2034 | 57 | 19 | 173 | 43 | 6 | 1 | 38 | 50 | 2248308 | 558828 | 493050 | 122550 | 3422736 | 45000 | 4.299 | 11026935 | 14449671 | 10751912.2634
11 | 2035 | 60 | 20 | 173 | 43 | 6 | 1 | 38 | 50 | 2366640 | 588240 | 519000 | 129000 | 3602880 | 45000 | 4.299 | 11607300 | 15210180 | 10988157.6529
12 | 2036 | 63 | 21 | 173 | 43 | 6 | 1 | 38 | 50 | 2484972 | 617652 | 544950 | 135450 | 3783024 | 45000 | 4.299 | 12187665 | 15970689 | 11201519.9374
13 | 2037 | 66 | 22 | 173 | 43 | 6 | 1 | 38 | 50 | 2603304 | 647064 | 570900 | 141900 | 3963168 | 45000 | 4.299 | 12768030 | 16731198 | 11393131.6978
14 | 2038 | 69 | 23 | 173 | 43 | 6 | 1 | 38 | 50 | 2721636 | 676476 | 596850 | 148350 | 4143312 | 45000 | 4.299 | 13348395 | 17491707 | 11564078.9519
15 | 2039 | 72 | 24 | 173 | 43 | 6 | 1 | 38 | 50 | 2839968 | 705888 | 622800 | 154800 | 4323456 | 45000 | 4.299 | 13928760 | 18252216 | 11715402.9061
16 | 2040 | 72 | 24 | 173 | 43 | 6 | 1 | 38 | 50 | 2839968 | 705888 | 622800 | 154800 | 4323456 | 45000 | 4.299 | 13928760 | 18252216 | 11374177.5787
17 | 2041 | 75 | 25 | 173 | 43 | 6 | 1 | 38 | 50 | 2958300 | 735300 | 648750 | 161250 | 4503600 | 45000 | 4.299 | 14509125 | 19012725 | 11503011.3053
18 | 2042 | 78 | 26 | 173 | 43 | 6 | 1 | 38 | 50 | 3076632 | 764712 | 674700 | 167700 | 4683744 | 45000 | 4.299 | 15089490 | 19773234 | 11614691.0267
19 | 2043 | 81 | 27 | 173 | 43 | 6 | 1 | 38 | 50 | 3194964 | 794124 | 700650 | 174150 | 4863888 | 45000 | 4.299 | 15669855 | 20533743 | 11710106.711
20 | 2044 | 84 | 28 | 173 | 43 | 6 | 1 | 38 | 50 | 3313296 | 823536 | 726600 | 180600 | 5044032 | 45000 | 4.299 | 16250220 | 21294252 | 11790111.0359
21 | 2045 | 87 | 29 | 173 | 43 | 6 | 1 | 38 | 50 | 3431628 | 852948 | 752550 | 187050 | 5224176 | 45000 | 4.299 | 16830585 | 22054761 | 11855520.8059
22 | 2046 | 90 | 30 | 173 | 43 | 6 | 1 | 38 | 50 | 3549960 | 882360 | 778500 | 193500 | 5404320 | 45000 | 4.299 | 17410950 | 22815270 | 11907118.3186
23 | 2047 | 90 | 30 | 173 | 43 | 6 | 1 | 38 | 50 | 3549960 | 882360 | 778500 | 193500 | 5404320 | 45000 | 4.299 | 17410950 | 22815270 | 11560309.0472
24 | 2049 | 90 | 30 | 173 | 43 | 6 | 1 | 38 | 50 | 3549960 | 882360 | 778500 | 193500 | 5404320 | 45000 | 4.299 | 17410950 | 22815270 | 11223601.0167
25 | 2050 | 90 | 30 | 173 | 43 | 6 | 1 | 38 | 50 | 3549960 | 882360 | 778500 | 193500 | 5404320 | 45000 | 4.299 | 17410950 | 22815270 | 10896700.0162
26 | 2051
27 | 2052
28 | 2053
29 | 2054
30 | 2055
TOTAL | [18 empty] | 223194680.4594
Dirigo Atlantic Floating Offshore Wind Port
Build - Travel Time for Tug Boat Trips from Sears Island, Maine to the WEA
Year | Calendar Year | Tugboats (Each turbine requires 3 tugboats) | Turbines Installed per Year | Tugboat Hours from Sears Island, Maine to WEA at 3 knots; 110 NM from Sears Island, Maine to WEA | Tugboat Hours from Sears Island, Maine to WEA at 12 knots; 110 NM form WEA to Sears Island, Maine | Number of Operators (non Captain) on Tugboat | Tugboat Captain | Average Salary of Tugboat Workers | Average Salary of Tugboat Captain | Cost of Seamen going to WEA | Cost of Seamen going back to port | Cost of Captain going to WEA | Cost of Captain going back to port | Operator Costs in Salaries | Gallons Diesel Fuel Needed | Fuel Cost/Gallon | Total Fuel Costs | Total Opearting Costs | 3% NPV
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030 | 45 | 15 | 36 | 9 | 6 | 1 | 38 | 50 | 369360 | 92340 | 81000 | 20250 | 562950 | 9375 | 4.299 | 1813640.625 | 2376590.625 | 1990357.233
7 | 2031 | 48 | 16 | 36 | 9 | 6 | 1 | 38 | 50 | 393984 | 98496 | 86400 | 108000 | 686880 | 9375 | 4.299 | 1934550 | 2621430 | 2131462.4806
8 | 2032 | 51 | 17 | 36 | 9 | 6 | 1 | 38 | 50 | 418608 | 104652 | 91800 | 114750 | 729810 | 9375 | 4.299 | 2055459.375 | 2785269.375 | 2198717.3647
9 | 2033 | 54 | 18 | 36 | 9 | 6 | 1 | 38 | 50 | 443232 | 110808 | 97200 | 121500 | 772740 | 9375 | 4.299 | 2176368.75 | 2949108.75 | 2260246.2915
10 | 2034 | 57 | 19 | 36 | 9 | 6 | 1 | 38 | 50 | 467856 | 116964 | 102600 | 128250 | 815670 | 9375 | 4.299 | 2297278.125 | 3112948.125 | 2316325.7572
11 | 2035 | 60 | 20 | 36 | 9 | 6 | 1 | 38 | 50 | 492480 | 123120 | 108000 | 135000 | 858600 | 9375 | 4.299 | 2418187.5 | 3276787.5 | 2367221.0089
12 | 2036 | 63 | 21 | 36 | 9 | 6 | 1 | 38 | 50 | 517104 | 129276 | 113400 | 141750 | 901530 | 9375 | 4.299 | 2539096.875 | 3440626.875 | 2413186.4654
13 | 2037 | 66 | 22 | 36 | 9 | 6 | 1 | 38 | 50 | 541728 | 135432 | 118800 | 148500 | 944460 | 9375 | 4.299 | 2660006.25 | 3604466.25 | 2454466.1229
14 | 2038 | 69 | 23 | 36 | 9 | 6 | 1 | 38 | 50 | 566352 | 141588 | 124200 | 155250 | 987390 | 9375 | 4.299 | 2780915.625 | 3768305.625 | 2491293.9465
15 | 2039 | 72 | 24 | 36 | 9 | 6 | 1 | 38 | 50 | 590976 | 147744 | 129600 | 162000 | 1030320 | 9375 | 4.299 | 2901825 | 3932145 | 2523894.2471
16 | 2040 | 72 | 24 | 36 | 9 | 6 | 1 | 38 | 50 | 590976 | 147744 | 129600 | 162000 | 1030320 | 9375 | 4.299 | 2901825 | 3932145 | 2450382.7642
17 | 2041 | 75 | 25 | 36 | 9 | 6 | 1 | 38 | 50 | 615600 | 153900 | 135000 | 168750 | 1073250 | 9375 | 4.299 | 3022734.375 | 4095984.375 | 2478137.9088
18 | 2042 | 78 | 26 | 36 | 9 | 6 | 1 | 38 | 50 | 640224 | 160056 | 140400 | 175500 | 1116180 | 9375 | 4.299 | 3143643.75 | 4259823.75 | 2502197.5001
19 | 2043 | 81 | 27 | 36 | 9 | 6 | 1 | 38 | 50 | 664848 | 166212 | 145800 | 182250 | 1159110 | 9375 | 4.299 | 3264553.125 | 4423663.125 | 2522753.2675
20 | 2044 | 84 | 28 | 36 | 9 | 6 | 1 | 38 | 50 | 689472 | 172368 | 151200 | 189000 | 1202040 | 9375 | 4.299 | 3385462.5 | 4587502.5 | 2539988.9065
21 | 2045 | 87 | 29 | 36 | 9 | 6 | 1 | 38 | 50 | 714096 | 178524 | 156600 | 195750 | 1244970 | 9375 | 4.299 | 3506371.875 | 4751341.875 | 2554080.3845
22 | 2046 | 90 | 30 | 36 | 9 | 6 | 1 | 38 | 50 | 738720 | 184680 | 162000 | 202500 | 1287900 | 9375 | 4.299 | 3627281.25 | 4915181.25 | 2565196.2349
23 | 2047 | 90 | 30 | 36 | 9 | 6 | 1 | 38 | 50 | 738720 | 184680 | 162000 | 202500 | 1287900 | 9375 | 4.299 | 3627281.25 | 4915181.25 | 2490481.7814
24 | 2049 | 90 | 30 | 36 | 9 | 6 | 1 | 38 | 50 | 738720 | 184680 | 162000 | 202500 | 1287900 | 9375 | 4.299 | 3627281.25 | 4915181.25 | 2417943.4771
25 | 2050 | 90 | 30 | 36 | 9 | 6 | 1 | 38 | 50 | 738720 | 184680 | 162000 | 202500 | 1287900 | 9375 | 4.299 | 3627281.25 | 4915181.25 | 2347517.9389
26 | 2051
27 | 2052
28 | 2053
29 | 2054
30 | 2055
TOTAL | [18 empty] | 48015851.0817
175178829.3777

## Wind Energy Emissions
Dirigo Atlantic Floating Offshore Wind Port
Build - Emissions Homes in Maine
Year | Calendar Year | Turbines Assembled and Delivered | MW per Turbine | MW/year | Cumulative MW/year | GWhr | Metric Tons of CO2 emitted to achieve 1 GWhr power with fossil fuels | BCA Value Provided per MT of Co2 | Total value of CO2 emitted | CO2 Discounted at 2% per BCA guidance | Metric Tons of NOx emitted to achieve 1 GWhr power with fossil fuels | NOx Value per BCA Guidance | Total value of NOx emitted | Metric Tons of SO2 emitted to achieve 1 GWhr power with fossil fuels | SO2 Value per BCA Guidance | Total value of SO2 emitted | Net Costs Minus CO2 | 3% NPV | Total Costs with CO2 Costs
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030 | 15 | 15 | 225 | 225 | 985.5 | 245.167 | 257 | 62094295.9558 | 55137957.8057 | 0.14016 | 21700 | 2997375.1259 | 0.055338 | 61500 | 3353959.6393 | 6351334.7652 | 5319142.8748 | 60457100.6805
7 | 2031 | 16 | 15 | 240 | 465 | 2036.7 | 245.167 | 262 | 130824869.456 | 113890921.7207 | 0.14016 | 22000 | 6280214.5494 | 0.055338 | 61500 | 6931516.5879 | 13211731.1373 | 10742346.4379 | 124633268.1586
8 | 2032 | 17 | 15 | 255 | 720 | 3153.6 | 245.167 | 265 | 204887015.4494 | 174869094.8679 | 0.14016 | 22000 | 9724203.1733 | 0.055338 | 61500 | 10732670.8458 | 20456874.0191 | 16148845.2559 | 191017940.1238
9 | 2033 | 18 | 15 | 270 | 990 | 4336.2 | 245.167 | 270 | 287035111.2663 | 240178140.8425 | 0.14016 | 22000 | 13370779.3633 | 0.055338 | 61500 | 14757422.4129 | 28128201.7763 | 21557924.4921 | 261736065.3345
10 | 2034 | 19 | 15 | 285 | 1275 | 5584.5 | 245.167 | 274 | 375142970.8975 | 307747898.3859 | 0.14016 | 22000 | 17219943.1194 | 0.055338 | 61500 | 19005771.2894 | 36225714.4088 | 26955333.6544 | 334703232.0403
11 | 2035 | 20 | 15 | 300 | 1575 | 6898.5 | 245.167 | 278 | 470177042.5289 | 378146017.1362 | 0.14016 | 22000 | 21271694.4417 | 0.055338 | 61500 | 23477717.4751 | 44749411.9168 | 32327927.284 | 410473944.4201
12 | 2036 | 21 | 15 | 315 | 1890 | 8278.2 | 245.167 | 282 | 572330615.7977 | 451278784.733 | 0.14016 | 22000 | 25526033.33 | 0.055338 | 61500 | 28173260.9701 | 53699294.3002 | 37663604.6027 | 488942389.3356
13 | 2037 | 22 | 15 | 330 | 2220 | 9723.6 | 245.167 | 287 | 684180885.867 | 528894077.8132 | 0.14016 | 22000 | 29982959.7845 | 0.055338 | 61500 | 33092401.7745 | 63075361.5589 | 42951251.9741 | 571845329.7873
14 | 2038 | 23 | 15 | 345 | 2565 | 11234.7 | 245.167 | 290 | 798769425.7967 | 605367398.2161 | 0.14016 | 22000 | 34642473.805 | 0.055338 | 61500 | 38235139.8881 | 72877613.6931 | 48180688.0581 | 653548086.2741
15 | 2039 | 24 | 15 | 360 | 2925 | 12811.5 | 245.167 | 294 | 923441241.8013 | 686130444.9373 | 0.14016 | 22000 | 39504575.3917 | 0.055338 | 61500 | 43601475.3109 | 83106050.7026 | 53342611.5444 | 739473056.4817
16 | 2040 | 24 | 20 | 480 | 3405 | 14913.9 | 245.167 | 299 | 1093262295.5657 | 796382342.4964 | 0.14016 | 22000 | 45987377.5072 | 0.055338 | 61500 | 50756589.2081 | 96743966.7154 | 60287641.626 | 856669984.1224
17 | 2041 | 25 | 20 | 500 | 3905 | 17103.9 | 245.167 | 303 | 1270573322.7722 | 907395899.9906 | 0.14016 | 22000 | 52740296.3776 | 0.055338 | 61500 | 58209832.851 | 110950129.2286 | 67126652.8519 | 974522552.8425
18 | 2042 | 26 | 20 | 520 | 4425 | 19381.5 | 245.167 | 308 | 1463524703.1234 | 1024700541.3857 | 0.14016 | 22000 | 59763332.0028 | 0.055338 | 61500 | 65961206.2396 | 125724538.2424 | 73849915.8086 | 1098550457.1943
19 | 2043 | 27 | 20 | 540 | 4965 | 21746.7 | 245.167 | 312 | 1663450617.8843 | 1141843671.4745 | 0.14016 | 22000 | 67056484.3828 | 0.055338 | 61500 | 74010709.374 | 141067193.7567 | 80448649.441 | 1222292320.9156
20 | 2044 | 28 | 20 | 560 | 5525 | 24199.5 | 245.167 | 317 | 1880735015.8984 | 1265680750.8722 | 0.14016 | 22000 | 74619753.5176 | 0.055338 | 61500 | 82358342.254 | 156978095.7716 | 86914965.5671 | 1352595716.4392
21 | 2045 | 29 | 20 | 580 | 6105 | 26739.9 | 245.167 | 321 | 2104392602.7841 | 1388427348.3121 | 0.14016 | 22000 | 82453139.4072 | 0.055338 | 61500 | 91004104.8798 | 173457244.287 | 93241816.0677 | 1481669164.3798
22 | 2046 | 30 | 20 | 600 | 6705 | 29367.9 | 245.167 | 326 | 2347212709.5373 | 1518268806.4451 | 0.14016 | 22000 | 90556642.0517 | 0.055338 | 61500 | 99947997.2512 | 190504639.3029 | 99422942.6355 | 1617691749.0806
23 | 2047 | 30 | 20 | 600 | 7305 | 31995.9 | 245.167 | 331 | 2596475804.1975 | 1646570496.3906 | 0.14016 | 22000 | 98660144.6961 | 0.055338 | 61500 | 108891889.6227 | 207552034.3188 | 105164903.1592 | 1751735399.5497
24 | 2049 | 30 | 20 | 600 | 7305 | 31995.9 | 245.167 | 336 | 2635697493.0827 | 1638669767.1561 | 0.14016 | 22000 | 98660144.6961 | 0.055338 | 61500 | 108891889.6227 | 207552034.3188 | 102101847.7273 | 1740771614.8834
25 | 2050 | 30 | 20 | 600 | 7305 | 31995.9 | 245.167 | 340 | 2667074844.1908 | 1625664451.5437 | 0.14016 | 22000 | 98660144.6961 | 0.055338 | 61500 | 108891889.6227 | 207552034.3188 | 99128007.5023 | 1724792459.046
26 | 2051 | 30 | 20 | 600 | 7305 | 31995.9 | 245 | 345 | 2704453447.5 | 1616125357.0175 | 0.14016 | 22000 | 98660144.6851 | 0.055338 | 61500 | 108891889.7188 | 207552034.404 | 96240784.0223 | 1712366141.0398
27 | 2052 | 30 | 20 | 600 | 7305 | 31995.9 | 245 | 349 | 2735809429.5 | 1602806904.2317 | 0.14016 | 22000 | 98660144.6851 | 0.055338 | 61500 | 108891889.7188 | 207552034.404 | 93437654.3905 | 1696244558.6222
28 | 2053 | 30 | 20 | 600 | 7305 | 31995.9 | 245 | 353 | 2767165411.5 | 1589389396.016 | 0.14016 | 22000 | 98660144.6851 | 0.055338 | 61500 | 108891889.7188 | 207552034.404 | 90716169.3112 | 1680105565.3272
29 | 2054 | 30 | 20 | 600 | 7305 | 31995.9 | 245 | 357 | 2798521393.5 | 1575881837.4096 | 0.14016 | 22000 | 98660144.6851 | 0.055338 | 61500 | 108891889.7188 | 207552034.404 | 88073950.7876 | 1663955788.1972
30 | 2055 | 30 | 20 | 600 | 7305 | 31995.9 | 245 | 357 | 2798521393.5 | 1544982193.5389 | 0.14016 | 22000 | 98660144.6851 | 0.055338 | 61500 | 108891889.7188 | 207552034.404 | 85508690.085 | 1630490883.6239
31 | 2056
32 | 2057
33 | 2058
34 | 2059 | [19 empty] | CO2 | Nox | SO2
35 | 2060 | [20 empty] | 519918247.0958 | 573853648.4629
TOTAL | [9 empty] | 24424430500.739 |  |  | 1462978434.8454 |  |  | 1614745235.7139 |  | 1616854267.1615 | 26041284767.9005
Dirigo Atlantic Floating Offshore Wind Port
Delayed Build - Emissions Homes in Maine
Year | Calendar Year | Turbines Assembled and Delivered | MW per Turbine | MW/year | Total MW/year | GWhr | Metric Tons of CO2 emitted to achieve 1 GWhr power with fossil fuels | BCA Value Provided per MT of Co2 | Total value of CO2 emitted to achieve the GWhrs power | CO2 Discounted at 2% per BCA guidance | Metric Tons of NOx emitted to achieve 1 GWhr power with fossil fuels | NOx Value per BCA Guidance | Total value of NOx emitted | Metric Tons of SO2 emitted to achieve 1 GWhr power with fossil fuels | SO2 Value per BCA Guidance | Total value of SO2 emitted | Net Costs Minus CO2 | 3% NPV | Total Costs with CO2 Costs
1 | 2025
2 | 2026
3 | 2027
4 | 2028
5 | 2029
6 | 2030
7 | 2031
8 | 2032
9 | 2033
10 | 2034
11 | 2035 | 15 | 15 | 225 | 225 | 985.5 | 245.167 | 278 | 67168148.9327 | 54020859.5909 | 0.14016 | 22000 | 3038813.4917 | 0.055338 | 61500 | 3353959.6393 | 6392773.131 | 4618275.3263 | 58639134.9172
12 | 2036 | 16 | 15 | 240 | 465 | 2036.7 | 245.167 | 282 | 140811500.7121 | 111028907.3549 | 0.14016 | 22000 | 6280214.5494 | 0.055338 | 61500 | 6931516.5879 | 13211731.1373 | 9266442.4022 | 120295349.7572
13 | 2037 | 17 | 15 | 255 | 720 | 3153.6 | 245.167 | 287 | 221896503.5244 | 171533214.4259 | 0.14016 | 22000 | 9724203.1733 | 0.055338 | 61500 | 10732670.8458 | 20456874.0191 | 13930135.7754 | 185463350.2013
14 | 2038 | 18 | 15 | 270 | 990 | 4336.2 | 245.167 | 290 | 308296971.3601 | 233650574.7501 | 0.14016 | 22000 | 13370779.3633 | 0.055338 | 61500 | 14757422.4129 | 28128201.7763 | 18596055.04 | 252246629.79
15 | 2039 | 19 | 15 | 285 | 1275 | 5584.5 | 245.167 | 294 | 402525669.5031 | 299082501.6393 | 0.14016 | 22000 | 17219943.1194 | 0.055338 | 61500 | 19005771.2894 | 36225714.4088 | 23251907.5963 | 322334409.2356
16 | 2040 | 20 | 20 | 400 | 1675 | 7336.5 | 245.167 | 299 | 537801569.7717 | 391759302.1091 | 0.14016 | 22000 | 22622278.2157 | 0.055338 | 61500 | 24968366.2037 | 47590644.4194 | 29656916.2184 | 421416218.3275
17 | 2041 | 21 | 20 | 420 | 2095 | 9176.1 | 245.167 | 303 | 681652013.1134 | 486810348.3944 | 0.14016 | 22000 | 28294730.0669 | 0.055338 | 61500 | 31229090.8637 | 59523820.9306 | 36012890.5825 | 522823238.977
18 | 2042 | 22 | 20 | 440 | 2535 | 11103.3 | 245.167 | 308 | 838426016.3656 | 587031835.5735 | 0.14016 | 22000 | 34237298.6728 | 0.055338 | 61500 | 37787945.2695 | 72025243.9423 | 42307239.9039 | 629339075.4774
19 | 2043 | 23 | 20 | 460 | 2995 | 13118.1 | 245.167 | 312 | 1003430936.6694 | 688785860.2349 | 0.14016 | 22000 | 40449984.0335 | 0.055338 | 61500 | 44644929.4209 | 85094913.4545 | 48528440.0959 | 737314300.3307
20 | 2044 | 24 | 20 | 480 | 3475 | 15220.5 | 245.167 | 317 | 1182905733.9814 | 796061648.7386 | 0.14016 | 22000 | 46932786.1491 | 0.055338 | 61500 | 51800043.3181 | 98732829.4672 | 54665973.8182 | 850727622.5568
21 | 2045 | 24 | 20 | 480 | 3955 | 17322.9 | 245.167 | 321 | 1363287918.757 | 899464400.0941 | 0.14016 | 22000 | 53415588.2646 | 0.055338 | 61500 | 58955157.2153 | 112370745.4799 | 60404812.8661 | 959869212.9602
22 | 2046 | 25 | 20 | 500 | 4455 | 19512.9 | 245.167 | 326 | 1559557437.8805 | 1008782629.7857 | 0.14016 | 22000 | 60168507.135 | 0.055338 | 61500 | 66408400.8582 | 126576907.9932 | 66059539.0666 | 1074842168.8522
23 | 2047 | 26 | 20 | 520 | 4975 | 21790.5 | 245.167 | 331 | 1768304876.9176 | 1121381001.9908 | 0.14016 | 22000 | 67191542.7602 | 0.055338 | 61500 | 74159774.2468 | 141351317.007 | 71621545.9571 | 1193002547.948
24 | 2049 | 27 | 20 | 540 | 5515 | 24155.7 | 245.167 | 336 | 1989852385.2637 | 1237133985.7448 | 0.14016 | 22000 | 74484695.1402 | 0.055338 | 61500 | 82209277.3811 | 156693972.5213 | 77083051.3643 | 1314217037.1091
25 | 2050 | 28 | 20 | 560 | 6075 | 26608.5 | 245.167 | 340 | 2217998587.0581 | 1351938609.6 | 0.14016 | 22000 | 82047964.275 | 0.055338 | 61500 | 90556910.2612 | 172604874.5362 | 82437049.3602 | 1434375658.9602
26 | 2051 | 28 | 20 | 560 | 6635 | 29061.3 | 245.167 | 340 | 2422456069.9803 | 1447609565.8349 | 0.14016 | 22000 | 89611233.4098 | 0.055338 | 61500 | 98904543.1412 | 188515776.5511 | 87413771.6257 | 1535023337.4606
27 | 2052 | 28 | 20 | 560 | 7195 | 31514.1 | 245 | 340 | 2625124530 | 1537960822.7759 | 0.14016 | 22000 | 97174502.5338 | 0.055338 | 61500 | 107252176.1159 | 204426678.6498 | 92030653.4346 | 1629991476.2105
28 | 2053 | 28 | 20 | 560 | 7755 | 33966.9 | 245 | 340 | 2829442770 | 1625159925.9599 | 0.14016 | 22000 | 104737771.6678 | 0.055338 | 61500 | 115599809.0034 | 220337580.6712 | 96304434.3612 | 1721464360.3211
29 | 2054 | 28 | 20 | 560 | 8315 | 36419.7 | 245 | 340 | 3033761010 | 1708348160.4982 | 0.14016 | 22000 | 112301040.8018 | 0.055338 | 61500 | 123947441.8908 | 236248482.6926 | 100251184.2298 | 1808599344.728
30 | 2055 | 28 | 20 | 560 | 8875 | 38872.5 | 245 | 340 | 3238079250 | 1787649290.1349 | 0.14016 | 22000 | 119864309.9358 | 0.055338 | 61500 | 132295074.7782 | 252159384.7139 | 103886327.7898 | 1891535617.9247 | NOx | CO2 | SO2
TOTAL | [9 empty] | 17545193445.2308 |  |  | 1083168186.7594 |  |  | 1195500280.7434 | 2278668467.5027 | 1118326646.8145 | 18663520092.0453 | 446250951.2737 | 6879237055.5082 | 492530286.6638
[17 empty] | Total Savings |  | 7377764675.8552
18663520092.0453

## Residual Value
Dirigo Atlantic Floating Offshore Wind Port
Residual Value
Project Year | Asset | Cost of Asset | Life of Asset in Years | Annualized Value | Value Over Life of Project | Residual Value | Year
| Barge | 170000000 | 30 | 5666666.6667 | 170000000 | 0
30 | Port | 590000000 | 50 | 11800000 | 354000000 | 236000000 | 97228875.2458
[5 empty] | Total | 236000000 | 97228875.2458

## Scrap Value Barge
Dirigo Atlantic Floating Offshore Wind Port
Scrap Barge
Project Year | Asset | Original Cost | Scrap Percentage | Scrap Value at end of 30 year life | 3% NPV
30 | Barge | 170000000 | 0.05 | 8500000 | 3501887.4559

## MT Per GW Emissions
Year | CO2e | SO2 | NOx | OS-NOx | Year | C02e | SO2 | NOx | OS-NOx
| lbs/MWh | lbs/MWh | lbs/MWh | lbs/MWh |  | t/GWh | t/GWh | t/GWh | t/GWh
2022 | 540.5 | 0.122 | 0.309 | 0.283 | 2022 | 245.167 | 0.055338 | 0.14016 | 0.12837
2023 | 540.5 | 0.122 | 0.309 | 0.283 | 2023 | 245.167 | 0.055338 | 0.14016 | 0.12837
2024 | 540.5 | 0.122 | 0.309 | 0.283 | 2024 | 245.167 | 0.055338 | 0.14016 | 0.12837
2025 | 540.5 | 0.122 | 0.309 | 0.283 | 2025 | 245.167 | 0.055338 | 0.14016 | 0.12837
2026 | 540.5 | 0.122 | 0.309 | 0.283 | 2026 | 245.167 | 0.055338 | 0.14016 | 0.12837
2027 | 540.5 | 0.122 | 0.309 | 0.283 | 2027 | 245.167 | 0.055338 | 0.14016 | 0.12837
2028 | 540.5 | 0.122 | 0.309 | 0.283 | 2028 | 245.167 | 0.055338 | 0.14016 | 0.12837
2029 | 540.5 | 0.122 | 0.309 | 0.283 | 2029 | 245.167 | 0.055338 | 0.14016 | 0.12837
2030 | 540.5 | 0.122 | 0.309 | 0.283 | 2030 | 245.167 | 0.055338 | 0.14016 | 0.12837
2031 | 540.5 | 0.122 | 0.309 | 0.283 | 2031 | 245.167 | 0.055338 | 0.14016 | 0.12837
2032 | 540.5 | 0.122 | 0.309 | 0.283 | 2032 | 245.167 | 0.055338 | 0.14016 | 0.12837
2033 | 540.5 | 0.122 | 0.309 | 0.283 | 2033 | 245.167 | 0.055338 | 0.14016 | 0.12837
2034 | 540.5 | 0.122 | 0.309 | 0.283 | 2034 | 245.167 | 0.055338 | 0.14016 | 0.12837
2035 | 540.5 | 0.122 | 0.309 | 0.283 | 2035 | 245.167 | 0.055338 | 0.14016 | 0.12837
2036 | 540.5 | 0.122 | 0.309 | 0.283 | 2036 | 245.167 | 0.055338 | 0.14016 | 0.12837
2037 | 540.5 | 0.122 | 0.309 | 0.283 | 2037 | 245.167 | 0.055338 | 0.14016 | 0.12837
2038 | 540.5 | 0.122 | 0.309 | 0.283 | 2038 | 245.167 | 0.055338 | 0.14016 | 0.12837
2039 | 540.5 | 0.122 | 0.309 | 0.283 | 2039 | 245.167 | 0.055338 | 0.14016 | 0.12837
2040 | 540.5 | 0.122 | 0.309 | 0.283 | 2040 | 245.167 | 0.055338 | 0.14016 | 0.12837
2041 | 540.5 | 0.122 | 0.309 | 0.283 | 2041 | 245.167 | 0.055338 | 0.14016 | 0.12837
2042 | 540.5 | 0.122 | 0.309 | 0.283 | 2042 | 245.167 | 0.055338 | 0.14016 | 0.12837
2043 | 540.5 | 0.122 | 0.309 | 0.283 | 2043 | 245.167 | 0.055338 | 0.14016 | 0.12837
2044 | 540.5 | 0.122 | 0.309 | 0.283 | 2044 | 245.167 | 0.055338 | 0.14016 | 0.12837
2045 | 540.5 | 0.122 | 0.309 | 0.283 | 2045 | 245.167 | 0.055338 | 0.14016 | 0.12837
2046 | 540.5 | 0.122 | 0.309 | 0.283 | 2046 | 245.167 | 0.055338 | 0.14016 | 0.12837
2047 | 540.5 | 0.122 | 0.309 | 0.283 | 2047 | 245.167 | 0.055338 | 0.14016 | 0.12837
2048 | 540.5 | 0.122 | 0.309 | 0.283 | 2048 | 245.167 | 0.055338 | 0.14016 | 0.12837
2049 | 540.5 | 0.122 | 0.309 | 0.283 | 2049 | 245.167 | 0.055338 | 0.14016 | 0.12837
2050 | 540.5 | 0.122 | 0.309 | 0.283 | 2050 | 245.167 | 0.055338 | 0.14016 | 0.12837

## Turbines and MW
Year | FOWTs | MW/FOWT | MW/y | Total MW
2025 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | FOWT - Floating Offshore Wind Turbines
2027 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0
2035 | 15 | 15 | 225 | 225
2036 | 16 | 15 | 240 | 465
2037 | 17 | 15 | 255 | 720
2038 | 18 | 15 | 270 | 990
2039 | 19 | 15 | 285 | 1275
2040 | 19 | 20 | 380 | 1655
2041 | 20 | 20 | 400 | 2055
2042 | 21 | 20 | 420 | 2475
2043 | 22 | 20 | 440 | 2915
2044 | 23 | 20 | 460 | 3375
2045 | 24 | 20 | 480 | 3855
2046 | 25 | 20 | 500 | 4355
2047 | 26 | 20 | 520 | 4875
2048 | 27 | 20 | 540 | 5415
2049 | 28 | 20 | 560 | 5975

## Benefit Cost Ratio
This BCA is based on the assumption that the Maine WEA will be developed but from ports far away shifting from Sears Island (110 nm) to NJ Port (520 nm) from which to deploy the turbines. With each year that goes by and the port is not built the social cost to not using renewable energy goes up. |  |  |  | 1. SENSITIVITY ANALYSIS - this analysis assumes that the cost to deploy floating offshore wind turbines is simply too great so the Maine WEA goes undeveloped. There are additional costs to this result including a lost of 300 - 400 good paying jobs for Mainers who are in need of jobs that allow them to raise families with dignity and generational wealth.
Dirigo Atlantic Floating Offshore Wind Port |  |  |  | Dirigo Atlantic Floating Offshore Wind Port
Benefit-Cost Ratio |  |  |  | Benefit-Cost Ratio
| Costs | Benefits |  |  | Costs | Benefits
CAPEX | 677785734.555 |  |  | CAPEX | 677785734.555
Tug Boat Emissions |  | 68375950.8668 |  | Emissions Saved by Wind Energy Production |  | 26041284767.9005
Tug Boat Travel Time |  | 175178829.3777
Emissions Saved by Wind Energy Production |  | 7377764675.8552
Scrap Value of Barge |  | 3501887.4559
Residual Value |  | 97228875.2458
TOTAL | 677785734.555 | 7722050218.8014 |  | TOTAL | 677785734.555 | 26041284767.9005
Benefit-Cost Ratio |  |  | 11.3931 | Benefit-Cost Ratio |  |  | 38.4211