## Sheet1
BHE System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
Average
|  | Secondary | 0.09901
|  | Primary | 0.05619
|  | Sub-Transmission | 0.02977
|  | Transmission | 0.0159
Weighted Average Loss Factors by Class
(Based on 2010 Usage)
Medium Class |  |  | Total Class | SO Only
|  | % of Class @ Secondary Voltage | 86.55% | 89.41%
|  | % of Class @ Primary Voltage | 13.45% | 10.59%
|  |  | 100% | 100%
Medium Class Weighted Average Loss Factor |  |  | 0.09325 | 0.094474
Large Class |  |  | Total Class | SO Only
|  | % of Class @ Secondary | 0% | 0%
|  | % of Class @ Primary | 36.09% | 20.88%
|  | % of Class @ Sub-Transmission | 56.3% | 77.91%
|  | % of Class @ Transmission | 7.608% | 1.211%
|  |  | 100% | 100%
Large Class Weighted Average Loss Factor |  |  | 0.038249 | 0.035118
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)
Example: | Usage @ meter = 9,700 MWh
| Total MWh to be provided = 9,700 x (1+.100169) = |  | 10671.6393