## Sheet1
BHE System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
Average
| Secondary | 0.09684
| Primary | 0.05043
| Sub-Transmission | 0.02361
| Transmission | 0.00767
Weighted Average Loss Factors by Class
(Based on 2011 Usage)
Medium Class |  | Total Class | SO Only
| % of Class @ Secondary Voltage | 86.7% | 88.3%
| % of Class @ Primary Voltage | 13.3% | 11.7%
|  | 100% | 100%
Medium Class Weighted Average Loss Factor |  | 0.090667 | 0.09141
Large Class |  | Total Class | SO Only
| % of Class @ Secondary | 0% | 0%
| % of Class @ Primary | 40.3% | 15.34%
| % of Class @ Sub-Transmission | 50.7% | 79.94%
| % of Class @ Transmission | 9% | 4.71%
|  | 100% | 99.99%
Large Class Weighted Average Loss Factor |  | 0.032984 | 0.026971
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)