## Sheet1
BHE System Losses
(These system losses exclude losses over PTF facilities)
Cumulative Energy Loss Factors by Voltage Level*
Average
|  | Secondary | 0.09684
|  | Primary | 0.05043
|  | Sub-Transmission | 0.02361
|  | Transmission | 0.00767
* -Approved by Order dated November 22, 2011 in Docket No. 2011-322
Weighted Average Loss Factors by Class
Small Class |  |  | Total Class | SO Only
|  | % of Class @ Secondary Voltage | 100% | 100%
Small Class Weighted Average Loss Factor |  |  | 0.09684 | 0.09684
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)
Example: | Usage @ meter = 9,700 MWh
Total MWh to be provided = 9,700 x (1+.loss factor)