## BHD Loss Summary
Versant Power BHD System Loss Factors
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level (see note 1)
[5 empty] | Annual | Percent Loss
|  | Secondary |  |  | 0.91203 | 8.797%
|  | Primary |  |  | 0.94184 | 5.816%
|  | Sub-Transmission |  |  | 0.97158 | 2.842%
|  | Transmission |  |  | 0.98236 | 1.764%
Weighted Average Loss Factors by Class
(Based on usage from Jan 2023 to May 2023)
Small Class |  |  |  | Total Class | SO Only
|  | % of Class @ Secondary Voltage |  | 99.96% | 99.95%
|  | % of Class @ Primary Voltage |  | 0.04407% | 0.04817%
|  |  |  | 100% | 100%
Small Class Weighted Average Loss Factor |  |  |  | 0.91204 | 0.91204
Medium Class |  |  |  | Total Class | SO Only
|  | % of Class @ Secondary Voltage |  | 94.05% | 95.57%
|  | % of Class @ Primary Voltage |  | 5.948% | 4.427%
|  |  |  | 100% | 100%
Medium Class Weighted Average Loss Factor |  |  |  | 0.9138 | 0.91335
Large Class |  |  |  | Total Class | SO Only
|  | % of Class @ Secondary |  | 0% | 0%
|  | % of Class @ Primary |  | 44.63% | 15.14%
|  | % of Class @ Sub-Transmission |  | 23.98% | 70.96%
|  | % of Class @ Transmission |  | 31.38% | 13.9%
|  |  |  | 100% | 100%
Large Class Weighted Average Loss Factor |  |  |  | 0.96169 | 0.96858
Application of Loss Factors
Total MWh to be provided = (MWh measured at meter) / (applicable loss factor)
Example: | Usage @ meter = 9,700 MWh
|  | (9,700) / (0.92138) | 10527.6867
Note: | 1 | These loss factor values are going into effect January 2024