06-096			DEPARTMENT OF ENVIRONMENTAL PROTECTION

Chapter 143:	New Source Performance Standards (NSPS)

SUMMARY: This Chapter formally adopts the NSPS delegated to the State by the federal government. It applies to any new sources from each of the source categories listed below.

1.	Scope and Applicability: This Chapter will be applicable statewide. All standards will be implemented through the air emission licensing process.

2.	New Source Performance Standards

A.	For purposes of this Chapter, the following portions of 40 CFR Part 60, as amended up to July 1, 2013, are incorporated by reference herein:

(1)	Subpart A; General Provisions.

(2)	Subpart C, Emission Guidelines and Compliance Times.

(3)	Subpart Cd, Emissions Guidelines and Compliance Times for Sulfuric Acid Production Units.

(4)	Subpart D; Standards of Performance for "Fossil-Fuel Fired Steam Generators" for Which Construction is Commenced After August 17, 1971.

(5)	Subpart Da; Standards of Performance for Electric Utility Steam Generating Units for 
Which Construction is commenced After September 18, 1978.

(6)	Subpart Db; Standards of Performance for Industrial-Commercial-Institutional Steam Generating Units.

(7)	Subpart Dc; Standards of Performance for Small Industrial-Commercial-Institutional Steam Generating Units.

(8)	Subpart E; Standards of Performance for Incinerators.

(9)	Subpart Ea; Standards of Performance for Municipal Waste Combustors for Which Construction is Commenced after December 20, 1989 and on or before September 20, 1994.

- Subpart Eb; Standards of Performance for New Stationary Sources and Emission Guideline for Existing Sources – Municipal Waste Combustion.

- Subpart Ec; Standards of Performance for Hospital/Medical/Infectious Waste Incinerators.

(12)	Subpart F; Standards of Performance for Portland Cement Plants.

(13)	Subpart G; Standards of Performance for Nitric Acid Plants.

(14)	Subpart H; Standards of Performance for Sulfuric Acid Plants.

(15)	Subpart I; Standards of Performance for Asphalt Concrete Plants.

(16)	Subpart J; Standards of Performance for Petroleum Refineries.

(17)	Subpart K; Standards of Performance for Storage Vessels for Petroleum Liquids for Which Construction, Reconstruction, or Modification Commenced After June 11, 1973, and Prior to May 19, 1978.

(18)	Subpart Ka; Standards of Performance for Storage Vessels for Petroleum Liquids for Which Construction, Reconstruction, or Modification commenced After May 18, 1978, and Prior to July 23, 1984.

(19)	Subpart Kb; Standards of Performance for Volatile Organic Liquid Storage Vessels (Including Petroleum Liquid Storage Vessels) for Which Construction, Reconstruction, or Modification commenced after July 23, 1984.

(20)	Subpart L; Standards of Performance for Secondary Lead Smelters .

(21)	Subpart M; Standards of Performance for Secondary Brass and Bronze Production Plants.

(22)	Subpart N; Standards of Performance for Primary Emissions from Basic Oxygen Process Furnaces for Which Construction is Commenced After June 11, 1973.

(23)	Subpart O; Standards of Performance for Sewage Treatment Plants.

(24)	Subpart P; Standards of Performance for Primary Copper Smelters.

(25)	Subpart Q; Standards of Performance for Primary Zinc Smelters.

(26)	Subpart R; Standards of Performance for Primary Lead Smelters.

(27)	Subpart S; Standards of Performance for Primary Aluminum Reduction Plants.

(28)	Subpart T; Standards of Performance for the Phosphate Fertilizer Industry: Wet Process Phosphoric Acid Plants.

(29)	Subpart U; Standards of Performance for the Phosphate Fertilizer Industry: Superphosphoric Acid Plants.

(30)	Subpart V; Standards of Performance for the Phosphate Fertilizer Industry: Diammonium Phosphate Plants:

(31)	Subpart W; Standards of Performance for the Phosphate Fertilizer Industry: Triple Superphosphate Plants.

(32)	Subpart X; Standards of Performance for the Phosphate Fertilizer Industry: Granular Triple Superphosphate Storage Facilities.

(33)	Subpart Y; Standards of Performance for Coal Preparation Plants.

(34)	Subpart Z; Standards of Performance for Ferroalloy Production Facilities.

(35)	Subpart AA; Standards of Performance for Steel Plants: Electric Arc Furnaces Constructed After October 21, 1974 and on or Before August 17, 1983.

(36)	Subpart AAa; Standards of Performance for Steel Plants, Electric Arc Furnaces and Argon-Oxygen Decarburization Vessels Constructed After August 7, 1983.

(37)	Subpart BB; Standards of Performance for Kraft Pulp Mills.

(38)	Subpart CC; Standards of Performance for Glass Manufacturing Plants.

(39)	Subpart DD; Standards of Performance for Grain Elevators.

(40)	Subpart EE; Standards of Performance for Surface Coating of Metal Furniture.

(41)	Subpart GG; Standards of Performance for Stationary Gas Turbines.

(42)	Subpart HH; Standards of Performance for Lime Manufacturing Plants.

(43)	Subpart KK; Standards of Performance for Lead-Acid Battery Manufacturing Plants.

(44)	Subpart LL; Standards of Performance for Metallic Mineral Processing Plants.

(45)	Subpart MM; Standards of Performance for Auto & Light Truck Surface Coating Operations.

(46)	Subpart NN; Standards of Performance for Phosphate Rock Plants.

(47)	Subpart PP; Standards of Performance for Ammonium Sulfate Manufacture.

(48)	Subpart QQ; Standards of Performance for Graphic Arts Industry:Publication Rotogravure Printing.

(49)	Subpart RR; Standards of Performance for Pressure Sensitive Tape and Label Surface Coating Operations.

(50)	Subpart SS; Standards of Performance for Surface Coating: Large Appliances.

(51)	Subpart TT; Standards of Performance for Metal Coil Surface Coating.

(52)	Subpart UU; Standards of Performance for Asphalt Processing and Asphalt Roofing Manufacture.

(53)	Subpart VV; Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry (SOCMI).

(54)	Subpart WW; Standards of Performance for Beverage Can Surface Coating Industry.

(55)	Subpart XX; Standards of Performance for Bulk Gasoline Terminals.

(56)	Subpart AAA; Standards of Performance for New Residential Wood Heaters.

(57)	Subpart BBB; Standards of Performance for Rubber Tire Manufacturing Industry.

(58)	Subpart DDD; Standards of Performance for Volatile Organic Compound (VOC) Emissions from Polymer Manufacturing Industry.

(59)	Subpart FFF; Standards of Performance for Flexible Vinyl and Urethane Coating and Printing.

(60)	Subpart GGG; Standards of Performance for Equipment Leaks of VOC In Petroleum Refineries.

(61)	Subpart HHH; Standards of Performance for Synthetic Fiber Production Facilities.

(62)	Subpart III; Standards of Performance for Volatile Organic Carbon (VOC) Emissions from Synthetic Organic Chemical manufacturing Industry (SOCMI) Air Oxidation Unit Processes.

(63)	Subpart JJJ; Standards of Performance for Petroleum Dry Cleaners.

(64)	Subpart KKK; Standards of Performance for Equipment Leaks of VOC-Onshore Natural Gas Processing Plants.

(65)	Subpart LLL; Standards of Performance for Onshore Natural Gas Processing: SO2 Emissions.

(66)	Subpart NNN; Standards of Performance for Volatile Organic Compound (VOC) Emissions from Synthetic Organic Chemical Manufacturing Industry (SOCMI) Distillation Operations.

(67)	Subpart OOO; Standards of Performance for Nonmetallic Mineral Processing Plants.

(68)	Subpart QQQ; Standards of Performance for VOC Emissions from Petroleum Refinery Wastewater Systems.

(69)	Subpart SSS; Standards of Performance for Magnetic Tape Coating Facilities.

(70)	Subpart TTT; Standards of Performance for Surface Coating: Surface Coating of Plastic Parts for Business Machines.

(71)	Subpart UUU; Standards of Performance for Calciners & Dryers in the Mineral Industries.

(72)	Subpart VVV; Standards of Performance for Polymeric Coating of Supporting Substrates Facilities.

(73)	Subpart WWW, Standards of Performance for Control of Existing Sources: Municipal Solid Waste Landfills.

- Subpart AAAA, Standards of Performance for Small Municipal Waste Combustion Units.

- Subpart CCCC, New Source Performance Standards for Commercial and Industrial Solid Waste Incineration Units.

(76)	Subpart KKKK; Standards of Performance for New Stationary Sources: Stationary Combustion Turbines.

(77)	Subpart OOOO; Standards of Performance for Crude Oil and Natural Gas Production, Transmission and Distribution.

(78)	Appendix A;  Test Methods.

(79)	Appendix B; Performance Specifications.

(80)	Appendix C; Determination of Emission Rate Change.

(81)	Appendix D; Required Emission Inventory Information.

(82)	Appendix F; Quality Assurance Procedures.

(83)	Appendix I; Removable Label and Owners Manual.

STATUTORY AUTHORITY: 38 MRSA §§ 590 and 585A & B

EFFECTIVE DATE:

February 23, 1999

AMENDED:

September 2, 2001

June 20, 2005 – filing 2005-237

April 27, 2014 – filing 2014-081