16		DEPARTMENT OF PUBLIC SAFETY

219		OFFICE OF STATE FIRE MARSHAL

Chapter 19:	VAPOR REMOVAL FROM COOKING EQUIPMENT

SUMMARY: This rule provides minimum fire safety requirements (preventative and operative) related to the design, installation, operation, inspection, and maintenance of public and private cooking operations.

1.	This rule incorporates by reference the National Fire Protection Association Standard #96, Standard for the Ventilation Control and Fire Protection of Commercial Cooking Operations, 2008 Edition. All rights reserved by the National Fire Protection Association. Copies of NFPA Standard #96 are available through the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269.

2.	Notwithstanding sections 1.1.1 and 1.1.2 of NFPA 96, residential occupancies that are fully sprinklered and have 6 or fewer beds may use a residential hood and factory-installed suppression system within the hood.

3.	Notwithstanding sections 1.1.1 and 1.1.2 of NFPA 96, daycare centers that are fully spinklered and accommodate 20 or fewer children may use a residential hood and factory-installed suppression system within the hood.

STATUTORY AUTHORITY: 25 M.R.S.A. §2452

EFFECTIVE DATE:

December 22, 1977 – (filed September 27, 1978)

EFFECTIVE DATE (ELECTRONIC CONVERSION):

May 15, 1996

CORRECTION:

November 11, 1999

REPEALED AND REPLACED:

August 7, 2001 – (formerly Chapter 28)

AMENDED:

August 17, 2002 – filing 2002-314

April 23, 2006 – filing 2006-156, updated NFPA #96 to 2004 Edition

March 17, 2009 – filing 2009-111, updated NFPA #96 to 2008 Edition

November 24, 2010 – filing 2010-600