08	MAINE OFFICE OF COMMUNITY AFFAIRS

004	MANUFACTURED HOUSING

Chapter 23	Used Standard - Heating and Fuel Burning Systems

SUMMARY:	This chapter covers the heating and fuel burning equipment installed within, on, or external to a manufactured home.

1.	A person holding a master license issued by the State of Maine Oil and Solid Fuel Examining Board shall inspect and certify that the heating and fuel system is in a safe condition and meets the requirements of NFPA-31 Installation of Oil Burning Equipment as adopted by that Board.

2.	Heat-producing appliances and vents, roof jacks and chimneys necessary for installation in manufactured homes shall be listed or certified by a nationally recognized testing agency for use in manufactured homes.

EFFECTIVE DATE:	December 12, 1990

EFFECTIVE DATE (ELECTRONIC CONVERSION):	January 11, 1997

TRANSFER OF AUTHORITY TO ADMINISTER AND ENFORCE RULE: The authority to administer and enforce this rule (formerly 02-385 C.M.R. Ch. 960) was transferred to the Maine Office of Community Affairs on July 29, 2026 pursuant to PL 2025, c. 650, § RRR-58.